Supplementary material.

Table S1 List of sampling sites (Figure S 22) and number of days (d) of exposure of DGT. Mean values of temperature (Temp, 0C), salinity (Sal), pH, oxygen (O2, mg/L), DOC- dissolved organic carbon (µg/L), total suspended particulate material (SPM, mg/L) are given.

| Partner | Site | Date (2018) | d | Temp (ºC) | Sal | O2 (mg/L) | pH | DOC (µg/L) | SPM (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AZTI | Deba | 21/09 | 4 | 22.04 | 21.64 | 7.17 | 7.94 | 1337 | 14.84 |
| AZTI | Lezo | 21/09 | 4 | 21.1 | 32.15 | 6.79 | 8.09 | 1280 | 13.39 |
| AZTI | Museo | 21/09 | 2 | 21.9 | 33.15 | 8.02 | 8.13 | 1089 | 11.42 |
| AZTI | Museo | 21/09 | 4 | 21.46 | 33.04 | 8.02 | 8.13 | 1180 | 11.16 |
| AZTI | Practicos | 21/09 | 4 | 21.34 | 32.95 | 7.72 | 7.88 | 1360 | 13.42 |
| AZTI | Deba | 12/03 | 4 | 9.43 | 0.22 | 11.85 | 8.28 | 823 | 22.61 |
| AZTI | Lezo | 12/03 | 4 | 11.05 | 17.41 | 10.73 | 8.8 | N/a | 9.92 |
| AZTI | Museo | 12/03 | 2 | 12.52 | 33.4 | 8.52 | 8.12 | N/a | 5.14 |
| AZTI | Museo | 12/03 | 4 | 12.49 | 33.45 | 8.58 | 8.12 | N/a | 5.11 |
| AZTI | Practicos | 12/03 | 4 | 11.56 | 27.08 | 8.53 | 7.31 | 583 | 10.26 |
| CEFAS | Belfast | 17/09 | 7 | 13.67 | 32.59 | 8.79 | 8.05 | N/a | 5.85 |
| CEFAS | Fal | 18/09 | 2 | 18.67 | 32.38 | 7.55 | 8.07 | N/a | 2.73 |
| CEFAS | Fal | 18/09 | 4 | 18.49 | 32.53 | 7.6 | 8.08 | N/a | 3.49 |
| CEFAS | X38A | 24/09 | 3 | 13.83 | 33.5 | 7.78 | 8.28 | 1111 | 0.89 |
| CEFAS | Belfast | 05/02 | 7 | 5.73 | 27.91 | 10.97 | 8.01 | 4490 | 10.21 |
| CEFAS | Fal | 13/03 | 3 | 8.41 | 19.48 | 9.53 | 7.86 | 4194 | 16.8 |
| CEFAS | Fal | 13/03 | 4 | 8.42 | 20.57 | 9.52 | 7.87 | 4072 | 15.87 |
| CEFAS | Liverpool | 06/01 | 6 | 6.46 | 31.85 | 9.27 | 8.04 | 3983 | 12.14 |
| CEFAS | X38A | 05/01 | 6 | 9.91 | 35.07 | 8.85 | 8.09 | 4050 | 3.09 |
| DCU | Alexandra Basin West | 27/08 | 2 | 16.15 | 30.64 | 7.39 | 8.24 | N/a | 3.7 |
| DCU | Alexandra Basin West | 27/08 | 4 | 16.24 | 28.57 | 7.53 | 8.28 | N/a | 3 |
| DCU | Lough Mahon, Cork (M69) | 10/09 | 4 | 16.31 | 32.34 | 7.88 | 8.73 | N/a | 2.13 |
| DCU | Ballynacorra, Cork (M70) | 10/09 | 4 | 16.92 | 33.7 | 7.83 | 8.32 | N/a | 1.76 |
| DCU | Dublin Bay Buoy 2 (DB2) | 03/09 | 4 | 16.3 | 33.71 | 7.51 | 8.63 | N/a | 2.97 |
| DCU | Dublin Bay Buoy 4 (DB4) | 03/09 | 4 | 15.95 | 33.34 | 7.53 | 8.71 | N/a | 2.64 |
| DCU | Alexandra Basin West | 20/02 | 4 | 8.71 | 15.48 | 10.72 | 7.49 | N/a | 2.14 |
| DCU | Lough Mahon, Cork (M69) | 12/02 | 4 | 7.75 | 22.75 | 10.22 | 7.74 | N/a | 0.45 |
| DCU | Ballynacorra, Cork (M70) | 12/02 | 4 | 7.81 | 26.38 | 10.41 | 7.64 | N/a | 1.5 |
| DCU | Dublin Bay Buoy 4 (DB4) | 19/02 | 15 | 6.05 | 34.37 | 9.13 | 7.53 | N/a | 2.05 |
| IFREMER | Fontenelle | 03/09 | 4 | 19.91 | 31.5 | 7.17 | 7.84 | 1629 | 36.74 |
| IFREMER | Tenerez | 17/09 | 4 | 18.28 | 33.29 | 8.81 | 7.73 | 1689 | 1.39 |
| IFREMER | Port-en-Bessin | 01/10 | 4 | 15.78 | 31.58 | 6.24 | 7.75 | 1952 | 6 |
| IFREMER | Lazaret | 19/10 | 6 | 20.07 | 36.77 | 7.3 | N/a | 1587 | 1.33 |
| IFREMER | Saint-Nazaire | 17/09 | 2 | 19.53 | 28.23 | 6.26 | 7.64 | 2220 | 1.23 |
| IFREMER | Saint-Nazaire | 17/09 | 4 | 19.58 | 27.94 | 6.4 | 7.66 | 2176 | 1.67 |
| IFREMER | Saumonard | 03/09 | 4 | 18.6 | 34.97 | 7.87 | 7.96 | 1504 | 1.38 |
| IFREMER | Fontenelle | 05/02 | 5 | 7.62 | 19 | 10.22 | 7.91 | 1838 | 262.1 |
| IFREMER | Antifer | 13/03 | 9 | 7.13 | 30.04 | 10.09 | N/a | 750 | 5.2 |
| IFREMER | Port-en-Bessin | 12/02 | 4 | 7.17 | 23.61 | 9.48 | 7.73 | 1514 | 7.2 |
| IFREMER | Le Croisic | 15/03 | 7 | 10 | 30.1 | N/a | N/a | 1240 | 35.4 |
| IFREMER | Saint-Nazaire | 12/02 | 2 | 7.6 | 9.82 | 10.12 | 7.78 | 4090 | 4.67 |
| IFREMER | Saint-Nazaire | 12/02 | 4 | 7.76 | 9.8 | 10.19 | 7.79 | 4052 | 3.92 |
| IFREMER | Saumonard | 06/02 | 4 | 8.17 | 28.5 | 9.64 | 7.92 | 1053 | 15.2 |
| IFREMER | Sillon des Anglais | 22/03 | 4 | 9.28 | 30.68 | 9.45 | N/a | 890 | 10 |
| IPMA | Aveiro | 19/02 | 2 | 14.5 | 25.6 | 9.47 | 8.08 | N/a | 5.27 |
| IPMA | Aveiro | 19/02 | 4 | 13.67 | 25.39 | 9.76 | 8.06 | N/a | 5.5 |
| IPMA | Porto | 19/02 | 2 | 12.3 | 33.35 | 9.03 | 8.13 | N/a | 4.57 |
| IPMA | Sesimbra | 28/02 | 2 | 14.1 | 30.1 | 9.09 | 8.44 | N/a | 2.15 |
| IPMA | Sesimbra | 28/02 | 4 | 14.07 | 29.76 | 9.23 | 8.32 | N/a | 1.73 |
| IPMA | Tagus | 05/02 | 2 | 13.1 | 24.87 | 8.85 | 7.94 | N/a | 11.93 |
| IPMA | Tagus | 05/02 | 4 | 12.6 | 24.58 | 9.13 | 8.01 | N/a | 11.59 |
| ITC | Gando | 24/09 | 4 | 22.63 | 36.19 | 6.99 | 8.08 | 1033 | 0.83 |
| ITC | Jinámar | 24/09 | 4 | 23.73 | 36.38 | 7.02 | 8.14 | 967 | 2.67 |
| ITC | La Luz | 24/09 | 2 | 24.3 | 36.52 | 6.99 | 8.15 | 1250 | 3.5 |
| ITC | La Luz | 24/09 | 4 | 24.13 | 36.46 | 6.84 | 8.12 | 1167 | 3.33 |
| ITC | Taliarte | 24/09 | 4 | 23.2 | 36.23 | 6.75 | 8.07 | 1100 | 1.33 |
| ITC | La Luz | 17/12 | 2 | 20.72 | 37.89 | 7.02 | 8.39 | 1650 | 2.5 |
| ITC | La Luz | 17/12 | 4 | 20.72 | 37.79 | 7.06 | 8.39 | 1633 | 2.33 |
| ITC | Taliarte | 17/12 | 2 | 20.58 | 38.03 | 6.66 | 8.33 | 1650 | 2.5 |
| ITC | Taliarte | 17/12 | 4 | 20.55 | 38.09 | 6.72 | 8.36 | 1767 | 2 |
| ITC | Gando | 05/03 | 7 | 18.42 | 37.75 | 7.55 | 7.97 | 3900 | 1.17 |
| ITC | Jinámar | 05/03 | 7 | 19.3 | 37.78 | 7.64 | 7.9 | 3100 | 1 |
| ITC | La Luz | 05/03 | 3 | 19.72 | 37.69 | 7.73 | 7.74 | 3200 | 3 |
| ITC | La Luz | 05/03 | 7 | 19.69 | 37.69 | 7.57 | 7.8 | 2333 | 2.67 |
| ITC | Taliarte | 05/03 | 7 | 18.9 | 37.76 | 7.45 | 7.96 | 2000 | 1.17 |
| SEPA | Braehead-Clyde | 05/07 | 4 | 17.06 | 33.1 | 8.45 | 8.27 | N/a | N/a |
| MSS | Montrose | 05/08 | 5 | N/a | N/a | N/a | N/a | N/a | N/a |
| SEPA | Newhaven | 05/07 | 4 | N/a | N/a | N/a | N/a | N/a | N/a |
| UNICA | Dogana | 12/09 | 5 | 26.33 | 35.77 | 8.07 | 7.65 | 1783 | 4.73 |
| UNICA | Ichnusa | 12/09 | 5 | 26.11 | 36.03 | 8.1 | N/a | 1817 | 3.87 |
| UNICA | Rinascita | 12/09 | 5 | 25.89 | 35.9 | 8.13 | N/a | 1580 | 21.97 |
| UNICA | Sant'Elmo | 12/09 | 3 | 26.03 | 35.9 | 8.1 | N/a | 2110 | 1.7 |
| UNICA | Sant'Elmo | 12/09 | 5 | 26.07 | 35.9 | 8.1 | N/a | 2180 | 1.97 |
| UNICA | Dogana | 14/03 | 5 | 14.26 | 36.77 | 10.32 | 8.45 | 1300 | 1 |
| UNICA | Ichnusa | 14/03 | 5 | 14.18 | 37.17 | 10.35 | 8.49 | 1167 | 17.93 |
| UNICA | Rinascita | 14/03 | 5 | 14.14 | 37 | 10.36 | 8.42 | 1100 | 9.67 |
| UNICA | Sant'Elmo | 14/03 | 3 | 14.34 | 36.75 | 10.29 | 8.47 | 1250 | 1.2 |
| UNICA | Sant'Elmo | 14/03 | 5 | 14.32 | 36.77 | 10.3 | 8.48 | 1267 | 1.4 |

Table S2 Voltammetry: Summary of the results obtained with Certified Reference Materials, SLEW-3: Estuarine water reference material for trace metals (National Research Council Canada) and CASS-6: Nearshore Seawater Certified Reference Material for trace metals (National Research Council Canada) used to prove the accuracy of the whole procedures.

Note: Throughout the entire procedure, blanks, quality control standards and certified reference materials were used. Instrumental and reagent blanks (ASV: deionised water acidified to pH=2 with HNO3; CSV: deionised water plus the appropriate volumes of the stock solutions of Dimethylglyoxime (DMG) and the buffer pH=9) were run in the beginning of each working session and between samples. Blanks are critical because of the high sensitivity of the methods. Analytical variability was assessed as standard deviation (SD) of duplicates and values below 10%-15% were considered satisfactory.

|  | Cd (µg/L) | Pb (µg/L) | Ni (µg/L) |
| --- | --- | --- | --- |
| SLEW CRM values | 0.047±0.004 | 0.009±0.002 | 1.23±0.07 |
| Exp values (n ≥20) | 0.046±0.003 | 0.013±0.002 | 1.2±0.1 |
| CASS CRM values | 0.023±0.002 | 0.011±0.004 | 0.42±0.04 |
| Exp values (n ≥20) | 0.023±0.003 | 0.014±0.003 | 0.420±0.003 |

Table S3 ICP-MS: certified and measured average concentrations and standard deviations of Ni, Cu, Zn, Cd and Pb (μg/L) in the CASS-6 certified reference material (National Research Council of Canada).

|  | Ni (µg/L) | Cu (µg/L) | Zn (µg/L) | Cd (µg/L) | Pb (µg/L) |
| --- | --- | --- | --- | --- | --- |
| Certified | 0.418±0.040 | 0.530±0.032 | 1.27±0.18 | 0.0217±0.0018 | 0.0106±0.0040 |
| Measured | 0.429±0.035 | 0.553±0.026 | 1.04±0.25 | 0.024±0.0028 | 0.0103±0.0015 |

Figure S1 Outliers iterative selection process based on linear regression residuals. An iterative process was carried out until no more outliers were identified: i) the process starts with the linear modelling of all the results, thus allowing the identification of possible outliers, ii) a new linear model is made by removing the previously identified outliers and, iii) the new identified outliers are then removed and the process is repeated as long as outliers are identified. Data of this last model is used of this study.

Figure S2 Cd: DGT/ICP ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S3 Cd: DGT/ASV ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S4 Ni: DGT/ICP ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S5 Ni: DGT/CSV ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, CSV – mean concentration of a metal measured by spot sampling using cathodic stripping voltammetry on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S6 Pb: DGT/ICP ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S7 Pb: DGT/ASV ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S8 Cu: DGT/ICP ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S9 Zn: DGT/ICP ratio. Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of environmental variables measured in water. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, SPM - total suspended particulate material in seawater, DOC- dissolved organic carbon. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S10 Cd: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S11 Cd: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals (log-transformed). Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S12 Ni: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, CSV – mean concentration of a metal measured by spot sampling using cathodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S13 Ni: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals (log-transformed). Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, CSV – mean concentration of a metal measured by spot sampling using cathodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S14 Pb: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals. Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S15 Pb: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals (log-transformed). Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater, ASV – mean concentration of a metal measured by spot sampling using anodic stripping voltammetry on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S16 Cu: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals (left: not transformed, right: log-transformed). Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S17 Zn: Biplots of the ratio of the concentration of metal measured by DGT to the mean concentration of metal measured by spot sampling vs mean values of concentrations of metals (left: not transformed, right: log-transformed). Key: DGT – concentration of a metal measured by means of DGT passive sampler, ICP – mean concentration of a metal measured by spot sampling using ICP-MS on filtered seawater. The blue dots correspond to coastal areas and the red dots to estuaries.

Figure S18 Sampling sites.

List S1 Mulitprobes used for in situ measurements of water parameters.

WTW Multi 3430 with digital probe MPP 930 with TetraCon® 925-P sensor (conductivity: 0 to 2000 µS/cm, ±0.5 %; temperature: -5 to +100 °C, ±0.1˚C), FDO® 925-P sensor (oxygen: 0 to 20 mg/l O2, ±1.5 %), and SensoLyt® 900-P probe (pH: 0 to 12, ± 0.004).

YSI Professional Plus with four electrode cell conductivity/temperature sensor (conductivity: 0 to 200 mS/cm, ±0.5-1% ; temperature: -5 to +70˚C, ±0.2˚C), amperometric dissolved oxygen sensor (oxygen: 0 to 50 mg/l O2, ±2%) and glass combination pH electrode (pH: 0 to 12, ±0.2).

Hydrolab HL4 multiparameter probe with four electrode cell: conductivity sensor (conductivity: 0 to 100 mS/cm, ±0.5%), optical dissolved oxygen sensor (oxygen: 0 to 60 mg/l O2, ±0,1-0,2mg/l (0-20 mg/l) and 10% (>20 mg/l)),pH electrode (pH: 0 to 14, ±0.2) and turbidity sensor (0 to 3000 FNU, 1-5%). Temperature sensor (-5 to +50˚C, ±0,1C) and barometer (depth) is integrated in the probe.

YSI ProDSS multiparameter probe with four electrode cell: conductivity/salinity sensor (conductivity: 0 to 200 mS/cm, ±0.5-1% ; salinity: 0 to 70 ppt ±0.1-1%), optical dissolved oxygen sensor (oxygen: 0 to 500% ±1% and 0 to 50 mg/l O2, ±1-8%),pH/ORP electrode (pH: 0 to 14, ±0.2) and turbidity sensor (0 to 4000 FNU, ±2-5%). Temperature sensor (-5 to +70˚C, ±0.2˚C) and barometer (depth) is integrated in the probe.

YSI multiprobe Geoves, MICROHYD1, B&C electronics, SM6-485M: conductivity sensor (0 to 6S autorange or 0 to 60S, ±0.25%), optical dissolved oxygen sensor (0 to 20 ppm, mg/l or 0 to 200% mg/l, ±0.1 ppm, mg/l), pH/ORP electrode (-2 to 16, ±0.1). Temperature sensor (-5 to +55 ˚C, ±0.15 ˚C) and barometer (depth) is integrated in the probe.

AQUAREAD multi-parametric probe model 2000D with four electrode cell. Temperature sensor was a thermistor of sintered metallic oxide (-5 to +50˚C, ±0.1˚C). Conductivity/salinity was determined from temperature corrected conductivity using Ni electrodes (0 to 200 mS/cm, ±1%; salinity: 0 to 70 ppt ±1%). The pH was measured with a combined glass electrode with an Ag/AgCl reference electrode (0 to 14, ±0.1). Turbidity optical sensor (0 to 3000 FNU, ±5%). Oxygen was determined with an optical sensor (0 to 500% ±1%). Depth was measured by a pressure sensor (0 to 60m ±0.01m).

YSI 6600 EDS-M multiparameter probe with three electrode cell: conductivity/salinity sensor (conductivity: 0 to 100 mS/cm, ± 0.5 ; salinity: 0 to 70 ppt ±0.1-1%), optical dissolved oxygen sensor (oxygen: 0 to 500% ±1-15% and 0 to 50 mg/l O2, ±1-15%), and temperature sensor (-5 to +70˚C, ±0.15˚C) and barometer (depth) is integrated in the probe. In situ Mettler Toledo Seven2Go , Expert Pro-ISM probe (pH 0 to 14, ±0.01).

YSI EXO3 probe with a Conductivity (0 to 100 mS/cm, 1% or 0.002 mS/cm)/Temperature (5 to 50°C±0.2°C) sensor, pH sensor (unguarded; 0 to 14, ±0.1), Optical DO sensor (0 to 50 mg/L ± 0.1 mg/L or 1% of reading accuracy from 0 to 20 mg/L) and Turbidity sensor (0 to 4000 ± FNU 0.3 FNU or ±2% of reading accuracy from 0 to 999 FNU) (all YSI EXO brand).