## Organisation_details
ORGANISATION DETAILS
Organisation | Name:
City:
Country:
Laboratory performing the analysis | Name:
City:
Country:
Contact person | Family name:
First name(s):
E-mail:
Phone:
Samples | Date received samples:
Date extracted samples:
Date analyze samples:

## RTI_UoA
Positive Ionization
Substance name | CAS number | SMILES | Mol. Formula | [M+] | [M+H]+ | [M+H^2+] | [M+NH4+]+ | [M+Na]+ | Retention time (min) 1st measurement | Retention time (min) 2nd measurement | Retention time (min) 3rd measurement | LC conditions
Guanylurea | 141-83-3 | C(=NC(=O)N)(N)N | C2H6N4O |  | 103.0614 |  | 120.088 | 125.0434 |  |  |  | Pump:
Amitrol | 61-82-5 | Nc1nnc[nH]1 | C2H4N4 |  | 85.0509 |  | 102.0774 | 107.0328 |  |  |  | Column:
Histamine | 51-45-6 | c1c([nH]cn1)CCN | C5H9N3 |  | 112.0869 |  | 129.1135 | 134.0689 |  |  |  | Column Temperature:
Chlormequat* | 999-81-5 | C[N+](C)(C)CCCl | C5H13ClN | 122.0731 | 122.0731 |  | 140.1075 | 145.0629 |  |  |  | Flow rate:
Methamidophos | 10265-92-6 | COP(=O)(N)SC | C2H8NO2PS |  | 142.0086 |  | 159.0352 | 163.9906 |  |  |  | Molibe phase:
Vancomycin* | 1404-90-6 | C[C@H]1[C@H]([C@@](C[C@@H](O1)O[C@@H]2[C@H]([C@@H]([C@H](O[C@H]2Oc3c4cc5cc3Oc6ccc(cc6Cl)[C@H]([C@H](C(=O)N[C@H](C(=O)N[C@H]5C(=O)N[C@@H]7c8ccc(c(c8)-c9c(cc(cc9O)O)[C@H](NC(=O)[C@H]([C@@H](c1ccc(c(c1)Cl)O4)O)NC7=O)C(=O)O)O)CC(=O)N)NC(=O)[C@@H](CC(C)C)NC)O)CO)O)O)(C)N)O | C66H75Cl2N9O24 |  | 724.7224 | 724.7224
Cefoperazone | 62893-19-0 | O=C2N1/C(=C(\CS[C@@H]1[C@@H]2NC(=O)[C@H](c3ccc(O)cc3)NC(=O)N4C(=O)C(=O)N(CC)CC4)CSc5nnnn5C)C(=O)O | C25H27N9O8S2 |  | 646.1497 |  | 663.1762 | 668.1316 |  |  |  | Gradient:
Trichlorfon (Dylox) | 52-68-6 | COP(=O)(C(C(Cl)(Cl)Cl)O)OC | C4H8Cl3O4P |  | 256.9299 |  | 273.9564 | 278.9118
Butocarboxim | 34681-10-2 | CC(C(=NOC(=O)NC)C)SC | C7H14N2O2S |  | 191.0849 |  | 208.1114 | 213.0668
Dichlorvos | 62-73-7 | COP(=O)(OC)OC=C(Cl)Cl | C4H7Cl2O4P |  | 220.9532 |  | 237.9797 | 242.9351
Tylosin | 1401-69-0 | CC[C@@H]1[C@H](/C=C(/C=C/C(=O)[C@@H](C[C@@H]([C@@H]([C@H]([C@@H](CC(=O)O1)O)C)O[C@H]2[C@@H]([C@H]([C@@H]([C@H](O2)C)O[C@H]3C[C@@]([C@H]([C@@H](O3)C)O)(C)O)N(C)C)O)CC=O)C)\C)CO[C@H]4[C@@H]([C@@H]([C@@H]([C@H](O4)C)O)OC)OC | C46H77NO17 |  | 916.5264 |  | 933.553 | 938.5084
TCMTB | 21564-17-0 | c1ccc2c(c1)nc(s2)SCSC#N | C9H6N2S3 |  | 238.9766 |  | 256.0031 | 260.9585
Rifaximin | 80621-81-4 | C[C@H]1/C=C/C=C(\C(=O)NC2=C(C3=C(C4=C(C(=C3O)C)O[C@@](C4=O)(O/C=C/[C@@H]([C@H]([C@H]([C@@H]([C@@H]([C@@H]([C@H]1O)C)O)C)OC(=O)C)C)OC)C)C5=C2N6C=CC(=CC6=N5)C)O)/C | C43H51N3O11 |  | 786.3596 |  | 803.3862 | 808.3416
Spinosad A (Spinosyn A) | 131929-60-7 | CC[C@H]1CCC[C@@H]([C@H](C(=O)C2=C[C@H]3[C@@H]4C[C@@H](C[C@H]4C=C[C@H]3[C@@H]2CC(=O)O1)O[C@H]5[C@@H]([C@@H]([C@H]([C@@H](O5)C)OC)OC)OC)C)O[C@H]6CC[C@@H]([C@H](O6)C)N(C)C | C41H65NO10 |  | 732.4681 |  | 749.4947 | 754.4501
Emamectin B1a | 121124-29-6 | CC[C@H](C)[C@@H]1[C@H](C=C[C@@]2(O1)C[C@@H]3C[C@H](O2)C/C=C(/[C@H]([C@H](/C=C/C=C/4\CO[C@H]5[C@@]4([C@@H](C=C([C@H]5O)C)C(=O)O3)O)C)O[C@H]6C[C@@H]([C@H]([C@@H](O6)C)O[C@H]7C[C@@H]([C@@H]([C@@H](O7)C)NC)OC)OC)\C)C | C49H75NO13 |  | 886.5311 |  | 903.5577 | 908.5131
Avermectin B1a*** | 71751-41-2 | CC[C@H](C)[C@@H]1[C@H](C=C[C@@]2(O1)C[C@@H]3C[C@H](O2)C/C=C(/[C@H]([C@H](/C=C/C=C/4\CO[C@H]5[C@@]4([C@@H](C=C([C@H]5O)C)C(=O)O3)O)C)O[C@H]6C[C@@H]([C@H]([C@@H](O6)C)O[C@H]7C[C@@H]([C@H]([C@@H](O7)C)O)OC)OC)\C)C | C48H72O14 |  | 890.526 |  | 890.526 | 895.4814
Nigericin | 28380-24-7 | C[C@H]1CC[C@@H](O[C@H]1[C@@H](C)C(=O)O)C[C@@H]2C[C@H]([C@H]([C@@]3(O2)[C@@H](C[C@@](O3)(C)[C@H]4CC[C@@](O4)(C)[C@H]5[C@H](C[C@@H](O5)[C@@H]6[C@H](C[C@H]([C@@](O6)(CO)O)C)C)C)C)C)OC | C40H68O11 |  | 725.4834 |  | 742.51 | 747.4654
Ivermectin B1a**** | 70288-86-7 | CC[C@H](C)[C@@H]1[C@H](CC[C@@]2(O1)C[C@@H]3C[C@H](O2)C/C=C(/[C@H]([C@H](/C=C/C=C/4\CO[C@H]5[C@@]4([C@@H](C=C([C@H]5O)C)C(=O)O3)O)C)O[C@H]6C[C@@H]([C@H]([C@@H](O6)C)O[C@H]7C[C@@H]([C@H]([C@@H](O7)C)O)OC)OC)\C)C | C48H74O14 |  | 892.5417 |  | 892.5417 | 897.4971
*[M]+=[C5H13ClN]+=122.0731; **[M+H]2+=[C66H75Cl2N9O24+H]2+=724.7224; ***[M+NH4]+=[C48H72O14+NH4]+=890.5260; ****[M+NH4]+=[C48H74O14+NH4]+=892.5417
Negative Ionization
Substance name | CAS number | SMILES | Mol. Formula | [M-H]- | [M+CH3COOH-H]- | [M+Cl]- | Retention time (min) 1st measurement | Retention time (min) 2nd measurement | Retention time (min) 3rd measurement | LC conditions
Amitrole | 61-82-5 | Nc1nnc[nH]1 | C2H4N4 | 83.0363 | 143.0575 | 119.013 |  |  |  | Pump:
Benzoic acid | 65-85-0 | OC(=O)c1ccccc1 | C7H6O2 | 121.0295 | 181.0506 | 157.0062 |  |  |  | Column:
Acephate | 30560-19-1 | S(P(=O)(OC)NC(=O)C)C | C4H10NO3PS | 182.0046 | 242.0258 | 217.9813 |  |  |  | Column Temperature:
Salicylic acid | 69-72-7 | OC(=O)c1ccccc1O | C7H6O3 | 137.0244 | 197.0455 | 173.0011 |  |  |  | Flow rate:
Simazine 2-Hydroxy | 2599-11-3 | O=c1nc([nH]c(NCC)n1)NCC | C7H13N5O | 182.1047 | 242.1259 | 218.0814 |  |  |  | Molibe phase:
Tepraloxydim | 149979-41-9 | C1(C2CCOCC2)CC(=O)C(=C(C1)O)/C(=N/OC/C=C/Cl)/CC | C17H24ClNO4 | 340.1321 | 400.1532 | 376.1088
Bromoxynil | 1689-84-5 | N#Cc1cc(Br)c(O)c(Br)c1 | C7H3Br2NO | 273.8509 | 333.872 | 311.8254 |  |  |  | Gradient:
MCPA | 94-74-6 | OC(=O)COc1ccc(cc1C)Cl | C9H9ClO3 | 199.0167 | 259.0368 | 234.9934
Valproic acid | 99-66-1 | O=C(O)C(CCC)CCC | C8H16O2 | 143.1078 | 203.1289 | 179.0844
Phenytoin | 57-41-0 | O=C1NC(=O)NC1(c1ccccc1)c1ccccc1 | C15H12N2O2 | 251.0826 | 311.1037 | 287.0593
Flamprop | 58667-63-3 | Clc1cc(N(C(=O)c2ccccc2)C(C(=O)O)C)ccc1F | C16H13ClFNO3 | 320.0495 | 380.0707 | 356.0262
Benodanil | 15310-01-7 | Ic1ccccc1C(=O)Nc1ccccc1 | C13H10INO | 321.9734 | 381.9946 | 357.9501
Dinoterb | 1420-07-1 | Oc1c(C(C)(C)C)cc(cc1N(=O)=O)N(=O)=O | C10H12N2O5 | 239.0673 | 299.0885 | 275.044
Inabenfide | 82211-24-3 | Clc1cc(c(NC(=O)c2ccncc2)cc1)C(O)c1ccccc1 | C19H15ClN2O2 | 337.0749 | 397.0961 | 373.0516
Coumaphos | 56-72-4 | Clc1c(c2c(oc1=O)cc(OP(=S)(OCC)OCC)cc2)C | C14H16ClO5PS | 361.0072 | 421.0283 | 396.9839
Triclosan | 3380-34-5 | Clc1ccc(c(c1)O)Oc1ccc(cc1Cl)Cl | C12H7Cl3O2 | 286.9439 | 346.965 | 324.9177
AvermectinB1a (Abamectin) | 65195-55-3 | C1[C@@H](O[C@H]([C@@H]([C@H]1OC)O[C@H]1C[C@@H]([C@H]([C@@H](O1)C)O)OC)C)O[C@@H]1/C(=C/C[C@H]2O[C@@]3(C[C@@H](OC(=O)[C@@H]4C=C([C@@H](O)[C@H]5OC/C(=C\C=C\[C@@H]1C)/[C@@]45O)C)C2)O[C@@H]([C@H](C=C3)C)[C@@H](C)CC)/C | C48H72O14 | 871.4849 | 931.5061 | 907.4616
Salinomycin | 53003-10-4 | O1[C@]2(O[C@]([C@@H]3O[C@H]([C@](O)(CC3)CC)C)(CC2)C)[C@H](O)C=C[C@@]21O[C@@H]([C@H](C[C@H]2C)C)[C@H](C(=O)[C@H]([C@@H](O)[C@@H]([C@@H]1O[C@@H]([C@H](C(=O)O)CC)CC[C@@H]1C)C)C)CC | C42H70O11 | 749.4845 | 809.5057 | 785.4612

## RI_GC-MS
Formula for retention index calculation
| Elution time [min] |  |  |  | Carbon
number
| 0 | 1 | 0 | #DIV/0! | 7
| 0 | 2 | 0 | #DIV/0! | 8
| 0 | 3 | 0 | #DIV/0! | 9
| 0 | 4 | 0 | #DIV/0! | 10
| 0 | 5 | 0 | #DIV/0! | 11
| 0 | 6 | 0 | #DIV/0! | 12
12.45 | 0 | 7 | 0 | #DIV/0! | 13
| 0 | 8 | 0 | #DIV/0! | 14
| 0 | 9 | 0 | #DIV/0! | 15
| 0 | 10 | 0 | #DIV/0! | 16
| 0 | 11 | 0 | #DIV/0! | 17 | 1311
| 0 | 12 | 0 | #DIV/0! | 18
| 0 | 13 | 0 | #DIV/0! | 19
| 0 | 14 | 0 | #DIV/0! | 20
| 0 | 15 | 0 | #DIV/0! | 21 |  |  | 0
| 0 | 16 | 0 | #DIV/0! | 22 |  |  | 0
| 0 | 16 | 0 | #DIV/0! | 23 |  |  | 0
| 0 | 17 | 0 | #DIV/0! | 24 |  |  | 0
| 0 | 18 | 0 | #DIV/0! | 25 |  |  | 0
| 0 | 19 | 0 | #DIV/0! | 26 |  |  | 0
| 0 | 20 | 0 | #DIV/0! | 27 |  |  | 0
| 0 | 21 | 0 | #DIV/0! | 28 |  |  | 0
| 0 | 22 | 0 | #DIV/0! | 29 |  |  | 0
| 0 | 23 | 0 | #DIV/0! | 30 |  |  | 0
|  | 24 | 0 | #DIV/0! |  |  |  | 0
|  | 25 | 0 | #DIV/0! |  |  |  | 0
|  | 26 | 0 | #DIV/0! |  |  |  | 0
|  | 27 | 0 | #DIV/0! |  |  |  | 0
|  | 28 | 0 | #DIV/0! |  |  |  | 0
|  | 29 | 0 | #DIV/0! |  |  |  | 0
|  | 30 | 0 | #DIV/0! |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
#NULL!
#NULL!
#NULL!
Calculation of
Retention indices
n-alkanes mixture
Analyte
Retention time [min]
Adjusted ret. time [min]
n-heptane (C7)
n-octane (C8)
n-nonane (C9)
n-decane (C10)
n-undecane (C11)
n-dodecane (C12)
n-tridecane (C13)
n-tetradecane (C14)
n-pentadecane (C15)
n-hexadecane (C16)
n-heptadecane (C17)
n-octadecane (C18)
n-nonadecane (C19)
n-eicosane (C20)
n-heneicosane (C21)
n-docosane (C22)
Retention time [min]
Adjusted ret. time [min
Retention indices
Elution order
Compound characteristics
n-tricosane (C23)
n-tetracosane (C24)
n-pentacosane (C25)
n-hexaacosane (C26)
n-heptacosane (C27)
n-octacosane (C28)
n-nonacosane (C29)
n-triacontane (C30)
n-tetracosane (C24)
n-pentacosane (C25)
n-hexacosane (C26)
n-heptacosane (C27)
n-octacosane (C28)
n-nonacosane (C29)
n-triacontane (C30)

## Sampling_description
Sample indentification | COUNTRY |  |  | SAMPLING SITE / STATION | [17 empty] | DATA SOURCE | [6 empty] | BIOTA: River / Transitional water - Lake / Reservoir - Coastal / Territorial (marine) waters - Terrestrial
| Name of country |  |  | Station name and codes |  |  |  | Longitude | [5 empty] | Latitude | [5 empty] | Precision of coordinates |  | Type of data source |  | Type of monitoring | [13 empty] | Was species alive? |  | Additional information | [12 empty] | alphabetical list for Codes |  |  | alphabetical list for Codes |  |  | alphabetical list for Codes | [7 empty] | alphabetical list for Codes |  |  |  | alphabetical list for Codes |  | alphabetical list for Codes | alphabetical list for Codes
|  | CODE | CODE | Name | National code | Relevant EC code -WISE | Relevant EC code - Other | East / West | CODE | ° | ` | `` | Decimal | North / South | CODE | ° | ` | `` | Decimal |  | CODE |  | CODE |  | CODE | Other | CODE | CODE | Species group | CODE | Other | Species name (in Latin) | Name of river / estuary / lake / reservoir / sea | River basin name | River-km | Proxy pressures | CODE | (Terrestrial species) | CODE | Basis of measurement | CODE | Other | Tissue element of species monitored | CODE | Other | Biota size [mm] | Biota weight [kg] | Number of organisms used | Dry Wet Ratio [weight %] | Fat content [% of total wet matter] | CODE | Sample Matrix | Sample Matrix | Codes | Type of data source | Type of data source | Codes | Type of monitoring | Type of monitoring | Codes | country | Code | Coordinates |  |  | Precision of coordinates | Precision of coordinates | Code | Fraction | Proxy pressures | Type of depth sampling | Sample Matrix | Type of treatment plant associated with the parameter | Type of tertiary treatment associated with the parameter | Species group | Was the species alive | Basis of measurement | Tissue element of species monitored | Fraction (Sediments) | Sampling depth | Soil type | Soil texture | Concentration normalized for the particle size | Soil grain size | Sample matrix | Category of environment | Category of microenvironment | Category of microenvironment [Transport] | Category of microenvironment [Public buildings] | Proxy pressure [Home] | Proxy pressure [Office] | Proxy pressure [School] | Proxy pressure [Trasport] | Room on the street | Sample matrix [Ambient air] | Air renewal [Workspace] | Air filtered [Workspace] | Sample matrix [air emissions] | Air filtration system | Fraction [Sewage sludge] | Type [Sewage sludge]
Lake bream | Germany |  |  | Lake Stechlin | LC |  |  | East |  | 13 | 1 | 40 | 13.0278 | North |  | 53 | 9 | 5 | 53.1514 | Low (range 100-1000 m) |  | Surveys |  | Other |  | research study |  |  | Fish | 3 |  | Abramis brama | Lake Stechlin |  |  | Fishing | 8 | [5 empty] | Whole body | 4 |  |  |  | 15 |  |  | #REF! |  |  |  | Monitoring data | Monitoring data | 1 | Drinking water | Drinking water | 1 | Afghanistan | AF / AFG |  | East |  | Precise (range 1-10 m) | Precise (range 1-10 m) |  | Dissolved fraction | Aquaculture | Surface sampling |  | None (raw wastewater) | None | Macrophytes | Yes | Wet weight | Liver | (Whole) Fraction < 2mm | Surface sampling | Acrisols | Clay | Yes | < 2 mm | Indoor air - Home | Individual dwelling | School | Private car | Commercial center | Smokers | No smokers | Recently refurbished | Air conditioning | Yes | Ambient air - Urban | Yes | Yes | Air emissions | HEPA | (Whole) Fraction < 2mm | Bio sludge | about 30-50 cm length, about 1 - 2 kg weight per fish
Canal bream | Germany | #N/A | #REF! | Teltow Canal |  |  |  | East | 1 | 13 | 11 | 24 | 13.19 | North | 1 | 52 | 23 | 54 | 52.3983 | Low (range 100-1000 m) | 3 | Surveys | #REF! | Other | #N/A | research study | #REF! | #REF! | Fish | 3 |  | Abramis brama | Teltow canal |  |  | Direct discharges from sewage treatment works and industry | 3 | [5 empty] | Whole body | 4 |  |  |  | 10 |  |  | #REF! | Surface water - Lake water | Surface water - Coastal water | 4 | Research and technical studies | Research and technical studies | 2 | Investigative | Investigative | 2 | Albania | AL / ALB | 1 | West | 1 | Average (range 10-100 m) | Low (range 100-1000 m) | 3 | Whole water with no separation of liquid and SPM phases | Artificial recharge of the groundwater body | Depth integrated sampling | Waste water - Municipal | Mechanical pre-treatment only (screens, sand-traps, etc.) | A. Post filtration | Molluscs | No | Dry weight | Muscel | Fraction < 63 um | Depth integrated sampling | Albelubisols | Silt | No | < 1 mm | Indoor air - Office | Flat | Kindergartens | Taxi | Public office (post office...) | No smokers | Smokers | Use of chemicals | Mechanical ventilation | No | Ambient air - Periurban | No | No |  | Electrostatic system | Fraction < 63 um | Centrifugated sludge | about 40-46 cm length, about 0.8 - 1.3 kg weight per fish
|  | - | #REF! | [5 empty] | - | [5 empty] | - | [5 empty] | - |  | - |  | - |  | #REF! | #REF! | [22 empty] | #REF! | Surface water - Transitional water | Surface water - Lake water | 2 | Surveys | Surveys | 3 | Operational | Operational | 3 | Algeria | DZ / DZA | 2 | North | 2 | Low (range 100-1000 m) | Precise (range 1-10 m) | 1 | Whole water with determination on each separate phase (sum of all phases) | Associated aquatic ecosystems | Spot sampling | Waste water - Other | Pre-treatment + primary sedimentation tank | A.1. Sand filter | Fish |  | Lipid (fat) weight | Soft body | Fraction < 50 um | Spot sampling | Alisols | Sand | Not known | < 0.5 mm | Indoor air - School / kindergarten | Mobile-home / prefabricated house | Highschool | Bus | Store | Recently refurbished | Recently refurbished | Air conditioning | Other |  | Ambient air - Rural/agricultural area |  |  |  | Wet abatement | Fraction < 50 um | Dehydrated incinerated sludge
|  | - | #REF! | [5 empty] | - | [5 empty] | - | [5 empty] | - |  | - |  | - |  | #REF! | #REF! | [22 empty] | #REF! | Surface water - Coastal water | Surface water - Other | 7 |  |  |  | Reference | Other | 6 | American Samoa | AS / ASM | 3 | South | 3 | Very low (>1000) | Very low (>1000) | 4 |  | Dam construction |  |  | Pre-treatment + precipitation/coagulation in primary sedimentation tank | A.2. Sand filter+ chlorination | Other |  | Not know | Whole body | Fraction < 20 um |  | Andosols | Loam | Not applicable | < 0.25 mm | Indoor air - Transport |  | University | Train | Restaurant /pub / coffee shop | Air conditioning | Air conditioning | Mechanical ventilation |  |  | Ambient air - Industrial area |  |  |  | Other | Fraction < 20 um | Incinerated sludge
x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | Surface water - Territorial (marine) water | Surface water - Reservoirs | 6 |  |  |  | Surveillance | Reference | 4 | Andorra | AD / AND | 4 |  | 4 |  |  |  |  | Direct discharges from sewage treatment works and industry |  |  | Activated sludge (including SBR) - C-removal only | A.3. Sand filter + UV |  |  | Other | Not known | Other |  | Anthrosols | Silty clay |  | < 0.2 mm | Indoor air - Public buildings |  | Prefabricated building | Underground | Cinema | Mechanical ventilation | Mechanical ventilation | Other |  |  | Ambient air - Background |  |  |  |  | Other | Presedimented sludge
[52 empty] | Surface water - Reservoirs | Surface water - River water | 1 |  |  |  | Other | Surveillance | 5 | Angola | AO / AGO | 5 |  | 5 |  |  |  |  | Directly impacted by leachate from landfill disposal sites |  |  | Activated sludge (including SBR) - C+N (Nitrification) | B. Tertiary membrane |  |  |  | Other |  |  | Arenosols | Sandy clay |  | < 100 um | Indoor air - Other |  |  | Aircraft | Museum | Electric heating | Other |  |  |  | Ambient air - Other | [5 empty] | Primary sludge
[52 empty] | Surface water - Other | Surface water - Territorial (marine) water | 5 | [6 empty] | Anguilla | AI / AIA | 6 |  | 6 |  |  |  |  | Downstream river monitoring station |  |  | Activated sludge (including SBR) - C+N+DN (Denitrification) | B.1. Nanofiltration | [6 empty] | Calcisols | Clay loam |  | < 63 um |  |  |  |  | Swimming-pool | Gas device | [10 empty] | Sewage sludge
[52 empty] | Ground water | Surface water - Transitional water | 3 | [6 empty] | Antarctica | AQ / ATA | 7 |  | 7 |  |  |  |  | Dredged spoil or waste disposal ground |  |  | Activated sludge (including SBR) - C+N+P (P-removal) | B.2. Reverse osmosis | [6 empty] | Cambisols | Silt loam |  | < 50 um |  |  |  |  | Ice arena | Open fireplace | [10 empty] | Stormwater sludge
[61 empty] | Bahamas | BS / BHS | #REF! |  | #REF! |  |  |  |  | Port facilities |  |  | Pre-treatment + primary sedimentation tank + fixed biomass reactor (trickling filter, biodisc, biofilter) | D.2. Ozone + H2O2 | [6 empty] | Histosols
[61 empty] | Bahrain | BH / BHR | #REF! |  | #REF! |  |  |  |  | Water abstracted from groundwater body |  |  | Pre-treatment + microfiltration | D.3. UV+H2O2 | [6 empty] | Kastanozems
[61 empty] | Bangladesh | BD / BGD | #REF! |  | #REF! | [7 empty] | Pre-treatment + stabilization ponds | D.4. Photo-Oxidation | [6 empty] | Leptosols
[61 empty] | Barbados | BB / BRB | #REF! |  | #REF! | [7 empty] | Pre-treatment + constructed wetland | D.5. PAC (powdered activated carbon) | [6 empty] | Lixisols
[61 empty] | Belarus | BY / BLR | #REF! |  | #REF! | [7 empty] | Other | D.6. GAC (granular activated carbon) | [6 empty] | Luvisols
[61 empty] | Belgium | BE / BEL | #REF! |  | #REF! | [8 empty] | D.7. Ozone + Sand filter | [6 empty] | Nitrisols
[61 empty] | Belize | BZ / BLZ | #REF! |  | #REF! | [8 empty] | D.8. Ozone + GAC | [6 empty] | Phaeozems
[61 empty] | Benin | BJ / BEN | #REF! |  | #REF! | [8 empty] | E.1. Tertiary clarifier | [6 empty] | Planosols
[61 empty] | Bermuda | BM / BMU | #REF! |  | #REF! | [8 empty] | EP.1. Coagulation/flocculation/sedimentation | [6 empty] | Plinthosols
[61 empty] | Bhutan | BT / BTN | #REF! |  | #REF! | [8 empty] | EP.2.Coagulation/flocculation/sedimentation+disinfection (Cl2, ozone) | [6 empty] | Podzols
[61 empty] | Bolivia | BO / BOL | #REF! |  | #REF! | [8 empty] | Other | [6 empty] | Regosols
[61 empty] | Bosnia and Herzegovina | BA / BIH | #REF! |  | #REF! | [15 empty] | Solonchaks
[61 empty] | Botswana | BW / BWA | #REF! |  | #REF! | [15 empty] | Solonetz
[61 empty] | Brazil | BR / BRA | #REF! |  | #REF! | [15 empty] | Umbrisols
[61 empty] | British Indian Ocean Territory | IO / IOT | #REF! |  | #REF! | [15 empty] | Vertisols
[61 empty] | British Virgin Islands | VG / VGB | #REF! |  | #REF!
[61 empty] | Brunei | BN / BRN | #REF! |  | #REF!
[61 empty] | Bulgaria | BG / BGR | #REF! |  | #REF!
[61 empty] | Burkina Faso | BF / BFA | #REF! |  | #REF!
[61 empty] | Burundi | BI / BDI | #REF! |  | #REF!
[61 empty] | Cambodia | KH / KHM | #REF! |  | #REF!
[61 empty] | Cameroon | CM / CMR
[61 empty] | Canada | CA / CAN
[61 empty] | Cape Verde | CV / CPV
[61 empty] | Cayman Islands | KY / CYM
[61 empty] | Central African Republic | CF / CAF
[61 empty] | Chad | TD / TCD
[61 empty] | Chile | CL / CHL
[61 empty] | China | CN / CHN
[61 empty] | Christmas Island | CX / CXR
[61 empty] | Cocos Islands | CC / CCK
[61 empty] | Colombia | CO / COL
[61 empty] | Comoros | KM / COM
[61 empty] | Cook Islands | CK / COK
[61 empty] | Costa Rica | CR / CRI
[61 empty] | Croatia | HR / HRV
[61 empty] | Cuba | CU / CUB
[61 empty] | Curacao | CW / CUW
[61 empty] | Cyprus | CY / CYP
[61 empty] | Czech Republic | CZ / CZE
[61 empty] | Democratic Republic of the Congo | CD / COD
[61 empty] | Denmark | DK / DNK
[61 empty] | Djibouti | DJ / DJI
[61 empty] | Dominica | DM / DMA
[61 empty] | Dominican Republic | DO / DOM
[61 empty] | East Timor | TL / TLS
[61 empty] | Ecuador | EC / ECU
[61 empty] | Egypt | EG / EGY
[61 empty] | El Salvador | SV / SLV
[61 empty] | Equatorial Guinea | GQ / GNQ
[61 empty] | Eritrea | ER / ERI
[61 empty] | Estonia | EE / EST
[61 empty] | Ethiopia | ET / ETH
[61 empty] | Falkland Islands | FK / FLK
[61 empty] | Faroe Islands | FO / FRO
[61 empty] | Fiji | FJ / FJI
[61 empty] | Finland | FI / FIN
[61 empty] | France | FR / FRA
[61 empty] | French Polynesia | PF / PYF
[61 empty] | Gabon | GA / GAB
[61 empty] | Gambia | GM / GMB
[61 empty] | Georgia | GE / GEO
[61 empty] | Germany | DE / DEU
[61 empty] | Ghana | GH / GHA
[61 empty] | Gibraltar | GI / GIB
[61 empty] | Greece | GR / GRC
[61 empty] | Greenland | GL / GRL
[61 empty] | Grenada | GD / GRD
[61 empty] | Guam | GU / GUM
[61 empty] | Guatemala | GT / GTM
[61 empty] | Guernsey | GG / GGY
[61 empty] | Guinea | GN / GIN
[61 empty] | Guinea-Bissau | GW / GNB
[61 empty] | Guyana | GY / GUY
[61 empty] | Haiti | HT / HTI
[61 empty] | Honduras | HN / HND
[61 empty] | Hong Kong | HK / HKG
[61 empty] | Hungary | HU / HUN
[61 empty] | Iceland | IS / ISL
[61 empty] | India | IN / IND
[61 empty] | Indonesia | ID / IDN
[61 empty] | Iran | IR / IRN
[61 empty] | Iraq | IQ / IRQ
[61 empty] | Ireland | IE / IRL
[61 empty] | Isle of Man | IM / IMN
[61 empty] | Israel | IL / ISR
[61 empty] | Italy | IT / ITA
[61 empty] | Ivory Coast | CI / CIV
[61 empty] | Jamaica | JM / JAM
[61 empty] | Japan | JP / JPN
[61 empty] | Jersey | JE / JEY
[61 empty] | Jordan | JO / JOR
[61 empty] | Kazakhstan | KZ / KAZ
[61 empty] | Kenya | KE / KEN
[61 empty] | Kiribati | KI / KIR
[61 empty] | Kosovo | XK / XKX
[61 empty] | Kuwait | KW / KWT
[61 empty] | Kyrgyzstan | KG / KGZ
[61 empty] | Laos | LA / LAO
[61 empty] | Latvia | LV / LVA
[61 empty] | Lebanon | LB / LBN
[61 empty] | Lesotho | LS / LSO
[61 empty] | Liberia | LR / LBR
[61 empty] | Libya | LY / LBY
[61 empty] | Liechtenstein | LI / LIE
[61 empty] | Lithuania | LT / LTU
[61 empty] | Luxembourg | LU / LUX
[61 empty] | Macau | MO / MAC
[61 empty] | North Macedonia | MK / MKD
[61 empty] | Madagascar | MG / MDG
[61 empty] | Malawi | MW / MWI
[61 empty] | Malaysia | MY / MYS
[61 empty] | Maldives | MV / MDV
[61 empty] | Mali | ML / MLI
[61 empty] | Malta | MT / MLT
[61 empty] | Marshall Islands | MH / MHL
[61 empty] | Mauritania | MR / MRT
[61 empty] | Mauritius | MU / MUS
[61 empty] | Mayotte | YT / MYT
[61 empty] | Mexico | MX / MEX
[61 empty] | Micronesia | FM / FSM
[61 empty] | Moldova | MD / MDA
[61 empty] | Monaco | MC / MCO
[61 empty] | Mongolia | MN / MNG
[61 empty] | Montenegro | ME / MNE
[61 empty] | Montserrat | MS / MSR
[61 empty] | Morocco | MA / MAR
[61 empty] | Mozambique | MZ / MOZ
[61 empty] | Myanmar | MM / MMR
[61 empty] | Namibia | NA / NAM
[61 empty] | Nauru | NR / NRU
[61 empty] | Nepal | NP / NPL
[61 empty] | Netherlands | NL / NLD
[61 empty] | Netherlands Antilles | AN / ANT
[61 empty] | New Caledonia | NC / NCL
[61 empty] | New Zealand | NZ / NZL
[61 empty] | Nicaragua | NI / NIC
[61 empty] | Niger | NE / NER
[61 empty] | Nigeria | NG / NGA
[61 empty] | Niue | NU / NIU
[61 empty] | North Korea | KP / PRK
[61 empty] | Northern Mariana Islands | MP / MNP
[61 empty] | Norway | NO / NOR
[61 empty] | Oman | OM / OMN
[61 empty] | Pakistan | PK / PAK
[61 empty] | Palau | PW / PLW
[61 empty] | Palestine | PS / PSE
[61 empty] | Panama | PA / PAN
[61 empty] | Papua New Guinea | PG / PNG
[61 empty] | Paraguay | PY / PRY
[61 empty] | Peru | PE / PER
[61 empty] | Philippines | PH / PHL
[61 empty] | Pitcairn | PN / PCN
[61 empty] | Poland | PL / POL
[61 empty] | Portugal | PT / PRT
[61 empty] | Puerto Rico | PR / PRI
[61 empty] | Qatar | QA / QAT
[61 empty] | Republic of the Congo | CG / COG
[61 empty] | Reunion | RE / REU
[61 empty] | Romania | RO / ROU
[61 empty] | Russia | RU / RUS
[61 empty] | Rwanda | RW / RWA
[61 empty] | Saint Barthelemy | BL / BLM
[61 empty] | Saint Helena | SH / SHN
[61 empty] | Saint Kitts and Nevis | KN / KNA
[61 empty] | Saint Lucia | LC / LCA
[61 empty] | Saint Martin | MF / MAF
[61 empty] | Saint Pierre and Miquelon | PM / SPM
[61 empty] | Saint Vincent and the Grenadines | VC / VCT
[61 empty] | Samoa | WS / WSM
[61 empty] | San Marino | SM / SMR
[61 empty] | Sao Tome and Principe | ST / STP
[61 empty] | Saudi Arabia | SA / SAU
[61 empty] | Senegal | SN / SEN
[61 empty] | Serbia | RS / SRB
[61 empty] | Seychelles | SC / SYC
[61 empty] | Sierra Leone | SL / SLE
[61 empty] | Singapore | SG / SGP
[61 empty] | Sint Maarten | SX / SXM
[61 empty] | Slovakia | SK / SVK
[61 empty] | Slovenia | SI / SVN
[61 empty] | Solomon Islands | SB / SLB
[61 empty] | Somalia | SO / SOM
[61 empty] | South Africa | ZA / ZAF
[61 empty] | South Korea | KR / KOR
[61 empty] | South Sudan | SS / SSD
[61 empty] | Spain | ES / ESP
[61 empty] | Sri Lanka | LK / LKA
[61 empty] | Sudan | SD / SDN
[61 empty] | Suriname | SR / SUR
[61 empty] | Svalbard and Jan Mayen | SJ / SJM
[61 empty] | Swaziland | SZ / SWZ
[61 empty] | Sweden | SE / SWE
[61 empty] | Switzerland | CH / CHE
[61 empty] | Syria | SY / SYR
[61 empty] | Taiwan | TW / TWN
[61 empty] | Tajikistan | TJ / TJK
[61 empty] | Tanzania | TZ / TZA
[61 empty] | Thailand | TH / THA
[61 empty] | Togo | TG / TGO
[61 empty] | Tokelau | TK / TKL
[61 empty] | Tonga | TO / TON
[61 empty] | Trinidad and Tobago | TT / TTO
[61 empty] | Tunisia | TN / TUN
[61 empty] | Turkey | TR / TUR
[61 empty] | Turkmenistan | TM / TKM
[61 empty] | Turks and Caicos Islands | TC / TCA
[61 empty] | Tuvalu | TV / TUV
[61 empty] | U.S. Virgin Islands | VI / VIR
[61 empty] | Uganda | UG / UGA
[61 empty] | Ukraine | UA / UKR
[61 empty] | United Arab Emirates | AE / ARE
[61 empty] | United Kingdom | GB / GBR
[61 empty] | United States | US / USA
[61 empty] | Uruguay | UY / URY
[61 empty] | Uzbekistan | UZ / UZB
[61 empty] | Vanuatu | VU / VUT
[61 empty] | Vatican | VA / VAT
[61 empty] | Venezuela | VE / VEN
[61 empty] | Vietnam | VN / VNM
[61 empty] | Wallis and Futuna | WF / WLF
[61 empty] | Western Sahara | EH / ESH
[61 empty] | Yemen | YE / YEM
[61 empty] | Zambia | ZM / ZMB
[61 empty] | Zimbabwe | ZW / ZWE
[61 empty] | Zimbabwe | ZW / ZWE
Note on I2: Insert coordinates either in degrees or in decimal.
Note on O2: Insert coordinates either in degrees or in decimal.

## METHOD LC-MS(MS)
Mass spectrometer
Serial No. | Method name (TARGET 1/2/... – substance information; SUSPECT 1/2/...; NON-TARGET 1/2/...; UNKNOWN 1/2...) | Instrument manufacturer | Model type and number | Analytical column | Column dimensions [mm; mm; mm] | Solvent used for sample reconstitution | Injection volume | Column temperature | Composition of the mobile phase | Mobile phase gradient programme | Mobile phase flow rate [mL/min] | Scan range from - to [m/z] | SIM | SRM | Resolving power with referenced m/z | Accuracy MS [ppm/mDa] | Accuracy MS/MS [ppm/mDa] | Width of the ion | Ionization (ESI, APCI, APPI,...) | Different methods of mass fragmentation | Collision energy | Software used for target screening | Procedure for confirmation of targets | Software/Databases used for suspect screening | Procedure for confirmation of suspects and unknowns | RT prediction method (if different from the one used in the CT) | Fragmentation prediction method | Unit | Limit of Detection (LoD) | Limit of Quantification (LoQ) | Uncertainity at LoQ [%]
[5 empty] | Length; I.D.; particle size |  | [ml] | [°C] |  |  |  |  | m/z | m/z
EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE
LC-NAME-001 | TARGET1_Acesulfame | Thermo Fisher Scientific | LTQ Orbitrap XL | Waters Xbridge C18 | 50; 2.1; 3.5 | Methanol/Water 10/90 | 20 | 30 | A=water+0.1% formic acid; B=methanol+0.1% formic acid | 10 %B(0);10 %B-50% over 4min;50%B(10);50 %B-95% over 10min;95%B(10) | 0.2 | 100-1000 |  |  | 60,000 @m/z 400; 50,000 @m/z 1000 | 2 mDa | 3 mDa |  |  | HCD | 10 eV | Trace Finder, Mass Hunter… | MS, RT, MS/MS | Trace Finder, EnviMass, MassBank, | MS, RT, MS/MS, prediction of retention time | log Kow correlation | MetFrag, Mass Frontier, CMF-ID | ug/L | 0.02 | 0.05
YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA
LC-Bref-001
LC-Bcon-001
LC-Sref-001
x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | x

## METHOD GC-MS(MS)
Mass spectrometer
Serial No. | Method name (TARGET 1/2/... – substance information; SUSPECT 1/2/...; NON-TARGET 1/2/...; UNKNOWN 1/2...) | Instrument manufacturer | Model type and number | Analytical column | Column dimensions [m; mm; mm] | Solvent used for sample reconstitution | Injection volume | Injection mode | Carrier gas | Temperature programme | Mobile phase - Flow rate [mL/min] | Internal standards | Ionisation mode |  | Scan range from - to [m/z] | SIM | SRM | Resolving power with referenced m/z | Accuracy MS/MS [ppm] | Collision energy [eV ] | Software used for target screening | Procedure for confirmation of targets | Software/Databases used for suspect screening | Procedure for confirmation of suspects and unknowns | RT prediction method | Fragmentation prediction method | Unit | Limit of Detection (LoD) | Limit of Quantification (LoQ) | Uncertainity at LoQ [%]
[5 empty] | Length; I.D.; film thickness |  | [ml] | [6 empty] | Other |  | m/z | m/z
EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE
GC-NAME-001 | TARGET1_Atrazine | Agilent | 7000A- QQQ | J&W/DB-5ms | 30;0.25;0.25 | Acetonitrile | 1 | splitless | H2 | 50C(2)-15C/min-200C(0)-20C/min(20) | 1.5 | DDT-D8=0.01ug/L | EI |  |  |  | [200.1->122.1] |  | 15 | 10 | Agilent MassHunter | Confirmed by atrazine standard | Agilent MassHunter | MS/MS |  |  | ug/L | 0.01 | 0.041 | 10
GC-NAME-001 | UNKNOWN_1 | Agilent | 5795C | J&W/DB-5ms | 30;0.25;0.25 | Acetonitrile | 50 | LVI | H2 | 50C(2)-15C/min-200C(0)-20C/min(20) | 1.2 | DDT-D8=0.01ug/L | EI |  | 50-800 | [5 empty] | HPCHEMSTATION |  |  | Library search, manual interpretation |  |  | ug/L
YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA
GC-Bref-001 | [26 empty] | -
GC-Bcon-001 | [26 empty] | -
GC-Sref-001 | [26 empty] | -
x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | x

## ANALYSIS
Sample identification (link to the raw data file name) | Retention time in the 1st column [min] | Retention time in the 2nd column [sec] | Mass of ion [m/z] (peak or component) | Intensity of the ion | Intensity of the ion in the blank | Fold change excess in contaminated sample vs. reference sampleld (min 10) | Ion type |  | MS/MS available | Category | Proposed identification (name of the substance or n.i. for not identified) | Molecular formula | MW | Exact. Mass | Identifier: SMILES | CAS No. | Estimated concentration [ug/l] | Level of confirmation of identification | Component information | Optional |  |  | Date of sampling (DD/MM/YYYYY) | Date of analysis (DD/MM/YYYYY) | Serial No. in Method LC-MS(MS) or GC-MS(MS) worksheet | LC-MS - files attached |  |  |  | GC-MS - files attached | Peak area of the ion [optional]
[20 empty] | Retention Time Index LC-MS (Letzel's index; other index) | Retention Time Index LC-MS (UoA approach) | Retention Time Index GC-MS (Kovat's index) |  |  |  | Raw chromatogram; Positive/Negative mode; MS-MS... (Organization abbreviation_Ionization mode [POS/NEG]_Collision Energy in eV or %_ Instrument_ Matrix_Sampling Site_Country_Date of Sampling [DD.MM.YYYY]_ Project abbreviation_Unique Sample ID.mzML) |  |  |  | Raw chromatogram; EI/PCI/NCI; MS/MS... (mzML) (Organization abbreviation_Ionization mode [POS/NEG]_Collision Energy in eV or %_ Instrument_ Matrix_Sampling Site_Country_Date of Sampling [DD.MM.YYYY]_ Project abbreviation_Unique Sample ID.mzML)
[8 empty] | Other | [6 empty] | #REF! |  |  |  | Fragment masses of detected compounds | [6 empty] | No. of peaks | Intensity cut-off value | Data analysis report (mzML) | Data aquisition
EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE EXAMPLE
ElbeSW01 | 4.64 |  | 216.1012 | 1666665 | 0 |  | M+ |  | Yes | Target | atrazine | C8H14Cl1N5 |  |  | c1(nc(nc(n1)Cl)NCC)NC(C)C | 1912-24-9 | 0.25 | reference standard, ratio of MS/MS |  | 87.6 |  |  | 2013-12-12 | 2013-12-13 | LC001, LC002, GC001 | 10,021 | 0 | UFZ_POS_4eV_LC-ESI-Orbitrap-MS_Elbe_Leipzig_Germany_NoProject_01.01.2014.mzML | Auto MS/MS 5 the most abundant precursors per scan |  | 4666665
DanubeSED01 | 16.64 |  | 243 | 14222 | 0 |  | Other | Base | No | Unknown | n.i. | n/a |  |  | n/a | n/a | 0.15 | characteristic pattern at ion 243 shows presence of chlorine atom | 245.0322 25.3, 258.3405 32.5, 260.0665 60.0 |  | 1954.19 |  | 2013-12-12 | 2013-12-13 | GC001 |  |  |  | MRM | EI_POS_70eV_GC-EI-MS_Danube_Bratislava_Slovakia_JDS3_01.02.2014.mzML | 142022
YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA YOUR DATA
Note on S1: Tobias Schulze I miss here the levels of Emma. They should be used and maybe a field for comments

## Spiked Compounds
Spiked Compound Name | SMILES | Ionization | Concentation level units | Response expression [Peak Area or Maximum Intensity] | Concentation level 1 | Response at concentration level 1 | Concentation level 2 | Response at concentration level 2 | Concentation level 3 | Response at concentration level 3 | Concentation level 4 | Response at concentration level 4 | Concentation level 5 | Response at concentration level 5 | Concentation level 6 | Response at concentration level 6 | Concentation level 7 | Response at concentration level 7 | Concentation level 8 | Response at concentration level 8 | RT [min]
| Example | [6 empty] | Example
Clarithromycin | CC[C@@H]1[C@@]([C@@H]([C@H](C(=O)[C@@H](C[C@@]([C@@H]([C@H]([C@@H]([C@H](C(=O)O1)C)O[C@H]2C[C@@]([C@H]([C@@H](O2)C)O)(C)OC)C)O[C@H]3[C@@H]([C@H](C[C@H](O3)C)N(C)C)O)(C)OC)C)C)O)(C)O | POSITIVE | ng/L | Peak Area | 12.5 | 12526 | 25 | 27536 | 50 | 55456 | 75 | 78985 | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ
Ciprofloxacin | c1c2c(cc(c1F)N3CCNCC3)n(cc(c2=O)C(=O)O)C4CC4 | POSITIVE | ng/L | Peak Area | 18 | 2562 | 45 | 12365 | 150 | 102568 | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ | ΝΑ
| YOUR DATA | [6 empty] | YOUR DATA

## Drop-down
´=ion | ´=MS/MS | ´=class
M+H+ | Yes | Target
M-H- | No | Suspect
M+ |  | Unknown
M- |  | Non-Target
M+Na+
M+NH4+
M+formic acid-
Other
´=frag | = mode | = gas | = inter2 | = unit | (=inter)
CID | split | N2 | EI | mg/l | ESI (P)
ECD | pulsed split | H2 | PCI | ug/l | ESI (N)
ETD | splitless | He | NCI | ng/l | APCI (P)
NETD | pulsed splitless | Ar | Other | pg/l | APCI (N)
EDD | LVI |  |  |  | APPI (P)
SID | on-column |  |  |  | APPI (N)
HCD |  |  |  |  | Other