## Hidden Data (hidden)
Double Line Plot Age Plateau |  |  | Double Line Plot K/Ca Plateau |  |  | X-Y Plot Normal Isochron |  | X-Y Plot Inverse Isochron |  | Error Ellipses Normal Isochron |  | Error Ellipses Inverse Isochron |  | Used Measurements for Blank Corrections
Ar39k% | Line 1 | Line 2 | Ar39k% | Line 1 | Line 2 | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | Filename | Included | 36Ar | 1σ | 37Ar | 1σ | 38Ar | 1σ | 39Ar | 1σ | 40Ar | 1σ | Date | Filename | Included | 40Ar/39Ar | 1σ | J-value | 1σ | Date | X | Y | H
0 | -0.1 | 10.1 | 0 | -0.0204 | 0.017493 | -0.15885 | 299.8179 | -0.00052983 | 0.0033354 |  |  | 0.004236 | 0.0033357
-0.0078033 | -0.1 | 10.1 | -0.0078033 | -0.0204 | 0.017493 | 1.3479 | 290.2356 | 0.0046441 | 0.0034455 |  |  | 0.0040736 | 0.0032812
-0.0078033 | 2.5075 | -0.1 | -0.0078033 | 0.0061759 | 0.0029804 | 0.84137 | 296.7591 | 0.0028352 | 0.0033697 |  |  | 0.0035975 | 0.0032303
0.19091 | 2.5075 | -0.1 | 0.19091 | 0.0061759 | 0.0029804 | 0.82749 | 282.1909 | 0.0029324 | 0.0035437 |  |  | 0.0028401 | 0.0031866
0.19091 | -0.1 | 10.1 | 0.19091 | -0.0018835 | 0.0089894 | 2.8871 | 291.8676 | 0.0098919 | 0.0034262 |  |  | 0.0018531 | 0.0031531
0.23585 | -0.1 | 10.1 | 0.23585 | -0.0018835 | 0.0089894 | 7.6068 | 346.8044 | 0.021934 | 0.0028835 |  |  | 0.00070367 | 0.0031319
0.23585 | 9.2864 | -0.1 | 0.23585 | 0.0065644 | 0.00038647 | 5.2946 | 305.5582 | 0.017328 | 0.0032727 |  |  | -0.00052981 | 0.0031247
0.31489 | 9.2864 | -0.1 | 0.31489 | 0.0065644 | 0.00038647 | 18.9226 | 329.2259 | 0.057476 | 0.0030374 |  |  | -0.0017633 | 0.0031317
0.31489 | -0.1 | -0.1 | 0.31489 | 0.0028725 | 0.0035752 | 21.7995 | 342.6607 | 0.063618 | 0.0029183 |  |  | -0.0029127 | 0.0031527
0.97099 | -0.1 | -0.1 | 0.97099 | 0.0028725 | 0.0035752 | 22.7901 | 331.4875 | 0.068751 | 0.0030167 |  |  | -0.0038998 | 0.0031861
0.97099 | 10.1 | -0.1 | 0.97099 | 0.0090704 | -0.0016922 | 107.8689 | 492.1705 | 0.21917 | 0.0020318 |  |  | -0.0046571 | 0.0032297
1.0179 | 10.1 | -0.1 | 1.0179 | 0.0090704 | -0.0016922 | 138.3288 | 528.4966 | 0.26174 | 0.0018922 |  |  | -0.0051333 | 0.0032804
1.0179 | -0.1 | 9.3408 | 1.0179 | 0.0024445 | 0.0032196 | 130.4324 | 531.6703 | 0.24533 | 0.0018809 |  |  | -0.0052957 | 0.003335
1.5176 | -0.1 | 9.3408 | 1.5176 | 0.0024445 | 0.0032196 | 69.991 | 418.9154 | 0.16708 | 0.0023871 |  |  | -0.0051333 | 0.0033895
1.5176 | 8.1815 | 1.2713 | 1.5176 | 0.0030031 | 0.0024954 | 82.1856 | 453.4328 | 0.18125 | 0.0022054 |  |  | -0.0046572 | 0.0034404
2.2989 | 8.1815 | 1.2713 | 2.2989 | 0.0030031 | 0.0024954 | 28.9182 | 356.921 | 0.081021 | 0.0028017 |  |  | -0.0038998 | 0.0034841
2.2989 | 4.3553 | 7.4409 | 2.2989 | 0.002517 | 0.00268 | 135.7525 | 538.6821 | 0.25201 | 0.0018564 |  |  | -0.0029128 | 0.0035176
4.5121 | 4.3553 | 7.4409 | 4.5121 | 0.002517 | 0.00268 | 119.2264 | 515.4962 | 0.23128 | 0.0019399 |  |  | -0.0017633 | 0.0035388
4.5121 | 4.8921 | 3.5366 | 4.5121 | 0.0025945 | 0.0025432 | 110.9554 | 490.2917 | 0.2263 | 0.0020396 |  |  | -0.00052985 | 0.0035461
13.351 | 4.8921 | 3.5366 | 13.351 | 0.0025945 | 0.0025432 | 109.8209 | 466.8732 | 0.23523 | 0.0021419 |  |  | 0.00070364 | 0.003539
13.351 | 4.7767 | 5.6911 | 13.351 | 0.0025852 | 0.0026282 | 64.8468 | 454.6466 | 0.14263 | 0.0021995 |  |  | 0.0018531 | 0.003518
27.0664 | 4.7767 | 5.6911 | 27.0664 | 0.0025852 | 0.0026282 | [6 empty] | 0.0028401 | 0.0034846
27.0664 | 5.2933 | 4.4021 | 27.0664 | 0.00266 | 0.0026153 | [6 empty] | 0.0035975 | 0.003441
40.4168 | 5.2933 | 4.4021 | 40.4168 | 0.00266 | 0.0026153 | [6 empty] | 0.0040736 | 0.0033903
40.4168 | 4.8313 | 5.5919 | 40.4168 | 0.0027238 | 0.0027637 | [6 empty] | 0.004236 | 0.0033357
62.687 | 4.8313 | 5.5919 | 62.687 | 0.0027238 | 0.0027637 | [6 empty] | 0.0040736 | 0.0032812
62.687 | 5.5371 | 4.4922 | 62.687 | 0.0028503 | 0.0027981
73.1784 | 5.5371 | 4.4922 | 73.1784 | 0.0028503 | 0.0027981 | [6 empty] | 0.0062615 | 0.0034467
73.1784 | 4.9086 | 6.0807 | 73.1784 | 0.0028918 | 0.0029543 | [6 empty] | 0.0062064 | 0.0034198
81.3923 | 4.9086 | 6.0807 | 81.3923 | 0.0028918 | 0.0029543 | [6 empty] | 0.0060449 | 0.0033947
81.3923 | 6.5801 | 5.1878 | 81.3923 | 0.0031697 | 0.0030965 | [6 empty] | 0.0057878 | 0.003373
88.5366 | 6.5801 | 5.1878 | 88.5366 | 0.0031697 | 0.0030965 | [6 empty] | 0.0054529 | 0.0033563
88.5366 | 4.1679 | 6.1482 | 88.5366 | 0.0029461 | 0.0030882 | [6 empty] | 0.0050628 | 0.0033456
91.6273 | 4.1679 | 6.1482 | 91.6273 | 0.0029461 | 0.0030882 | [6 empty] | 0.0046442 | 0.0033418
91.6273 | 6.1786 | 4.4329 | 91.6273 | 0.0028965 | 0.0027805 | [6 empty] | 0.0042256 | 0.003345
95.1733 | 6.1786 | 4.4329 | 95.1733 | 0.0028965 | 0.0027805 | [6 empty] | 0.0038355 | 0.0033551
95.1733 | 3.9606 | 6.1178 | 95.1733 | 0.0028223 | 0.002981 | [6 empty] | 0.0035005 | 0.0033713
97.856 | 3.9606 | 6.1178 | 97.856 | 0.0028223 | 0.002981 | [6 empty] | 0.0032435 | 0.0033926
97.856 | 6.6187 | 2.3215 | 97.856 | 0.003033 | 0.0027156 | [6 empty] | 0.0030819 | 0.0034174
99.1304 | 6.6187 | 2.3215 | 99.1304 | 0.003033 | 0.0027156 | [6 empty] | 0.0030268 | 0.0034442
99.1304 | 3.9349 | 10.0961 | 99.1304 | 0.0024923 | 0.0029456 | [6 empty] | 0.0030818 | 0.0034711
100 | 3.9349 | 10.0961 | 100 | 0.0024923 | 0.0029456 | [6 empty] | 0.0032434 | 0.0034962
[12 empty] | 0.0035004 | 0.0035179
[12 empty] | 0.0038354 | 0.0035347
[12 empty] | 0.0042254 | 0.0035453
[12 empty] | 0.004644 | 0.0035492
[12 empty] | 0.0050627 | 0.003546
[12 empty] | 0.0054527 | 0.0035359
[12 empty] | 0.0057877 | 0.0035197
[12 empty] | 0.0060448 | 0.0034984
[12 empty] | 0.0062064 | 0.0034735
[12 empty] | 0.0062615 | 0.0034467
[12 empty] | 0.0062064 | 0.0034198
[12 empty] | 0.0071679 | 0.0033717
[12 empty] | 0.0070203 | 0.0033178
[12 empty] | 0.0065875 | 0.0032673
[12 empty] | 0.005899 | 0.0032238
[12 empty] | 0.0050016 | 0.0031903
[12 empty] | 0.0039567 | 0.003169
[12 empty] | 0.0028353 | 0.0031614
[12 empty] | 0.0017139 | 0.003168
[12 empty] | 0.0006689 | 0.0031883
[12 empty] | -0.00022846 | 0.003221
[12 empty] | -0.00091703 | 0.0032638
[12 empty] | -0.0013499 | 0.0033139
[12 empty] | -0.0014976 | 0.0033677
[12 empty] | -0.0013499 | 0.0034217
[12 empty] | -0.00091713 | 0.0034722
[12 empty] | -0.0002286 | 0.0035156
[12 empty] | 0.00066873 | 0.0035492
[12 empty] | 0.0017137 | 0.0035705
[12 empty] | 0.0028351 | 0.0035781
[12 empty] | 0.0039565 | 0.0035715
[12 empty] | 0.0050015 | 0.0035512
[12 empty] | 0.0058988 | 0.0035185
[12 empty] | 0.0065874 | 0.0034757
[12 empty] | 0.0070203 | 0.0034256
[12 empty] | 0.0071679 | 0.0033717
[12 empty] | 0.0070203 | 0.0033178
[12 empty] | 0.0055361 | 0.003545
[12 empty] | 0.0054474 | 0.0035086
[12 empty] | 0.0051873 | 0.0034747
[12 empty] | 0.0047735 | 0.0034455
[12 empty] | 0.0042343 | 0.0034229
[12 empty] | 0.0036063 | 0.0034086
[12 empty] | 0.0029324 | 0.0034035
[12 empty] | 0.0022585 | 0.003408
[12 empty] | 0.0016306 | 0.0034217
[12 empty] | 0.0010913 | 0.0034437
[12 empty] | 0.00067749 | 0.0034725
[12 empty] | 0.00041736 | 0.0035062
[12 empty] | 0.00032862 | 0.0035424
[12 empty] | 0.00041732 | 0.0035788
[12 empty] | 0.00067742 | 0.0036127
[12 empty] | 0.0010912 | 0.0036419
[12 empty] | 0.0016304 | 0.0036645
[12 empty] | 0.0022584 | 0.0036788
[12 empty] | 0.0029323 | 0.0036839
[12 empty] | 0.0036062 | 0.0036794
[12 empty] | 0.0042342 | 0.0036657
[12 empty] | 0.0047734 | 0.0036437
[12 empty] | 0.0051872 | 0.0036149
[12 empty] | 0.0054474 | 0.0035812
[12 empty] | 0.0055361 | 0.003545
[12 empty] | 0.0054474 | 0.0035086
[12 empty] | 0.01097 | 0.0034279
[12 empty] | 0.010933 | 0.0034109
[12 empty] | 0.010825 | 0.0033949
[12 empty] | 0.010654 | 0.0033811
[12 empty] | 0.010431 | 0.0033703
[12 empty] | 0.010171 | 0.0033634
[12 empty] | 0.009892 | 0.0033608
[12 empty] | 0.0096131 | 0.0033626
[12 empty] | 0.0093532 | 0.0033687
[12 empty] | 0.00913 | 0.0033788
[12 empty] | 0.0089587 | 0.0033921
[12 empty] | 0.008851 | 0.0034077
[12 empty] | 0.0088143 | 0.0034246
[12 empty] | 0.008851 | 0.0034416
[12 empty] | 0.0089586 | 0.0034575
[12 empty] | 0.0091298 | 0.0034713
[12 empty] | 0.009353 | 0.0034821
[12 empty] | 0.0096129 | 0.003489
[12 empty] | 0.0098918 | 0.0034917
[12 empty] | 0.010171 | 0.0034899
[12 empty] | 0.010431 | 0.0034837
[12 empty] | 0.010654 | 0.0034737
[12 empty] | 0.010825 | 0.0034604
[12 empty] | 0.010933 | 0.0034447
[12 empty] | 0.01097 | 0.0034279
[12 empty] | 0.010933 | 0.0034109
[12 empty] | 0.054254 | 0.0029811
[12 empty] | 0.053154 | 0.0026583
[12 empty] | 0.049926 | 0.0023509
[12 empty] | 0.04479 | 0.0020797
[12 empty] | 0.038097 | 0.0018633
[12 empty] | 0.030303 | 0.0017165
[12 empty] | 0.021938 | 0.0016491
[12 empty] | 0.013572 | 0.0016659
[12 empty] | 0.005777 | 0.0017657
[12 empty] | -0.00091732 | 0.0019416
[12 empty] | -0.0060544 | 0.0021817
[12 empty] | -0.0092841 | 0.0024697
[12 empty] | -0.010386 | 0.0027858
[12 empty] | -0.009286 | 0.0031086
[12 empty] | -0.0060581 | 0.0034161
[12 empty] | -0.0009226 | 0.0036872
[12 empty] | 0.0057705 | 0.0039036
[12 empty] | 0.013565 | 0.0040505
[12 empty] | 0.02193 | 0.0041178
[12 empty] | 0.030295 | 0.004101
[12 empty] | 0.038091 | 0.0040013
[12 empty] | 0.044785 | 0.0038253
[12 empty] | 0.049922 | 0.0035852
[12 empty] | 0.053152 | 0.0032973
[12 empty] | 0.054254 | 0.0029811
[12 empty] | 0.053154 | 0.0026583
[12 empty] | 0.019711 | 0.0032792
[12 empty] | 0.01963 | 0.0032511
[12 empty] | 0.019392 | 0.0032245
[12 empty] | 0.019013 | 0.0032012
[12 empty] | 0.01852 | 0.0031827
[12 empty] | 0.017945 | 0.0031704
[12 empty] | 0.017328 | 0.003165
[12 empty] | 0.016711 | 0.003167
[12 empty] | 0.016136 | 0.0031762
[12 empty] | 0.015642 | 0.003192
[12 empty] | 0.015264 | 0.0032132
[12 empty] | 0.015025 | 0.0032385
[12 empty] | 0.014944 | 0.0032662
[12 empty] | 0.015025 | 0.0032943
[12 empty] | 0.015263 | 0.0033209
[12 empty] | 0.015642 | 0.0033442
[12 empty] | 0.016136 | 0.0033627
[12 empty] | 0.01671 | 0.003375
[12 empty] | 0.017327 | 0.0033804
[12 empty] | 0.017944 | 0.0033784
[12 empty] | 0.018519 | 0.0033692
[12 empty] | 0.019013 | 0.0033534
[12 empty] | 0.019392 | 0.0033322
[12 empty] | 0.01963 | 0.0033069
[12 empty] | 0.019711 | 0.0032792
[12 empty] | 0.01963 | 0.0032511
[12 empty] | 0.063134 | 0.0030751
[12 empty] | 0.062941 | 0.0030175
[12 empty] | 0.062377 | 0.0029612
[12 empty] | 0.061478 | 0.0029101
[12 empty] | 0.060306 | 0.0028676
[12 empty] | 0.058942 | 0.0028368
[12 empty] | 0.057477 | 0.0028196
[12 empty] | 0.056013 | 0.0028173
[12 empty] | 0.054648 | 0.00283
[12 empty] | 0.053476 | 0.0028568
[12 empty] | 0.052577 | 0.0028959
[12 empty] | 0.052011 | 0.0029447
[12 empty] | 0.051818 | 0.0029998
[12 empty] | 0.05201 | 0.0030574
[12 empty] | 0.052575 | 0.0031137
[12 empty] | 0.053474 | 0.0031648
[12 empty] | 0.054646 | 0.0032072
[12 empty] | 0.05601 | 0.0032381
[12 empty] | 0.057474 | 0.0032552
[12 empty] | 0.058939 | 0.0032576
[12 empty] | 0.060304 | 0.0032449
[12 empty] | 0.061476 | 0.0032181
[12 empty] | 0.062375 | 0.003179
[12 empty] | 0.062941 | 0.0031302
[12 empty] | 0.063134 | 0.0030751
[12 empty] | 0.062941 | 0.0030175
[12 empty] | 0.065758 | 0.0029347
[12 empty] | 0.065686 | 0.002906
[12 empty] | 0.065472 | 0.0028782
[12 empty] | 0.065132 | 0.0028532
[12 empty] | 0.064689 | 0.0028326
[12 empty] | 0.064173 | 0.0028178
[12 empty] | 0.063619 | 0.0028099
[12 empty] | 0.063065 | 0.0028093
[12 empty] | 0.062549 | 0.0028162
[12 empty] | 0.062106 | 0.0028301
[12 empty] | 0.061765 | 0.00285
[12 empty] | 0.061551 | 0.0028745
[12 empty] | 0.061478 | 0.002902
[12 empty] | 0.061551 | 0.0029306
[12 empty] | 0.061764 | 0.0029584
[12 empty] | 0.062104 | 0.0029835
[12 empty] | 0.062548 | 0.0030041
[12 empty] | 0.063064 | 0.0030189
[12 empty] | 0.063617 | 0.0030268
[12 empty] | 0.064171 | 0.0030274
[12 empty] | 0.064688 | 0.0030205
[12 empty] | 0.065131 | 0.0030066
[12 empty] | 0.065471 | 0.0029867
[12 empty] | 0.065685 | 0.0029622
[12 empty] | 0.065758 | 0.0029347
[12 empty] | 0.065686 | 0.002906
[12 empty] | 0.069351 | 0.0030216
[12 empty] | 0.06933 | 0.0030078
[12 empty] | 0.069271 | 0.0029946
[12 empty] | 0.069175 | 0.0029829
[12 empty] | 0.069051 | 0.0029736
[12 empty] | 0.068907 | 0.0029671
[12 empty] | 0.068751 | 0.0029641
[12 empty] | 0.068596 | 0.0029646
[12 empty] | 0.068451 | 0.0029687
[12 empty] | 0.068327 | 0.002976
[12 empty] | 0.068232 | 0.0029862
[12 empty] | 0.068172 | 0.0029984
[12 empty] | 0.068151 | 0.0030118
[12 empty] | 0.068171 | 0.0030256
[12 empty] | 0.068231 | 0.0030388
[12 empty] | 0.068327 | 0.0030505
[12 empty] | 0.068451 | 0.0030598
[12 empty] | 0.068595 | 0.0030663
[12 empty] | 0.068751 | 0.0030693
[12 empty] | 0.068906 | 0.0030688
[12 empty] | 0.06905 | 0.0030647
[12 empty] | 0.069175 | 0.0030574
[12 empty] | 0.06927 | 0.0030472
[12 empty] | 0.06933 | 0.003035
[12 empty] | 0.069351 | 0.0030216
[12 empty] | 0.06933 | 0.0030078
[12 empty] | 0.22123 | 0.0020444
[12 empty] | 0.22116 | 0.0020148
[12 empty] | 0.22096 | 0.0019865
[12 empty] | 0.22063 | 0.0019612
[12 empty] | 0.2202 | 0.0019407
[12 empty] | 0.2197 | 0.0019264
[12 empty] | 0.21917 | 0.0019194
[12 empty] | 0.21864 | 0.00192
[12 empty] | 0.21814 | 0.0019282
[12 empty] | 0.21771 | 0.0019434
[12 empty] | 0.21738 | 0.0019647
[12 empty] | 0.21718 | 0.0019906
[12 empty] | 0.21711 | 0.0020193
[12 empty] | 0.21718 | 0.0020488
[12 empty] | 0.21738 | 0.0020772
[12 empty] | 0.21771 | 0.0021025
[12 empty] | 0.21814 | 0.0021229
[12 empty] | 0.21864 | 0.0021372
[12 empty] | 0.21917 | 0.0021443
[12 empty] | 0.2197 | 0.0021437
[12 empty] | 0.2202 | 0.0021355
[12 empty] | 0.22063 | 0.0021202
[12 empty] | 0.22096 | 0.0020989
[12 empty] | 0.22116 | 0.002073
[12 empty] | 0.22123 | 0.0020444
[12 empty] | 0.22116 | 0.0020148
[12 empty] | 0.26463 | 0.0019072
[12 empty] | 0.26453 | 0.0018729
[12 empty] | 0.26424 | 0.00184
[12 empty] | 0.26378 | 0.0018106
[12 empty] | 0.26318 | 0.0017867
[12 empty] | 0.26249 | 0.0017701
[12 empty] | 0.26174 | 0.0017617
[12 empty] | 0.26099 | 0.0017623
[12 empty] | 0.2603 | 0.0017717
[12 empty] | 0.2597 | 0.0017893
[12 empty] | 0.25924 | 0.0018139
[12 empty] | 0.25895 | 0.0018439
[12 empty] | 0.25885 | 0.0018771
[12 empty] | 0.25895 | 0.0019114
[12 empty] | 0.25924 | 0.0019444
[12 empty] | 0.2597 | 0.0019738
[12 empty] | 0.2603 | 0.0019976
[12 empty] | 0.26099 | 0.0020142
[12 empty] | 0.26174 | 0.0020226
[12 empty] | 0.26249 | 0.002022
[12 empty] | 0.26318 | 0.0020126
[12 empty] | 0.26378 | 0.001995
[12 empty] | 0.26424 | 0.0019704
[12 empty] | 0.26453 | 0.0019404
[12 empty] | 0.26463 | 0.0019072
[12 empty] | 0.26453 | 0.0018729
[12 empty] | 0.24694 | 0.0018889
[12 empty] | 0.24688 | 0.0018612
[12 empty] | 0.24672 | 0.0018349
[12 empty] | 0.24647 | 0.0018117
[12 empty] | 0.24613 | 0.0017933
[12 empty] | 0.24574 | 0.0017808
[12 empty] | 0.24533 | 0.0017751
[12 empty] | 0.24491 | 0.0017766
[12 empty] | 0.24452 | 0.0017853
[12 empty] | 0.24419 | 0.0018004
[12 empty] | 0.24393 | 0.001821
[12 empty] | 0.24377 | 0.0018457
[12 empty] | 0.24371 | 0.0018728
[12 empty] | 0.24377 | 0.0019005
[12 empty] | 0.24393 | 0.0019268
[12 empty] | 0.24418 | 0.00195
[12 empty] | 0.24452 | 0.0019685
[12 empty] | 0.24491 | 0.001981
[12 empty] | 0.24533 | 0.0019866
[12 empty] | 0.24574 | 0.0019851
[12 empty] | 0.24613 | 0.0019765
[12 empty] | 0.24647 | 0.0019613
[12 empty] | 0.24672 | 0.0019407
[12 empty] | 0.24688 | 0.001916
[12 empty] | 0.24694 | 0.0018889
[12 empty] | 0.24688 | 0.0018612
[12 empty] | 0.1688 | 0.0024007
[12 empty] | 0.16874 | 0.002375
[12 empty] | 0.16857 | 0.0023501
[12 empty] | 0.16829 | 0.0023278
[12 empty] | 0.16794 | 0.0023095
[12 empty] | 0.16752 | 0.0022965
[12 empty] | 0.16708 | 0.0022896
[12 empty] | 0.16663 | 0.0022894
[12 empty] | 0.16622 | 0.0022959
[12 empty] | 0.16586 | 0.0023086
[12 empty] | 0.16559 | 0.0023266
[12 empty] | 0.16541 | 0.0023488
[12 empty] | 0.16536 | 0.0023736
[12 empty] | 0.16541 | 0.0023993
[12 empty] | 0.16559 | 0.0024241
[12 empty] | 0.16586 | 0.0024465
[12 empty] | 0.16622 | 0.0024648
[12 empty] | 0.16663 | 0.0024778
[12 empty] | 0.16708 | 0.0024846
[12 empty] | 0.16752 | 0.0024848
[12 empty] | 0.16794 | 0.0024783
[12 empty] | 0.16829 | 0.0024656
[12 empty] | 0.16857 | 0.0024476
[12 empty] | 0.16874 | 0.0024254
[12 empty] | 0.1688 | 0.0024007
[12 empty] | 0.16874 | 0.002375
[12 empty] | 0.18373 | 0.0022233
[12 empty] | 0.18365 | 0.0021923
[12 empty] | 0.1834 | 0.0021622
[12 empty] | 0.18301 | 0.002135
[12 empty] | 0.18249 | 0.0021126
[12 empty] | 0.18189 | 0.0020966
[12 empty] | 0.18125 | 0.002088
[12 empty] | 0.18061 | 0.0020873
[12 empty] | 0.18001 | 0.0020948
[12 empty] | 0.1795 | 0.0021097
[12 empty] | 0.17911 | 0.0021312
[12 empty] | 0.17886 | 0.0021577
[12 empty] | 0.17877 | 0.0021875
[12 empty] | 0.17886 | 0.0022185
[12 empty] | 0.1791 | 0.0022486
[12 empty] | 0.1795 | 0.0022758
[12 empty] | 0.18001 | 0.0022982
[12 empty] | 0.18061 | 0.0023142
[12 empty] | 0.18125 | 0.0023228
[12 empty] | 0.18189 | 0.0023235
[12 empty] | 0.18249 | 0.002316
[12 empty] | 0.183 | 0.0023011
[12 empty] | 0.1834 | 0.0022796
[12 empty] | 0.18365 | 0.0022531
[12 empty] | 0.18373 | 0.0022233
[12 empty] | 0.18365 | 0.0021923
[12 empty] | 0.081939 | 0.0028091
[12 empty] | 0.081908 | 0.0027925
[12 empty] | 0.081816 | 0.0027765
[12 empty] | 0.081671 | 0.0027622
[12 empty] | 0.081481 | 0.0027507
[12 empty] | 0.081259 | 0.0027426
[12 empty] | 0.081022 | 0.0027385
[12 empty] | 0.080784 | 0.0027388
[12 empty] | 0.080563 | 0.0027433
[12 empty] | 0.080372 | 0.0027518
[12 empty] | 0.080227 | 0.0027638
[12 empty] | 0.080135 | 0.0027783
[12 empty] | 0.080103 | 0.0027944
[12 empty] | 0.080134 | 0.002811
[12 empty] | 0.080226 | 0.002827
[12 empty] | 0.080372 | 0.0028412
[12 empty] | 0.080562 | 0.0028528
[12 empty] | 0.080783 | 0.0028609
[12 empty] | 0.081021 | 0.0028649
[12 empty] | 0.081258 | 0.0028647
[12 empty] | 0.08148 | 0.0028602
[12 empty] | 0.08167 | 0.0028516
[12 empty] | 0.081816 | 0.0028397
[12 empty] | 0.081908 | 0.0028252
[12 empty] | 0.081939 | 0.0028091
[12 empty] | 0.081908 | 0.0027925
[12 empty] | 0.26332 | 0.0019184
[12 empty] | 0.26294 | 0.00185
[12 empty] | 0.26181 | 0.0017819
[12 empty] | 0.26001 | 0.001719
[12 empty] | 0.25767 | 0.0016654
[12 empty] | 0.25494 | 0.0016248
[12 empty] | 0.25201 | 0.0016
[12 empty] | 0.24908 | 0.0015927
[12 empty] | 0.24635 | 0.0016034
[12 empty] | 0.24401 | 0.0016313
[12 empty] | 0.24221 | 0.0016745
[12 empty] | 0.24108 | 0.0017301
[12 empty] | 0.24069 | 0.0017943
[12 empty] | 0.24108 | 0.0018628
[12 empty] | 0.24221 | 0.0019308
[12 empty] | 0.24401 | 0.0019938
[12 empty] | 0.24635 | 0.0020474
[12 empty] | 0.24908 | 0.0020879
[12 empty] | 0.25201 | 0.0021127
[12 empty] | 0.25494 | 0.00212
[12 empty] | 0.25766 | 0.0021094
[12 empty] | 0.26001 | 0.0020815
[12 empty] | 0.26181 | 0.0020383
[12 empty] | 0.26294 | 0.0019827
[12 empty] | 0.26332 | 0.0019184
[12 empty] | 0.26294 | 0.00185
[12 empty] | 0.23974 | 0.0019907
[12 empty] | 0.23945 | 0.0019351
[12 empty] | 0.23861 | 0.0018797
[12 empty] | 0.23726 | 0.0018285
[12 empty] | 0.23551 | 0.0017848
[12 empty] | 0.23347 | 0.0017517
[12 empty] | 0.23129 | 0.0017315
[12 empty] | 0.2291 | 0.0017254
[12 empty] | 0.22706 | 0.001734
[12 empty] | 0.22531 | 0.0017566
[12 empty] | 0.22396 | 0.0017916
[12 empty] | 0.22312 | 0.0018368
[12 empty] | 0.22283 | 0.001889
[12 empty] | 0.22312 | 0.0019447
[12 empty] | 0.22396 | 0.002
[12 empty] | 0.2253 | 0.0020513
[12 empty] | 0.22706 | 0.0020949
[12 empty] | 0.22909 | 0.002128
[12 empty] | 0.23128 | 0.0021483
[12 empty] | 0.23347 | 0.0021543
[12 empty] | 0.23551 | 0.0021458
[12 empty] | 0.23726 | 0.0021232
[12 empty] | 0.23861 | 0.0020881
[12 empty] | 0.23945 | 0.0020429
[12 empty] | 0.23974 | 0.0019907
[12 empty] | 0.23945 | 0.0019351
[12 empty] | 0.2372 | 0.0021078
[12 empty] | 0.23683 | 0.0020413
[12 empty] | 0.23574 | 0.0019747
[12 empty] | 0.23401 | 0.0019124
[12 empty] | 0.23176 | 0.0018589
[12 empty] | 0.22913 | 0.0018176
[12 empty] | 0.22631 | 0.0017915
[12 empty] | 0.22349 | 0.0017823
[12 empty] | 0.22086 | 0.0017906
[12 empty] | 0.2186 | 0.0018159
[12 empty] | 0.21687 | 0.0018564
[12 empty] | 0.21578 | 0.0019095
[12 empty] | 0.21541 | 0.0019714
[12 empty] | 0.21578 | 0.0020379
[12 empty] | 0.21687 | 0.0021046
[12 empty] | 0.2186 | 0.0021668
[12 empty] | 0.22085 | 0.0022203
[12 empty] | 0.22348 | 0.0022616
[12 empty] | 0.2263 | 0.0022877
[12 empty] | 0.22912 | 0.0022969
[12 empty] | 0.23175 | 0.0022886
[12 empty] | 0.23401 | 0.0022633
[12 empty] | 0.23574 | 0.0022228
[12 empty] | 0.23683 | 0.0021697
[12 empty] | 0.2372 | 0.0021078
[12 empty] | 0.23683 | 0.0020413
[12 empty] | 0.25955 | 0.0023013
[12 empty] | 0.25873 | 0.0021647
[12 empty] | 0.2563 | 0.0020265
[12 empty] | 0.25243 | 0.0018962
[12 empty] | 0.24739 | 0.0017827
[12 empty] | 0.24153 | 0.0016936
[12 empty] | 0.23523 | 0.0016351
[12 empty] | 0.22893 | 0.0016111
[12 empty] | 0.22307 | 0.0016233
[12 empty] | 0.21803 | 0.0016708
[12 empty] | 0.21416 | 0.0017505
[12 empty] | 0.21173 | 0.0018568
[12 empty] | 0.2109 | 0.0019825
[12 empty] | 0.21173 | 0.0021191
[12 empty] | 0.21416 | 0.0022573
[12 empty] | 0.21802 | 0.0023876
[12 empty] | 0.22306 | 0.0025011
[12 empty] | 0.22893 | 0.0025902
[12 empty] | 0.23522 | 0.0026487
[12 empty] | 0.24152 | 0.0026727
[12 empty] | 0.24739 | 0.0026605
[12 empty] | 0.25243 | 0.002613
[12 empty] | 0.25629 | 0.0025334
[12 empty] | 0.25872 | 0.0024271
[12 empty] | 0.25955 | 0.0023013
[12 empty] | 0.25873 | 0.0021647
[12 empty] | 0.15887 | 0.0023168
[12 empty] | 0.15832 | 0.0021987
[12 empty] | 0.1567 | 0.0020806
[12 empty] | 0.15412 | 0.0019707
[12 empty] | 0.15075 | 0.0018763
[12 empty] | 0.14684 | 0.001804
[12 empty] | 0.14263 | 0.0017587
[12 empty] | 0.13843 | 0.0017433
[12 empty] | 0.13451 | 0.0017591
[12 empty] | 0.13115 | 0.0018049
[12 empty] | 0.12857 | 0.0018776
[12 empty] | 0.12695 | 0.0019722
[12 empty] | 0.12639 | 0.0020823
[12 empty] | 0.12694 | 0.0022004
[12 empty] | 0.12857 | 0.0023184
[12 empty] | 0.13115 | 0.0024283
[12 empty] | 0.13451 | 0.0025227
[12 empty] | 0.13842 | 0.002595
[12 empty] | 0.14263 | 0.0026404
[12 empty] | 0.14683 | 0.0026557
[12 empty] | 0.15075 | 0.0026399
[12 empty] | 0.15411 | 0.0025941
[12 empty] | 0.15669 | 0.0025215
[12 empty] | 0.15832 | 0.0024269
[12 empty] | 0.15887 | 0.0023168
[12 empty] | 0.15832 | 0.0021987

## Age Summary
Relative Abundances |  |  | 36Ar [fA] | %1s | 37Ar [fA] | %1s | 38Ar [fA] | %1s | 39Ar [fA] | %1s | 40Ar [fA] | %1s | 40(r)/39(k) | ± 2s | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  | (%) | (%)
21G21832 | 0.6 |  | 0.014124 | 2.6869 | 0.43724 | 14.865 | 0.054193 | 15.6385 | -0.0019426 | 514.7815 | 4.1966 | 1.6158 | -7.9183 | 138.6241 | -23.2705 | 409.991 | 0.41954 | -0.0078033 | -0.0021867 | 0.01968
21G21833 | 0.7 |  | 0.043492 | 1.3484 | 5.3182 | 1.2597 | 0.29141 | 3.0663 | 0.060039 | 16.4134 | 12.1923 | 0.56028 | -6.1758 | 6.9955 | -18.1242 | 20.6317 | -2.8681 | 0.19871 | 0.0045782 | 0.0015977
21G21835 | 0.8 |  | 0.015658 | 2.6207 | 1.5497 | 4.1316 | 0.12904 | 6.7366 | 0.0138 | 70.8828 | 4.5163 | 1.5085 | -2.1405 | 22.1661 | -6.2613 | 64.9514 | -0.60686 | 0.044937 | 0.0035529 | 0.0054364
21G21836 | 1 |  | 0.02802 | 1.7158 | 2.7867 | 2.1531 | 0.29438 | 2.9722 | 0.024314 | 41.1188 | 7.6811 | 0.88843 | -19.7817 | 22.5458 | -58.6979 | 67.9842 | -5.8007 | 0.079046 | 0.0034755 | 0.003089
21G21838 | 1.2 |  | 0.071524 | 0.79982 | 24.9355 | 0.3991 | 0.21039 | 4.2303 | 0.20297 | 5.0054 | 18.8994 | 0.36135 | -2.318 | 1.9977 | -6.7817 | 5.8554 | -2.293 | 0.6561 | 0.0032239 | 0.00035138
21G21839 | 1.4 |  | 0.0021809 | 14.7698 | 1.5593 | 3.9829 | 0.005354 | 160.3594 | 0.014379 | 67.7515 | 0.60991 | 11.162 | 6.3423 | 19.9052 | 18.4278 | 57.5449 | 13.911 | 0.046948 | 0.0036891 | 0.0053813
21G21841 | 1.6 | 4 | 0.032738 | 1.1687 | 21.6191 | 0.4311 | 0.016469 | 52.6313 | 0.15628 | 6.2205 | 8.2175 | 0.82604 | 1.3218 | 1.8823 | 3.8558 | 5.485 | 2.2903 | 0.4997 | 0.002832 | 0.00038752
21G21842 | 2 | 4 | 0.021175 | 1.7647 | 34.8167 | 0.3575 | -0.0015927 | 551.3658 | 0.24497 | 4.1808 | 3.8731 | 1.7458 | 1.6206 | 1.1862 | 4.7264 | 3.4551 | 9.3142 | 0.78122 | 0.0027492 | 0.0002538
21G21844 | 2.8 | 4 | 0.057139 | 0.86844 | 104.3616 | 0.31445 | 0.0068815 | 128.0465 | 0.6977 | 1.3854 | 9.9134 | 0.68511 | 2.023 | 0.53002 | 5.8981 | 1.5428 | 12.8696 | 2.2133 | 0.0025985 | 8.1489e-05
21G21845 | 4 | 4 | 0.22447 | 0.38206 | 421.5857 | 0.30586 | 0.17909 | 5.066 | 2.7894 | 0.34315 | 36.6347 | 0.18699 | 1.4448 | 0.23262 | 4.2143 | 0.67775 | 9.9328 | 8.8389 | 0.0025688 | 2.563e-05
21G21847 | 5.5 | 4 | 0.21049 | 0.37612 | 644.6853 | 0.30586 | 0.092327 | 9.2803 | 4.3223 | 0.23254 | 17.8338 | 0.38045 | 1.7949 | 0.157 | 5.2339 | 0.45717 | 39.3329 | 13.7154 | 0.0026067 | 2.1511e-05
21G21848 | 7 | 4 | 0.19513 | 0.37984 | 620.1628 | 0.3059 | 0.062643 | 13.8777 | 4.2026 | 0.24831 | 14.5362 | 0.4673 | 1.6622 | 0.15299 | 4.8477 | 0.44557 | 43.5008 | 13.3504 | 0.0026376 | 2.2327e-05
21G21850 | 9 | 4 | 0.31747 | 0.31193 | 994.5058 | 0.30588 | 0.10557 | 8.2052 | 6.9847 | 0.1542 | 25.8704 | 0.26405 | 1.7872 | 0.13059 | 5.2116 | 0.38026 | 43.8384 | 22.2702 | 0.0027437 | 1.9929e-05
21G21851 | 11 | 4 | 0.16574 | 0.45278 | 455.1548 | 0.30614 | 0.053293 | 17.995 | 3.2819 | 0.30264 | 17.8944 | 0.38177 | 1.7196 | 0.17939 | 5.0147 | 0.52244 | 28.7273 | 10.4913 | 0.0028242 | 2.6075e-05
21G21853 | 14 | 4 | 0.12154 | 0.55752 | 344.3054 | 0.30684 | 0.049353 | 17.7891 | 2.5617 | 0.3905 | 12.9144 | 0.52579 | 1.8844 | 0.2013 | 5.4947 | 0.58606 | 34.1519 | 8.2139 | 0.002923 | 3.1222e-05
21G21854 | 17 | 4 | 0.14591 | 0.49991 | 279.3899 | 0.30724 | 0.041992 | 21.2715 | 2.2152 | 0.44985 | 25.127 | 0.27194 | 2.0181 | 0.23916 | 5.8839 | 0.69616 | 16.3504 | 7.1443 | 0.0031331 | 3.661e-05
21G21856 | 20 | 4 | 0.040413 | 1.0558 | 125.5123 | 0.31193 | 0.022389 | 39.0271 | 0.96131 | 1.0372 | 3.4951 | 1.9361 | 1.7688 | 0.34004 | 5.1581 | 0.99019 | 44.569 | 3.0907 | 0.0030171 | 7.1065e-05
21G21857 | 24 | 4 | 0.049848 | 0.85343 | 153.0649 | 0.3099 | 0.0065852 | 131.6392 | 1.1088 | 0.88288 | 4.3693 | 1.5471 | 1.8195 | 0.29977 | 5.3057 | 0.87285 | 42.0771 | 3.546 | 0.0028385 | 5.7994e-05
21G21859 | 28 | 4 | 0.037509 | 1.0595 | 113.2811 | 0.312 | 0.022985 | 37.6632 | 0.8372 | 1.2121 | 3.3783 | 2.0062 | 1.728 | 0.37038 | 5.0392 | 1.0786 | 39.1003 | 2.6827 | 0.0029016 | 7.9321e-05
21G21860 | 32 | 4 | 0.01799 | 2.1104 | 54.323 | 0.33136 | -0.0086012 | 103.94 | 0.39802 | 2.4983 | 1.5439 | 4.385 | 1.5326 | 0.73757 | 4.4701 | 2.1486 | 36.046 | 1.2743 | 0.0028743 | 0.00015866
21G21862 | 36 | 4 | 0.014414 | 2.5319 | 39.1885 | 0.34998 | -0.0063924 | 135.5938 | 0.27297 | 3.7689 | 1.7374 | 3.8934 | 2.407 | 1.059 | 7.0155 | 3.0806 | 34.3284 | 0.86962 | 0.0027189 | 0.00022664
|  | S | 1.827 | 0.1458 | 4442.5437 | 0.10775 | 1.6278 | 2.4752 | 31.3486 | 0.14626 | 235.4346 | 0.13234
Information on Analysis and Constants Used in Calculations | [8 empty] | Results |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  |  | (%,n)
Project = O-CONNOR (20-06) |  |  |  | Age Equations = Min et al. (2000) |  |  |  |  | Age Plateau |  |  |  | 1.7627 | 0.071259 | 5.1401 | 0.2079 | 1.3608 | 98.9821 | 0.0027978 | 8.3064e-05
Sample = SO80 67DS-1 |  |  |  | Negative Intensities = Allowed | [9 empty] | 4.043% |  | 4.045% | 16.3% | 15
Material = Plagioclase |  |  |  | Collector Calibrations = 36Ar |  |  |  |  | Full External Error | [6 empty] | 0.33841 | 1.7559 | 2σ Confidence Limit
Location = Crough Smt, 5th VER |  |  |  | Decay 40K = 5.463 ± 0.107 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.20751 | 1.1665 | Error Magnification
Region = Easter Chain (Pacific) |  |  |  | Decay 39Ar = 2.940 ± 0.016 E-07 1/h
Analyst = Daniel Heaton |  |  |  | Decay 37Ar = 8.230 ± 0.012 E-04 1/h |  |  |  |  | Total Fusion Age |  |  |  | 1.7028 | 0.067845 | 4.9656 | 0.19797 |  | 21 | 0.002758 | 1.0847e-05
Irradiation = 21-OSU-04 (4B22-21) |  |  |  | Decay 36Cl = 2.257 ± 0.015 E-06 1/a | [9 empty] | 3.984% |  | 3.987%
Position = X: 0 ¦ Y: 0 ¦ Z/H: 40.59773 mm |  |  |  | Decay 40K(EC,β⁺) = 0.580 ± 0.014 E-10 1/a |  |  |  |  | Full External Error | [6 empty] | 0.32517
FCT-NM Age = 28.201 ± 0.023 Ma |  |  |  | Decay 40K(β⁻) = 4.884 ± 0.099 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.19759
FCT-NM Reference = Kuiper et al (2008) |  |  |  | Atmospheric 40/36(a) = 298.56 ± 0.31
FCT-NM 40Ar/39Ar Ratio = 9.73198 ± 0.01216 |  |  |  | Atmospheric 38/36(a) = 0.1885 ± 0.0003 |  |  |  |  | Normal Isochron |  | 296.9248 | 5.6828 | 1.7782 | 0.10842 | 5.1855 | 0.31598 | 1.4362 | 98.9821
FCT-NM J-value = 0.00159531 ± 0.00000199 |  |  |  | Production 39/37(ca) = 0.0006425 ± 0.0000059 | [7 empty] | 1.914% |  | 6.097% |  | 6.094% | 13.37% | 15
Air Shot 40Ar/36Ar = 303.9310 ± 0.3130 |  |  |  | Production 38/37(ca) = 0.0001800 ± 0.0000173 |  |  |  |  | Full External Error | [6 empty] | 0.41521 | 1.7845 | 2σ Confidence Limit
Air Shot MDF = 0.99557635 ± 0.00035993 (LIN) |  |  |  | Production 36/37(ca) = 0.0002703 ± 0.0000005 |  |  |  |  | Analytical Error | [6 empty] | 0.31572 | 1.1984 | Error Magnification
Experiment Type = Incremental Heating |  |  |  | Production 40/39(k) = 0.000607 ± 0.000059 | [11 empty] | 12 |  | Number of Iterations
Extraction Method = Bulk Laser Heating |  |  |  | Production 38/39(k) = 0.012077 ± 0.000011 | [11 empty] | 8.4933e-06 |  | Convergence
Heating = 32 sec |  |  |  | Production 36/38(cl) = 262.80 ± 1.71
Isolation = 2.00 min |  |  |  | Scaling Ratio K/Ca = 0.430 |  |  |  |  | Inverse Isochron |  | 297.2435 | 5.7597 | 1.782 | 0.10906 | 5.1966 | 0.31783 | 1.4606 | 98.9821
Instrument = ARGUS-VI-G |  |  |  | Abundance Ratio 40K/K = 1.1700 ± 0.0100 E-04 | [7 empty] | 1.938% |  | 6.12% |  | 6.116% | 12.35% | 15
Preferred Age = Plateau Age |  |  |  | Atomic Weight K = 39.0983 ± 0.0001 g |  |  |  |  | Full External Error | [6 empty] | 0.417 | 1.7845 | 2σ Confidence Limit
Age Classification = Unknown | [8 empty] | Analytical Error | [6 empty] | 0.31757 | 1.2086 | Error Magnification
IGSN = 10.114 | [15 empty] | 3 |  | Number of Iterations
Rock Class = Undefined | [15 empty] | 8.3056e-05 |  | Convergence
Lithology = Undefined | [15 empty] | 43.56% |  | Spreading Factor
Lat-Lon = Undefined - Undefined

## Incremental Heating Table
Incremental Heating |  |  | 36Ar(a) [fA] | 37Ar(ca) [fA] | 38Ar(cl) [fA] | 39Ar(k) [fA] | 40Ar(r) [fA] | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  | (%) | (%)
21G21832 | 0.6 |  | 0.013997 | 0.43724 | 0.051503 | -0.0022235 | 0.017606 | -23.2705 | 409.991 | 0.41954 | -0.0078033 | -0.0021867 | 0.01968
21G21833 | 0.7 |  | 0.042008 | 5.3182 | 0.28185 | 0.056622 | -0.34969 | -18.1242 | 20.6317 | -2.8681 | 0.19871 | 0.0045782 | 0.0015977
21G21835 | 0.8 |  | 0.015219 | 1.5497 | 0.12574 | 0.012804 | -0.027407 | -6.2613 | 64.9514 | -0.60686 | 0.044937 | 0.0035529 | 0.0054364
21G21836 | 1 |  | 0.027219 | 2.7867 | 0.28847 | 0.022524 | -0.44556 | -58.6979 | 67.9842 | -5.8007 | 0.079046 | 0.0034755 | 0.003089
21G21838 | 1.2 |  | 0.064753 | 24.9355 | 0.19144 | 0.18695 | -0.43336 | -6.7817 | 5.8554 | -2.293 | 0.6561 | 0.0032239 | 0.00035138
21G21839 | 1.4 |  | 0.0017586 | 1.5593 | 0.0045802 | 0.013377 | 0.084844 | 18.4278 | 57.5449 | 13.911 | 0.046948 | 0.0036891 | 0.0053813
21G21841 | 1.6 | 4 | 0.026893 | 21.6191 | 0.0057891 | 0.14239 | 0.1882 | 3.8558 | 5.485 | 2.2903 | 0.4997 | 0.002832 | 0.00038752
21G21842 | 2 | 4 | 0.011764 | 34.8167 | 0 | 0.2226 | 0.36075 | 4.7264 | 3.4551 | 9.3142 | 0.78122 | 0.0027492 | 0.0002538
21G21844 | 2.8 | 4 | 0.02893 | 104.3616 | 0 | 0.63065 | 1.2758 | 5.8981 | 1.5428 | 12.8696 | 2.2133 | 0.0025985 | 8.1489e-05
21G21845 | 4 | 4 | 0.11051 | 421.5857 | 0.051961 | 2.5186 | 3.6389 | 4.2143 | 0.67775 | 9.9328 | 8.8389 | 0.0025688 | 2.563e-05
21G21847 | 5.5 | 4 | 0.03623 | 644.6853 | 0 | 3.9081 | 7.0145 | 5.2339 | 0.45717 | 39.3329 | 13.7154 | 0.0026067 | 2.1511e-05
21G21848 | 7 | 4 | 0.0275 | 620.1628 | 0 | 3.8041 | 6.3234 | 4.8477 | 0.44557 | 43.5008 | 13.3504 | 0.0026376 | 2.2327e-05
21G21850 | 9 | 4 | 0.048652 | 994.5058 | 0 | 6.3457 | 11.3412 | 5.2116 | 0.38026 | 43.8384 | 22.2702 | 0.0027437 | 1.9929e-05
21G21851 | 11 | 4 | 0.042712 | 455.1548 | 0 | 2.9894 | 5.1406 | 5.0147 | 0.52244 | 28.7273 | 10.4913 | 0.0028242 | 2.6075e-05
21G21853 | 14 | 4 | 0.028478 | 344.3054 | 0 | 2.3405 | 4.4105 | 5.4947 | 0.58606 | 34.1519 | 8.2139 | 0.002923 | 3.1222e-05
21G21854 | 17 | 4 | 0.070396 | 279.3899 | 0 | 2.0357 | 4.1084 | 5.8839 | 0.69616 | 16.3504 | 7.1443 | 0.0031331 | 3.661e-05
21G21856 | 20 | 4 | 0.0064873 | 125.5123 | 0 | 0.88067 | 1.5577 | 5.1581 | 0.99019 | 44.569 | 3.0907 | 0.0030171 | 7.1065e-05
21G21857 | 24 | 4 | 0.0084748 | 153.0649 | 0 | 1.0104 | 1.8385 | 5.3057 | 0.87285 | 42.0771 | 3.546 | 0.0028385 | 5.7994e-05
21G21859 | 28 | 4 | 0.0068894 | 113.2811 | 0 | 0.76442 | 1.3209 | 5.0392 | 1.0786 | 39.1003 | 2.6827 | 0.0029016 | 7.9321e-05
21G21860 | 32 | 4 | 0.0033064 | 54.323 | 0 | 0.36312 | 0.55652 | 4.4701 | 2.1486 | 36.046 | 1.2743 | 0.0028743 | 0.00015866
21G21862 | 36 | 4 | 0.0038212 | 39.1885 | 0 | 0.24779 | 0.59643 | 7.0155 | 3.0806 | 34.3284 | 0.86962 | 0.0027189 | 0.00022664
|  | S | 0.626 | 4442.5437 | 1.0013 | 28.4943 | 48.5187
Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  |  | (%,n)
Project = O-CONNOR (20-06) |  |  |  | Age Plateau |  | 1.7627 | 0.071259 | 5.1401 | 0.2079 | 1.3608 | 98.9821 | 0.0027978 | 8.3064e-05
Sample = SO80 67DS-1 | [6 empty] | 4.043% |  | 4.045% | 16.3% | 15
Material = Plagioclase |  |  |  | Full External Error |  |  |  |  | 0.33841 | 1.7559 | 2σ Confidence Limit
Location = Crough Smt, 5th VER |  |  |  | Analytical Error |  |  |  |  | 0.20751 | 1.1665 | Error Magnification
Region = Easter Chain (Pacific)
Analyst = Daniel Heaton |  |  |  | Total Fusion Age |  | 1.7028 | 0.067845 | 4.9656 | 0.19797 |  | 21 | 0.002758 | 1.0847e-05
Irradiation = 21-OSU-04 (4B22-21) | [6 empty] | 3.984% |  | 3.987%
J = 0.00159531 ± 0.00000199 |  |  |  | Full External Error |  |  |  |  | 0.32517
FCT-NM = 28.201 ± 0.023 Ma |  |  |  | Analytical Error |  |  |  |  | 0.19759

## Normal Isochron Table
Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i.
21G21832 | 0.6 |  | -0.15885 | 1.4289 | 299.8179 | 18.9404 |  |  | 0.0051852
21G21833 | 0.7 |  | 1.3479 | 0.47069 | 290.2356 | 8.7352 |  |  | 0.074241
21G21835 | 0.8 |  | 0.84137 | 1.2863 | 296.7591 | 18.3503 |  |  | 0.030817
21G21836 | 1 |  | 0.82749 | 0.73519 | 282.1909 | 11.1636 |  |  | 0.035544
21G21838 | 1.2 |  | 2.8871 | 0.31796 | 291.8676 | 5.578 |  |  | 0.14872
21G21839 | 1.4 |  | 7.6068 | 11.4254 | 346.8044 | 148.9209 |  |  | 0.20862
21G21841 | 1.6 | 4 | 5.2946 | 0.73864 | 305.5582 | 10.0726 |  |  | 0.17694
21G21842 | 2 | 4 | 18.9226 | 2.1196 | 329.2259 | 23.9576 |  |  | 0.50006
21G21844 | 2.8 | 4 | 21.7995 | 1.0153 | 342.6607 | 12.8814 |  |  | 0.69988
21G21845 | 4 | 4 | 22.7901 | 0.42947 | 331.4875 | 5.8079 |  |  | 0.88739
21G21847 | 5.5 | 4 | 107.8689 | 5.9804 | 492.1705 | 27.4072 |  |  | 0.98566
21G21848 | 7 | 4 | 138.3288 | 9.5437 | 528.4966 | 36.6656 |  |  | 0.98731
21G21850 | 9 | 4 | 130.4324 | 7.3414 | 531.6703 | 29.9843 |  |  | 0.99319
21G21851 | 11 | 4 | 69.991 | 2.8769 | 418.9154 | 17.2727 |  |  | 0.96871
21G21853 | 14 | 4 | 82.1856 | 4.4004 | 453.4328 | 24.4223 |  |  | 0.96759
21G21854 | 17 | 4 | 28.9182 | 0.69944 | 356.921 | 8.1063 |  |  | 0.88515
21G21856 | 20 | 4 | 135.7525 | 18.8106 | 538.6821 | 76.5315 |  |  | 0.94912
21G21857 | 24 | 4 | 119.2264 | 12.8685 | 515.4962 | 57.0044 |  |  | 0.9443
21G21859 | 28 | 4 | 110.9554 | 13.5962 | 490.2917 | 61.8574 |  |  | 0.92543
21G21860 | 32 | 4 | 109.8209 | 26.182 | 466.8732 | 115.8069 |  |  | 0.91035
21G21862 | 36 | 4 | 64.8468 | 13.5791 | 454.6466 | 94.2938 |  |  | 0.8508
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Normal Isochron |  |  | 296.9248 | 5.6828 | 1.7782 | 0.10842 | 5.1855 | 0.31598 | 1.4362
|  |  |  | 1.914% |  | 6.097% |  | 6.094% | 13.37%
Full External Error | [7 empty] | 0.41521
Analytical Error | [7 empty] | 0.31572
Statistics |  |  | 2σ Confidence Limit | 1.7845 |  | Convergence | 8.4933e-06
|  |  | Error Magnification | 1.1984 |  | Number of Iterations | 12
|  |  | Number of Data Points | 15 |  | Calculated Line | Weighted York-2

## Inverse Isochron Table
Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i.
21G21832 | 0.6 |  | -0.00052983 | 0.0047658 | 0.0033354 | 0.0002107 |  |  | 0.0018378
21G21833 | 0.7 |  | 0.0046441 | 0.0016174 | 0.0034455 | 0.0001037 |  |  | 0.01198
21G21835 | 0.8 |  | 0.0028352 | 0.0043327 | 0.0033697 | 0.00020837 |  |  | 0.0096329
21G21836 | 1 |  | 0.0029324 | 0.0026038 | 0.0035437 | 0.00014019 |  |  | 0.008988
21G21838 | 1.2 |  | 0.0098919 | 0.0010776 | 0.0034262 | 6.548e-05 |  |  | 0.025086
21G21839 | 1.4 |  | 0.021934 | 0.03232 | 0.0028835 | 0.0012382 |  |  | 0.078764
21G21841 | 1.6 | 4 | 0.017328 | 0.0023835 | 0.0032727 | 0.00010788 |  |  | 0.060193
21G21842 | 2 | 4 | 0.057476 | 0.005658 | 0.0030374 | 0.00022103 |  |  | 0.17021
21G21844 | 2.8 | 4 | 0.063618 | 0.0021402 | 0.0029183 | 0.00010971 |  |  | 0.14847
21G21845 | 4 | 4 | 0.068751 | 0.00059981 | 0.0030167 | 5.2855e-05 |  |  | 0.09151
21G21847 | 5.5 | 4 | 0.21917 | 0.0020629 | 0.0020318 | 0.00011314 |  |  | 0.11049
21G21848 | 7 | 4 | 0.26174 | 0.0028863 | 0.0018922 | 0.00013127 |  |  | 0.11421
21G21850 | 9 | 4 | 0.24533 | 0.0016131 | 0.0018809 | 0.00010607 |  |  | 0.075235
21G21851 | 11 | 4 | 0.16708 | 0.0017207 | 0.0023871 | 9.8425e-05 |  |  | 0.13732
21G21853 | 14 | 4 | 0.18125 | 0.0024789 | 0.0022054 | 0.00011878 |  |  | 0.15015
21G21854 | 17 | 4 | 0.081021 | 0.00091794 | 0.0028017 | 6.3632e-05 |  |  | 0.11497
21G21856 | 20 | 4 | 0.25201 | 0.011314 | 0.0018564 | 0.00026374 |  |  | 0.23514
21G21857 | 24 | 4 | 0.23128 | 0.0084559 | 0.0019399 | 0.00021451 |  |  | 0.23688
21G21859 | 28 | 4 | 0.2263 | 0.010897 | 0.0020396 | 0.00025733 |  |  | 0.26508
21G21860 | 32 | 4 | 0.23523 | 0.024328 | 0.0021419 | 0.0005313 |  |  | 0.29989
21G21862 | 36 | 4 | 0.14263 | 0.01624 | 0.0021995 | 0.00045618 |  |  | 0.25681
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Inverse Isochron |  |  | 297.2435 | 5.7597 | 1.782 | 0.10906 | 5.1966 | 0.31783 | 1.4606
|  |  |  | 1.938% |  | 6.12% |  | 6.116% | 12.35%
Full External Error | [7 empty] | 0.417
Analytical Error | [7 empty] | 0.31757
Statistics |  |  | 2σ Confidence Limit | 1.7845 |  | Convergence | 8.3056e-05
|  |  | Error Magnification | 1.2086 |  | Number of Iterations | 3
|  |  | Number of Data Points | 15 |  | Calculated Line | Weighted York-2
|  |  | Spreading Factor | 43.56%

## Degassing Patterns
Degassing Patterns |  |  | 36Ar(a) [fA] | %1s | 36Ar(c) [fA] | %1s | 36Ar(ca) [fA] | %1s | 36Ar(cl) [fA] | %1s | 37Ar(ca) [fA] | %1s | 38Ar(a) [fA] | %1s | 38Ar(c) [fA] | %1s | 38Ar(k) [fA] | %1s | 38Ar(ca) [fA] | %1s | 38Ar(cl) [fA] | %1s | 39Ar(k) [fA] | %1s | 39Ar(ca) [fA] | %1s | 40Ar(r) [fA] | %1s | 40Ar(a) [fA] | %1s | 40Ar(c) [fA] | %1s | 40Ar(k) [fA] | %1s
21G21832 | 0.6 |  | 0.013997 | 2.7141 | 0 | 0 | 0.00011819 | 14.866 | 8.4174e-06 | 16.4855 | 0.43724 | 14.865 | 0.0026385 | 2.7187 | 0 | 0 | -2.6853e-05 | 449.7459 | 7.8703e-05 | 17.7118 | 0.051503 | 16.5111 | -0.0022235 | 449.7459 | 0.00028093 | 14.8935 | 0.017606 | 750.959 | 4.179 | 2.7161 | 0 | 0 | -1.3497e-06 | 449.8494
21G21833 | 0.7 |  | 0.042008 | 1.3967 | 0 | 0 | 0.0014375 | 1.2712 | 4.6068e-05 | 3.3095 | 5.3182 | 1.2597 | 0.0079185 | 1.4057 | 0 | 0 | 0.00068383 | 17.4044 | 0.00095728 | 9.712 | 0.28185 | 3.4348 | 0.056622 | 17.4041 | 0.0034169 | 1.5599 | -0.34969 | 53.8959 | 12.5419 | 1.4005 | 0 | 0 | 3.437e-05 | 19.9004
21G21835 | 0.8 |  | 0.015219 | 2.6988 | 0 | 0 | 0.00041888 | 4.1351 | 2.0554e-05 | 6.9793 | 1.5497 | 4.1316 | 0.0028687 | 2.7035 | 0 | 0 | 0.00015464 | 76.3954 | 0.00027894 | 10.4789 | 0.12574 | 7.0396 | 0.012804 | 76.3953 | 0.00099568 | 4.2328 | -0.027407 | 512.1224 | 4.5437 | 2.7008 | 0 | 0 | 7.7723e-06 | 77.0024
21G21836 | 1 |  | 0.027219 | 1.7673 | 0 | 0 | 0.00075326 | 2.1598 | 4.7159e-05 | 3.1779 | 2.7867 | 2.1531 | 0.0051308 | 1.7744 | 0 | 0 | 0.00027202 | 44.3879 | 0.00050161 | 9.8678 | 0.28847 | 3.3082 | 0.022524 | 44.3878 | 0.0017905 | 2.3414 | -0.44556 | 35.7379 | 8.1266 | 1.7703 | 0 | 0 | 1.3672e-05 | 45.4247
21G21838 | 1.2 |  | 0.064753 | 0.88462 | 0 | 0 | 0.0067401 | 0.43379 | 3.13e-05 | 4.7513 | 24.9355 | 0.3991 | 0.012206 | 0.89879 | 0 | 0 | 0.0022578 | 5.4358 | 0.0044884 | 9.6383 | 0.19144 | 4.8394 | 0.18695 | 5.435 | 0.016021 | 1.0028 | -0.43336 | 42.7468 | 19.3327 | 0.89071 | 0 | 0 | 0.00011348 | 11.0753
21G21839 | 1.4 |  | 0.0017586 | 18.3408 | 0 | 0 | 0.00042147 | 3.9865 | 7.489e-07 | 187.4803 | 1.5593 | 3.9829 | 0.0003315 | 18.3415 | 0 | 0 | 0.00016156 | 72.8261 | 0.00028067 | 10.4211 | 0.0045802 | 187.4825 | 0.013377 | 72.826 | 0.0010018 | 4.0878 | 0.084844 | 139.0015 | 0.52506 | 18.3411 | 0 | 0 | 8.1201e-06 | 73.4626
21G21841 | 1.6 | 4 | 0.026893 | 1.4263 | 0 | 0 | 0.0058436 | 0.46341 | 9.4668e-07 | 149.8992 | 21.6191 | 0.4311 | 0.0050693 | 1.4351 | 0 | 0 | 0.0017196 | 6.8287 | 0.0038914 | 9.6396 | 0.0057891 | 149.902 | 0.14239 | 6.8281 | 0.01389 | 1.016 | 0.1882 | 70.8742 | 8.0292 | 1.4301 | 0 | 0 | 8.6429e-05 | 11.8214
21G21842 | 2 | 4 | 0.011764 | 3.1922 | 0 | 0 | 0.0094109 | 0.39586 | 0 | 0 | 34.8167 | 0.3575 | 0.0022175 | 3.1962 | 0 | 0 | 0.0026884 | 4.6029 | 0.006267 | 9.6366 | 0 | 0 | 0.2226 | 4.602 | 0.02237 | 0.98702 | 0.36075 | 36.308 | 3.5122 | 3.1939 | 0 | 0 | 0.00013512 | 10.6912
21G21844 | 2.8 | 4 | 0.02893 | 1.7503 | 0 | 0 | 0.028209 | 0.35746 | 0 | 0 | 104.3616 | 0.31445 | 0.0054532 | 1.7575 | 0 | 0 | 0.0076164 | 1.5388 | 0.018785 | 9.6351 | 0 | 0 | 0.63065 | 1.5362 | 0.067052 | 0.97225 | 1.2758 | 13.0094 | 8.6372 | 1.7534 | 0 | 0 | 0.00038281 | 9.7715
21G21845 | 4 | 4 | 0.11051 | 0.85584 | 0 | 0 | 0.11395 | 0.34993 | 8.4992e-06 | 22.4579 | 421.5857 | 0.30586 | 0.020831 | 0.87049 | 0 | 0 | 0.030417 | 0.40425 | 0.075885 | 9.6349 | 0.051961 | 22.4767 | 2.5186 | 0.3941 | 0.27087 | 0.96951 | 3.6389 | 8.0407 | 32.9943 | 0.86214 | 0 | 0 | 0.0015288 | 9.658
21G21847 | 5.5 | 4 | 0.03623 | 2.7582 | 0 | 0 | 0.17426 | 0.34993 | 0 | 0 | 644.6853 | 0.30586 | 0.0068294 | 2.7628 | 0 | 0 | 0.047198 | 0.29121 | 0.11604 | 9.6349 | 0 | 0 | 3.9081 | 0.27695 | 0.41421 | 0.96951 | 7.0145 | 4.3649 | 10.8169 | 2.7602 | 0 | 0 | 0.0023722 | 9.654
21G21848 | 7 | 4 | 0.0275 | 3.4372 | 0 | 0 | 0.16763 | 0.34996 | 0 | 0 | 620.1628 | 0.3059 | 0.0051838 | 3.4409 | 0 | 0 | 0.045942 | 0.30604 | 0.11163 | 9.6349 | 0 | 0 | 3.8041 | 0.29251 | 0.39845 | 0.96952 | 6.3234 | 4.5925 | 8.2105 | 3.4388 | 0 | 0 | 0.0023091 | 9.6544
21G21850 | 9 | 4 | 0.048652 | 2.8074 | 0 | 0 | 0.26881 | 0.34995 | 0 | 0 | 994.5058 | 0.30588 | 0.0091708 | 2.8119 | 0 | 0 | 0.076637 | 0.21549 | 0.17901 | 9.6349 | 0 | 0 | 6.3457 | 0.1958 | 0.63897 | 0.96952 | 11.3412 | 3.6482 | 14.5254 | 2.8093 | 0 | 0 | 0.0038519 | 9.652
21G21851 | 11 | 4 | 0.042712 | 2.0259 | 0 | 0 | 0.12303 | 0.35017 | 0 | 0 | 455.1548 | 0.30614 | 0.0080511 | 2.0322 | 0 | 0 | 0.036103 | 0.35705 | 0.081928 | 9.6349 | 0 | 0 | 2.9894 | 0.34552 | 0.29244 | 0.9696 | 5.1406 | 5.2048 | 12.752 | 2.0286 | 0 | 0 | 0.0018146 | 9.6562
21G21853 | 14 | 4 | 0.028478 | 2.6412 | 0 | 0 | 0.093066 | 0.35079 | 0 | 0 | 344.3054 | 0.30684 | 0.0053682 | 2.646 | 0 | 0 | 0.028266 | 0.4463 | 0.061975 | 9.6349 | 0 | 0 | 2.3405 | 0.43713 | 0.22122 | 0.96982 | 4.4105 | 5.3231 | 8.5025 | 2.6433 | 0 | 0 | 0.0014207 | 9.6599
21G21854 | 17 | 4 | 0.070396 | 1.1025 | 0 | 0 | 0.075519 | 0.35114 | 0 | 0 | 279.3899 | 0.30724 | 0.01327 | 1.1139 | 0 | 0 | 0.024585 | 0.50501 | 0.05029 | 9.6349 | 0 | 0 | 2.0357 | 0.49693 | 0.17951 | 0.96995 | 4.1084 | 5.9044 | 21.0174 | 1.1074 | 0 | 0 | 0.0012357 | 9.6628
21G21856 | 20 | 4 | 0.0064873 | 6.8346 | 0 | 0 | 0.033926 | 0.35525 | 0 | 0 | 125.5123 | 0.31193 | 0.0012229 | 6.8364 | 0 | 0 | 0.010636 | 1.1392 | 0.022592 | 9.6351 | 0 | 0 | 0.88067 | 1.1356 | 0.080642 | 0.97144 | 1.5577 | 9.5447 | 1.9369 | 6.8354 | 0 | 0 | 0.00053457 | 9.7166
21G21857 | 24 | 4 | 0.0084748 | 5.3082 | 0 | 0 | 0.041373 | 0.35346 | 0 | 0 | 153.0649 | 0.3099 | 0.0015975 | 5.3105 | 0 | 0 | 0.012203 | 0.97756 | 0.027552 | 9.635 | 0 | 0 | 1.0104 | 0.9734 | 0.098344 | 0.97079 | 1.8385 | 8.1797 | 2.5302 | 5.3092 | 0 | 0 | 0.00061332 | 9.699
21G21859 | 28 | 4 | 0.0068894 | 5.9806 | 0 | 0 | 0.03062 | 0.35531 | 0 | 0 | 113.2811 | 0.312 | 0.0012987 | 5.9827 | 0 | 0 | 0.0092319 | 1.3338 | 0.020391 | 9.6351 | 0 | 0 | 0.76442 | 1.3307 | 0.072783 | 0.97146 | 1.3209 | 10.634 | 2.0569 | 5.9815 | 0 | 0 | 0.000464 | 9.7413
21G21860 | 32 | 4 | 0.0033064 | 11.6011 | 0 | 0 | 0.014684 | 0.37243 | 0 | 0 | 54.323 | 0.33136 | 0.00062326 | 11.6022 | 0 | 0 | 0.0043854 | 2.7415 | 0.0097781 | 9.6357 | 0 | 0 | 0.36312 | 2.74 | 0.034903 | 0.97786 | 0.55652 | 23.9059 | 0.98717 | 11.6016 | 0 | 0 | 0.00022041 | 10.0315
21G21862 | 36 | 4 | 0.0038212 | 9.6112 | 0 | 0 | 0.010593 | 0.38908 | 0 | 0 | 39.1885 | 0.34998 | 0.00072029 | 9.6126 | 0 | 0 | 0.0029926 | 4.1541 | 0.0070539 | 9.6364 | 0 | 0 | 0.24779 | 4.1531 | 0.025179 | 0.98432 | 0.59643 | 21.6021 | 1.1408 | 9.6118 | 0 | 0 | 0.00015041 | 10.5057
|  | S | 0.626 | 0.48677 | 0 | 0 | 1.2008 | 0.12322 | 0.00016369 | 2.62 | 4442.5437 | 0.10775 | 0.118 | 0.48897 | 0 | 0 | 0.34413 | 0.16744 | 0.79966 | 3.3881 | 1.0013 | 2.6549 | 28.4943 | 0.16449 | 2.8543 | 0.34099 | 48.5187 | 1.9854 | 186.8986 | 0.48771 | 0 | 0 | 0.017296 | 3.3566
|  | S | [6 empty] | 1.827 | 0.18541 | 4442.5437 | 0.10775 | [8 empty] | 2.2631 | 1.6776 |  |  | 31.3486 | 0.15271 | [6 empty] | 235.4346 | 0.5633

## Additional Parameters
Additional Parameters |  |  | 40Ar/39Ar | 1s | 37Ar/39Ar | 1s | 36Ar/39Ar | 1s | Time (days) | 37Ar (decay) | 39Ar (decay) | 40Ar (moles)
21G21832 | 0.6 |  | -2160.3358 | 11121.0636 | -225.0821 | 1159.164 | -7.2707 | 37.4286 | 100.6396 | 7.3177 | 1.0007 | 1.792e-13
21G21833 | 0.7 |  | 203.0716 | 33.3503 | 88.5787 | 14.5815 | 0.72439 | 0.1193 | 100.6465 | 7.3187 | 1.0007 | 5.2061e-13
21G21835 | 0.8 |  | 327.263 | 232.0256 | 112.2955 | 79.7333 | 1.1346 | 0.80481 | 100.659 | 7.3205 | 1.0007 | 1.9284e-13
21G21836 | 1 |  | 315.9092 | 129.9283 | 114.6139 | 47.1924 | 1.1524 | 0.47427 | 100.6653 | 7.3215 | 1.0007 | 3.2798e-13
21G21838 | 1.2 |  | 93.1137 | 4.6728 | 122.8524 | 6.1688 | 0.35239 | 0.017862 | 100.6778 | 7.3233 | 1.0007 | 8.0701e-13
21G21839 | 1.4 |  | 42.4157 | 29.1247 | 108.4389 | 73.5958 | 0.15167 | 0.10517 | 100.684 | 7.3242 | 1.0007 | 2.6043e-14
21G21841 | 1.6 | 4 | 52.5825 | 3.2996 | 138.3382 | 8.626 | 0.20948 | 0.013259 | 100.6972 | 7.3261 | 1.0007 | 3.5089e-13
21G21842 | 2 | 4 | 15.8104 | 0.71632 | 142.1241 | 5.9636 | 0.086437 | 0.0039225 | 100.7035 | 7.327 | 1.0007 | 1.6538e-13
21G21844 | 2.8 | 4 | 14.2087 | 0.2196 | 149.5789 | 2.1249 | 0.081895 | 0.001339 | 100.716 | 7.3288 | 1.0007 | 4.233e-13
21G21845 | 4 | 4 | 13.1334 | 0.051325 | 151.1365 | 0.69474 | 0.080473 | 0.00041326 | 100.7222 | 7.3297 | 1.0007 | 1.5643e-12
21G21847 | 5.5 | 4 | 4.126 | 0.018397 | 149.1529 | 0.57307 | 0.048698 | 0.00021534 | 100.7347 | 7.3315 | 1.0007 | 7.615e-13
21G21848 | 7 | 4 | 3.4589 | 0.018303 | 147.5679 | 0.5814 | 0.046431 | 0.00021071 | 100.741 | 7.3324 | 1.0007 | 6.207e-13
21G21850 | 9 | 4 | 3.7039 | 0.011326 | 142.3833 | 0.48773 | 0.045452 | 0.00015815 | 100.7542 | 7.3343 | 1.0007 | 1.1047e-12
21G21851 | 11 | 4 | 5.4525 | 0.026563 | 138.6876 | 0.59702 | 0.050502 | 0.00027504 | 100.7604 | 7.3352 | 1.0007 | 7.6409e-13
21G21853 | 14 | 4 | 5.0413 | 0.033018 | 134.4041 | 0.6675 | 0.047446 | 0.00032296 | 100.7729 | 7.337 | 1.0007 | 5.5144e-13
21G21854 | 17 | 4 | 11.3429 | 0.059624 | 126.1224 | 0.68706 | 0.065869 | 0.00044297 | 100.7792 | 7.3379 | 1.0007 | 1.0729e-12
21G21856 | 20 | 4 | 3.6358 | 0.079856 | 130.5638 | 1.4141 | 0.04204 | 0.00062219 | 100.7924 | 7.3399 | 1.0007 | 1.4924e-13
21G21857 | 24 | 4 | 3.9407 | 0.070196 | 138.0506 | 1.2917 | 0.044959 | 0.00055206 | 100.7986 | 7.3408 | 1.0007 | 1.8657e-13
21G21859 | 28 | 4 | 4.0352 | 0.094584 | 135.3089 | 1.6936 | 0.044803 | 0.00072128 | 100.8111 | 7.3426 | 1.0007 | 1.4425e-13
21G21860 | 32 | 4 | 3.879 | 0.19576 | 136.4835 | 3.4396 | 0.045199 | 0.0014782 | 100.8174 | 7.3435 | 1.0007 | 6.5925e-14
21G21862 | 36 | 4 | 6.3649 | 0.3449 | 143.5637 | 5.4341 | 0.052804 | 0.0023975 | 100.8299 | 7.3453 | 1.0007 | 7.4188e-14

## Procedure Blanks
Procedure Blanks |  | 36Ar ± 1σ (SE) [fA] |  | 37Ar ± 1σ (SE) [fA] |  | 38Ar ± 1σ (SE) [fA] |  | 39Ar ± 1σ (SE) [fA] |  | 40Ar ± 1σ (SE) [fA]
21G21832 | 0.6 | 0.0070971 | 0.00024433 | -0.0034088 | 0.0060577 | -0.010883 | 0.0061388 | 0.018151 | 0.0075559 | 1.7911 | 0.066111
21G21833 | 0.7 | 0.0071267 | 0.00024433 | -0.0029758 | 0.0060577 | -0.010829 | 0.0061388 | 0.018326 | 0.0075559 | 1.7928 | 0.066111
21G21835 | 0.8 | 0.0071766 | 0.00024433 | -0.0034564 | 0.0060577 | -0.010668 | 0.0061388 | 0.018647 | 0.0075559 | 1.7956 | 0.066111
21G21836 | 1 | 0.0071999 | 0.00024433 | -0.004077 | 0.0060577 | -0.010557 | 0.0061388 | 0.01881 | 0.0075559 | 1.797 | 0.066111
21G21838 | 1.2 | 0.0072433 | 0.00024433 | -0.0056042 | 0.0060577 | -0.010273 | 0.0061388 | 0.01914 | 0.0075559 | 1.7996 | 0.066111
21G21839 | 1.4 | 0.0072634 | 0.00024433 | -0.0063517 | 0.0060577 | -0.0101 | 0.0061388 | 0.019307 | 0.0075559 | 1.8008 | 0.066111
21G21841 | 1.6 | 0.0073023 | 0.00024433 | -0.007537 | 0.0060577 | -0.0096692 | 0.0061388 | 0.019666 | 0.0075559 | 1.8033 | 0.066111
21G21842 | 2 | 0.007319 | 0.00024433 | -0.0078094 | 0.0060577 | -0.0094331 | 0.0061388 | 0.019838 | 0.0075559 | 1.8044 | 0.066111
21G21844 | 2.8 | 0.0073493 | 0.00024433 | -0.0076305 | 0.0060577 | -0.0088998 | 0.0061388 | 0.020188 | 0.0075559 | 1.8064 | 0.066111
21G21845 | 4 | 0.0073628 | 0.00024433 | -0.0071451 | 0.0060577 | -0.0086025 | 0.0061388 | 0.020366 | 0.0075559 | 1.8074 | 0.066111
21G21847 | 5.5 | 0.0073866 | 0.00024433 | -0.0053743 | 0.0060577 | -0.0079467 | 0.0061388 | 0.020725 | 0.0075559 | 1.8092 | 0.066111
21G21848 | 7 | 0.0073968 | 0.00024433 | -0.0041165 | 0.0060577 | -0.0075881 | 0.0061388 | 0.020907 | 0.0075559 | 1.81 | 0.066111
21G21850 | 9 | 0.007415 | 0.00024433 | -0.0008102 | 0.0060577 | -0.0067641 | 0.0061388 | 0.021297 | 0.0075559 | 1.8116 | 0.066111
21G21851 | 11 | 0.0074219 | 0.00024433 | 0.00096828 | 0.0060577 | -0.0063421 | 0.0061388 | 0.021484 | 0.0075559 | 1.8122 | 0.066111
21G21853 | 14 | 0.0074325 | 0.00024433 | 0.0046246 | 0.0060577 | -0.0054367 | 0.0061388 | 0.021863 | 0.0075559 | 1.8134 | 0.066111
21G21854 | 17 | 0.0074361 | 0.00024433 | 0.0063497 | 0.0060577 | -0.0049533 | 0.0061388 | 0.022055 | 0.0075559 | 1.814 | 0.066111
21G21856 | 20 | 0.0074403 | 0.00024433 | 0.0092515 | 0.0060577 | -0.0038659 | 0.0061388 | 0.022466 | 0.0075559 | 1.815 | 0.066111
21G21857 | 24 | 0.0074407 | 0.00024433 | 0.010046 | 0.0060577 | -0.003319 | 0.0061388 | 0.022663 | 0.0075559 | 1.8154 | 0.066111
21G21859 | 28 | 0.0074381 | 0.00024433 | 0.0098865 | 0.0060577 | -0.002164 | 0.0061388 | 0.023061 | 0.0075559 | 1.816 | 0.066111
21G21860 | 32 | 0.0074352 | 0.00024433 | 0.0086546 | 0.0060577 | -0.0015559 | 0.0061388 | 0.023263 | 0.0075559 | 1.8163 | 0.066111
21G21862 | 36 | 0.0074261 | 0.00024433 | 0.0031153 | 0.0060577 | -0.00027835 | 0.0061388 | 0.023672 | 0.0075559 | 1.8167 | 0.066111

## Intercept Values
Intercept Values |  | 36Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 37Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 38Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 39Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 40Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n)
21G21832 | 0.6 | 0.020838 | 0.00027605 | 0.93708 | EXP | 150 of 150 | 0.05555 | 0.0063312 | 5.8546e-05 | EXP | 150 of 150 | 0.042831 | 0.0057337 | 0.013626 | EXP | 150 of 150 | 0.016219 | 0.006472 | 0.50112 | EXP | 150 of 150 | 5.9877 | 0.015081 | 0.9989 | EXP | 147 of 150
21G21833 | 0.7 | 0.049439 | 0.00051183 | 0.98343 | EXP | 150 of 150 | 0.71405 | 0.0063336 | 0.4829 | EXP | 149 of 150 | 0.27801 | 0.0063803 | 0.43523 | EXP | 149 of 150 | 0.078058 | 0.0062471 | 0.92836 | EXP | 150 of 150 | 13.9851 | 0.017198 | 0.99988 | EXP | 149 of 150
21G21835 | 0.8 | 0.02241 | 0.00031494 | 0.97819 | EXP | 149 of 150 | 0.20543 | 0.0061141 | 0.046614 | EXP | 148 of 150 | 0.11723 | 0.0060449 | 0.14901 | EXP | 150 of 150 | 0.032376 | 0.0061332 | 0.77646 | EXP | 150 of 150 | 6.3119 | 0.016464 | 0.99959 | EXP | 150 of 150
21G21836 | 1 | 0.03446 | 0.00039684 | 0.99068 | EXP | 150 of 150 | 0.37151 | 0.0052334 | 0.27385 | EXP | 145 of 150 | 0.28122 | 0.0061216 | 0.45578 | EXP | 150 of 150 | 0.042999 | 0.0064684 | 0.93119 | EXP | 150 of 150 | 9.4781 | 0.016915 | 0.99989 | EXP | 150 of 150
21G21838 | 1.2 | 0.076828 | 0.00048958 | 0.96643 | EXP | 148 of 150 | 3.3543 | 0.0061739 | 0.96602 | EXP | 149 of 150 | 0.19826 | 0.0063335 | 0.22519 | EXP | 150 of 150 | 0.22107 | 0.006713 | 0.83962 | EXP | 149 of 150 | 20.6991 | 0.017125 | 0.99975 | EXP | 150 of 150
21G21839 | 1.4 | 0.0093851 | 0.0001962 | 0.90798 | EXP | 150 of 150 | 0.20372 | 0.0057359 | 0.048708 | EXP | 147 of 150 | -0.0047938 | 0.0058931 | 3.9685e-05 | EXP | 147 of 150 | 0.033613 | 0.0060703 | 0.12431 | EXP | 150 of 150 | 2.4108 | 0.016247 | 0.9962 | EXP | 150 of 150
21G21841 | 1.6 | 0.039152 | 0.00027693 | 0.63137 | EXP | 148 of 150 | 2.9043 | 0.0064807 | 0.95209 | EXP | 150 of 150 | 0.0066546 | 0.0060106 | 0.00097695 | EXP | 148 of 150 | 0.17514 | 0.0060368 | 0.086208 | EXP | 148 of 150 | 10.0208 | 0.015396 | 0.9942 | EXP | 150 of 150
21G21842 | 2 | 0.02792 | 0.00026751 | 0.65228 | EXP | 150 of 150 | 4.6811 | 0.006303 | 0.98049 | EXP | 150 of 150 | -0.011012 | 0.00617 | 0.0062843 | EXP | 147 of 150 | 0.26356 | 0.0068355 | 0.0034927 | EXP | 150 of 150 | 5.6775 | 0.0142 | 0.99495 | EXP | 150 of 150
21G21844 | 2.8 | 0.062938 | 0.00040834 | 0.0019993 | EXP | 150 of 150 | 14.0436 | 0.0088353 | 0.9958 | EXP | 150 of 150 | -0.0020792 | 0.0062121 | 0.008038 | EXP | 150 of 150 | 0.71432 | 0.005943 | 0.34023 | EXP | 148 of 150 | 11.7199 | 0.015561 | 0.98651 | EXP | 149 of 150
21G21845 | 4 | 0.22575 | 0.00073096 | 0.13888 | EXP | 150 of 150 | 56.7482 | 0.010727 | 0.99963 | EXP | 148 of 150 | 0.16891 | 0.00657 | 0.13938 | EXP | 150 of 150 | 2.7955 | 0.0057091 | 0.87629 | EXP | 149 of 150 | 38.4421 | 0.017951 | 0.99895 | EXP | 150 of 150
21G21847 | 5.5 | 0.21217 | 0.0006661 | 0.68165 | EXP | 149 of 150 | 86.763 | 0.017469 | 0.99959 | EXP | 147 of 150 | 0.083564 | 0.0058678 | 0.041687 | EXP | 150 of 150 | 4.3209 | 0.0063631 | 0.97149 | EXP | 148 of 150 | 19.6429 | 0.01526 | 0.99446 | EXP | 150 of 150
21G21848 | 7 | 0.19724 | 0.00061892 | 0.76506 | EXP | 147 of 150 | 83.4534 | 0.016936 | 0.99956 | EXP | 150 of 150 | 0.0545 | 0.0060462 | 0.013579 | EXP | 148 of 150 | 4.2019 | 0.0069579 | 0.96782 | EXP | 150 of 150 | 16.3462 | 0.015602 | 0.98545 | EXP | 150 of 150
21G21850 | 9 | 0.31627 | 0.00081492 | 0.88375 | EXP | 149 of 150 | 133.7986 | 0.027209 | 0.99956 | EXP | 150 of 150 | 0.097867 | 0.0060012 | 0.0062322 | EXP | 150 of 150 | 6.9702 | 0.007172 | 0.98753 | EXP | 150 of 150 | 27.682 | 0.017199 | 0.91234 | EXP | 148 of 150
21G21851 | 11 | 0.16867 | 0.00064624 | 0.64915 | EXP | 150 of 150 | 61.2293 | 0.013499 | 0.99951 | EXP | 148 of 150 | 0.04648 | 0.0072569 | 0.00056627 | EXP | 150 of 150 | 3.2865 | 0.0062578 | 0.95508 | EXP | 150 of 150 | 19.7066 | 0.017218 | 0.95502 | EXP | 150 of 150
21G21853 | 14 | 0.12568 | 0.00058734 | 0.49009 | EXP | 150 of 150 | 46.3098 | 0.013281 | 0.99913 | EXP | 150 of 150 | 0.04348 | 0.0061672 | 0.035228 | EXP | 150 of 150 | 2.5705 | 0.0064119 | 0.92332 | EXP | 149 of 150 | 14.7278 | 0.015495 | 0.97561 | EXP | 150 of 150
21G21854 | 17 | 0.14939 | 0.00063304 | 0.58928 | EXP | 150 of 150 | 37.5765 | 0.011691 | 0.99904 | EXP | 147 of 150 | 0.036667 | 0.0063792 | 0.00016496 | EXP | 150 of 150 | 2.2259 | 0.006369 | 0.89925 | EXP | 149 of 150 | 26.941 | 0.017277 | 0.32889 | EXP | 149 of 150
21G21856 | 20 | 0.046758 | 0.00033062 | 0.095445 | EXP | 149 of 150 | 16.8828 | 0.0089615 | 0.99698 | EXP | 150 of 150 | 0.018325 | 0.006109 | 0.007837 | EXP | 149 of 150 | 0.97885 | 0.0064172 | 0.58099 | EXP | 149 of 150 | 5.3101 | 0.014434 | 0.9926 | EXP | 147 of 150
21G21857 | 24 | 0.055937 | 0.00032644 | 0.032476 | EXP | 147 of 150 | 20.5851 | 0.0091329 | 0.99798 | EXP | 150 of 150 | 0.0032079 | 0.0060114 | 0.016475 | EXP | 150 of 150 | 1.1257 | 0.0061314 | 0.65914 | EXP | 150 of 150 | 6.1847 | 0.014101 | 0.99214 | EXP | 148 of 150
21G21859 | 28 | 0.04393 | 0.00029485 | 0.098544 | EXP | 150 of 150 | 15.2334 | 0.0076711 | 0.99739 | EXP | 149 of 150 | 0.020617 | 0.0059945 | 0.028039 | EXP | 149 of 150 | 0.85597 | 0.0066892 | 0.43873 | EXP | 150 of 150 | 5.1943 | 0.014933 | 0.99163 | EXP | 150 of 150
21G21860 | 32 | 0.024937 | 0.00027583 | 0.55021 | EXP | 150 of 150 | 7.3081 | 0.0071831 | 0.99029 | EXP | 150 of 150 | -0.010081 | 0.00639 | 0.012887 | EXP | 150 of 150 | 0.41924 | 0.0063839 | 0.11315 | EXP | 147 of 150 | 3.3602 | 0.014581 | 0.9931 | EXP | 150 of 150
21G21862 | 36 | 0.021449 | 0.00025679 | 0.61591 | EXP | 150 of 150 | 5.2676 | 0.0066575 | 0.98385 | EXP | 150 of 150 | -0.0066142 | 0.00601 | 0.0095051 | EXP | 150 of 150 | 0.29524 | 0.0069036 | 0.0075939 | EXP | 149 of 150 | 3.5541 | 0.014326 | 0.99273 | EXP | 150 of 150

## Project Info
Project Info |  | Analyst | Irradiation | X-pos | Y-pos | Z/H-pos | Project | Experiment | Nmb
21G21832 | 0.6 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21833 | 0.7 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21835 | 0.8 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21836 | 1 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21838 | 1.2 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21839 | 1.4 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21841 | 1.6 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21842 | 2 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21844 | 2.8 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21845 | 4 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21847 | 5.5 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21848 | 7 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21850 | 9 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21851 | 11 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21853 | 14 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21854 | 17 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21856 | 20 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21857 | 24 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21859 | 28 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21860 | 32 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1
21G21862 | 36 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 40.5977 | Easter\O-Connor (20-06) | 21G21829 | 1

## Sample Parameters
Sample Parameters |  | Sample | Material | Location | Standard Name | Standard | %1s | Standard Reference | Standard 40Ar/39Ar | %1s | J | %1s | Air 40Ar/36Ar | %1s | MDF (lin) | %1s | Volume Ratio | Sensitivity | Day | Month | Year | Hour | Min | Resist
[6 empty] | (in Ma) | [11 empty] | (mol/volt)
21G21832 | 0.6 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 6 | 52 | 1
21G21833 | 0.7 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 7 | 2 | 1
21G21835 | 0.8 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 7 | 20 | 1
21G21836 | 1 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 7 | 29 | 1
21G21838 | 1.2 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 7 | 47 | 1
21G21839 | 1.4 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 7 | 56 | 1
21G21841 | 1.6 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 8 | 15 | 1
21G21842 | 2 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 8 | 24 | 1
21G21844 | 2.8 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 8 | 42 | 1
21G21845 | 4 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 8 | 51 | 1
21G21847 | 5.5 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 9 | 9 | 1
21G21848 | 7 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 9 | 18 | 1
21G21850 | 9 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 9 | 37 | 1
21G21851 | 11 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 9 | 46 | 1
21G21853 | 14 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 10 | 4 | 1
21G21854 | 17 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 10 | 13 | 1
21G21856 | 20 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 10 | 32 | 1
21G21857 | 24 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 10 | 41 | 1
21G21859 | 28 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 10 | 59 | 1
21G21860 | 32 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 11 | 8 | 1
21G21862 | 36 | SO80 67DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B22-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.732 | 0.125 | 0.0015953 | 0.125 | 303.931 | 0.103 | 0.99558 | 0.036153 | 1 | 4.27e-14 | 25 | SEP | 2021 | 11 | 26 | 1

## Irradiation Constants
Irradiation Constants |  | 40/36(a) | %1s | 40/36(c) | %1s | 38/36(a) | %1s | 38/36(c) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s
21G21832 | 0.6 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21833 | 0.7 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21835 | 0.8 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21836 | 1 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21838 | 1.2 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21839 | 1.4 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21841 | 1.6 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21842 | 2 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21844 | 2.8 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21845 | 4 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21847 | 5.5 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21848 | 7 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21850 | 9 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21851 | 11 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21853 | 14 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21854 | 17 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21856 | 20 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21857 | 24 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21859 | 28 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21860 | 32 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21862 | 36 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0

## Age Plateau
21G21829.AGE >>> SO80 67DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
5.14 ± 0.21
TOTAL FUSION
4.97 ± 0.20
NORMAL ISOCHRON
5.19 ± 0.32
INVERSE ISOCHRON
5.20 ± 0.32
MSWD (PROBABILITY)
1.36 (16%)
ASSUMED TRAPPED 40AR/36AR RATIO
Standard 40/36 = 298.56 ± 0.104 %SD
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B22-21)
J = 0.00159531 ± 0.00000199

## K-Ca Plateau
21G21829.AGE >>> SO80 67DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
5.14 ± 0.21
TOTAL FUSION
4.97 ± 0.20
NORMAL ISOCHRON
5.19 ± 0.32
INVERSE ISOCHRON
5.20 ± 0.32
ASSUMED TRAPPED 40AR/36AR RATIO
Standard 40/36 = 298.56 ± 0.104 %SD
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B22-21)
J = 0.00159531 ± 0.00000199

## Normal Isochron
21G21829.AGE >>> SO80 67DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
5.14 ± 0.21
TOTAL FUSION
4.97 ± 0.20
NORMAL ISOCHRON
5.19 ± 0.32
INVERSE ISOCHRON
5.20 ± 0.32
MSWD (PROBABILITY)
1.44 (13%)
CALCULATED 40AR/36AR INTERCEPT
296.9 ± 5.7
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B22-21)
J = 0.00159531 ± 0.00000199

## Inverse Isochron
21G21829.AGE >>> SO80 67DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
5.14 ± 0.21
TOTAL FUSION
4.97 ± 0.20
NORMAL ISOCHRON
5.19 ± 0.32
INVERSE ISOCHRON
5.20 ± 0.32
MSWD (PROBABILITY)
1.46 (12%)
SPREADING FACTOR
43.6%
CALCULATED 40AR/36AR INTERCEPT
297.2 ± 5.8
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B22-21)
J = 0.00159531 ± 0.00000199