## Hidden Data (hidden)
Double Line Plot Age Plateau |  |  | Double Line Plot K/Ca Plateau |  |  | X-Y Plot Normal Isochron |  | X-Y Plot Inverse Isochron |  | Error Ellipses Normal Isochron |  | Error Ellipses Inverse Isochron |  | Used Measurements for Blank Corrections
Ar39k% | Line 1 | Line 2 | Ar39k% | Line 1 | Line 2 | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | Filename | Included | 36Ar | 1σ | 37Ar | 1σ | 38Ar | 1σ | 39Ar | 1σ | 40Ar | 1σ | Date | Filename | Included | 40Ar/39Ar | 1σ | J-value | 1σ | Date | X | Y | H
0 | -25.6452 | 16.3001 | 0 | 0.001785 | 0.0071729 | 3.7956 | 289.8012 | 0.013097 | 0.0034506 |  |  | 0.020969 | 0.003464
0.11327 | -25.6452 | 16.3001 | 0.11327 | 0.001785 | 0.0071729 | 6.4054 | 280.4727 | 0.022838 | 0.0035654 |  |  | 0.020701 | 0.0033746
0.11327 | 16.7484 | -25.6452 | 0.11327 | 0.0073485 | 0.0013446 | 7.2732 | 280.6595 | 0.025915 | 0.003563 |  |  | 0.019915 | 0.0032904
0.21113 | 16.7484 | -25.6452 | 0.21113 | 0.0073485 | 0.0013446 | 5.9227 | 322.5829 | 0.01836 | 0.0031 |  |  | 0.018664 | 0.0032171
0.21113 | -21.1775 | 6.8912 | 0.21113 | 0.0018959 | 0.004169 | 12.5738 | 304.4079 | 0.041306 | 0.0032851 |  |  | 0.017034 | 0.0031597
0.38608 | -21.1775 | 6.8912 | 0.38608 | 0.0018959 | 0.004169 | 19.0517 | 333.297 | 0.057161 | 0.0030003 |  |  | 0.015135 | 0.0031222
0.38608 | 29.3819 | -5.9586 | 0.38608 | 0.0046585 | 0.0016307 | 35.5035 | 461.2866 | 0.076966 | 0.0021678 |  |  | 0.013098 | 0.003107
0.53288 | 29.3819 | -5.9586 | 0.53288 | 0.0046585 | 0.0016307 | 39.9812 | 359.0582 | 0.11135 | 0.0027851 |  |  | 0.01106 | 0.0031152
0.53288 | -7.4933 | 10.1867 | 0.53288 | 0.0023044 | 0.0037349 | 65.6236 | 417.0528 | 0.15735 | 0.0023978 |  |  | 0.0091617 | 0.0031464
0.81812 | -7.4933 | 10.1867 | 0.81812 | 0.0023044 | 0.0037349 | 142.8215 | 566.9786 | 0.2519 | 0.0017637 |  |  | 0.0075313 | 0.0031982
0.81812 | 15.8405 | -5.2926 | 0.81812 | 0.0040073 | 0.0021928 | 146.1094 | 576.5658 | 0.25341 | 0.0017344 |  |  | 0.0062801 | 0.0032673
1.0521 | 15.8405 | -5.2926 | 1.0521 | 0.0040073 | 0.0021928 | 162.3342 | 663.2757 | 0.24475 | 0.0015077 |  |  | 0.0054936 | 0.0033488
1.0521 | 6.7915 | 19.6659 | 1.0521 | 0.0024974 | 0.0035199 | 261.6714 | 935.6662 | 0.27966 | 0.0010688 |  |  | 0.0052252 | 0.0034373
1.4508 | 6.7915 | 19.6659 | 1.4508 | 0.0024974 | 0.0035199 | 182.0918 | 740.4521 | 0.24592 | 0.0013505 |  |  | 0.0054933 | 0.0035267
1.4508 | 8.8058 | -0.049963 | 1.4508 | 0.0030584 | 0.0024525 | 148.2065 | 734.7439 | 0.20171 | 0.001361 |  |  | 0.0062796 | 0.0036109
2.0361 | 8.8058 | -0.049963 | 2.0361 | 0.0030584 | 0.0024525 | 79.2983 | 482.9669 | 0.16419 | 0.0020705 |  |  | 0.0075304 | 0.0036842
2.0361 | 4.133 | 6.3128 | 2.0361 | 0.0024751 | 0.0025917 | 19.9225 | 342.181 | 0.058222 | 0.0029224 |  |  | 0.0091607 | 0.0037416
5.155 | 4.133 | 6.3128 | 5.155 | 0.0024751 | 0.0025917 | 125.9981 | 594.653 | 0.21189 | 0.0016817 |  |  | 0.011059 | 0.0037791
5.155 | 6.1321 | 4.7398 | 5.155 | 0.002508 | 0.0024411 | 70.1156 | 452.5649 | 0.15493 | 0.0022096 |  |  | 0.013097 | 0.0037943
11.3019 | 6.1321 | 4.7398 | 11.3019 | 0.002508 | 0.0024411 | 64.8405 | 445.9937 | 0.14538 | 0.0022422 |  |  | 0.015134 | 0.003786
11.3019 | 5.0076 | 5.999 | 11.3019 | 0.0025086 | 0.002551 | 62.1158 | 469.0954 | 0.13242 | 0.0021318 |  |  | 0.017033 | 0.0037549
24.0261 | 5.0076 | 5.999 | 24.0261 | 0.0025086 | 0.002551 | [6 empty] | 0.018663 | 0.0037031
24.0261 | 6.9624 | 6.0304 | 24.0261 | 0.0026963 | 0.0026533 | [6 empty] | 0.019914 | 0.003634
38.2918 | 6.9624 | 6.0304 | 38.2918 | 0.0026963 | 0.0026533 | [6 empty] | 0.020701 | 0.0035525
38.2918 | 6.7118 | 7.3665 | 38.2918 | 0.0036421 | 0.0036968 | [6 empty] | 0.020969 | 0.003464
56.8898 | 6.7118 | 7.3665 | 56.8898 | 0.0036421 | 0.0036968 | [6 empty] | 0.020701 | 0.0033746
56.8898 | 7.4547 | 6.5775 | 56.8898 | 0.0029841 | 0.0029345
69.7125 | 7.4547 | 6.5775 | 69.7125 | 0.0029841 | 0.0029345 | [6 empty] | 0.038711 | 0.0036144
69.7125 | 8.0416 | 8.9692 | 69.7125 | 0.0031263 | 0.0031833 | [6 empty] | 0.03817 | 0.003445
80.0683 | 8.0416 | 8.9692 | 80.0683 | 0.0031263 | 0.0031833 | [6 empty] | 0.036585 | 0.0032839
80.0683 | 7.3667 | 6.081 | 80.0683 | 0.0033206 | 0.0032318 | [6 empty] | 0.034063 | 0.0031419
85.7283 | 7.3667 | 6.081 | 85.7283 | 0.0033206 | 0.0032318 | [6 empty] | 0.030776 | 0.0030288
85.7283 | 5.2731 | 7.3898 | 85.7283 | 0.0030305 | 0.0031677 | [6 empty] | 0.026948 | 0.0029523
89.0587 | 5.2731 | 7.3898 | 89.0587 | 0.0030305 | 0.0031677 | [6 empty] | 0.02284 | 0.0029175
89.0587 | 7.5251 | 6.064 | 89.0587 | 0.0034851 | 0.0033719 | [6 empty] | 0.018732 | 0.0029269
93.5707 | 7.5251 | 6.064 | 93.5707 | 0.0034851 | 0.0033719 | [6 empty] | 0.014903 | 0.0029798
93.5707 | 4.927 | 7.7758 | 93.5707 | 0.0031818 | 0.0033839 | [6 empty] | 0.011616 | 0.0030727
95.86 | 4.927 | 7.7758 | 95.86 | 0.0031818 | 0.0033839 | [6 empty] | 0.0090927 | 0.0031991
95.86 | 7.91 | 5.2392 | 95.86 | 0.0034061 | 0.0031953 | [6 empty] | 0.0075065 | 0.0033504
98.0269 | 7.91 | 5.2392 | 98.0269 | 0.0034061 | 0.0031953 | [6 empty] | 0.0069651 | 0.0035165
98.0269 | 6.4012 | 9.4697 | 98.0269 | 0.0032051 | 0.0034551 | [6 empty] | 0.0075055 | 0.0036858
100 | 6.4012 | 9.4697 | 100 | 0.0032051 | 0.0034551 | [6 empty] | 0.0090907 | 0.003847
[12 empty] | 0.011613 | 0.0039889
[12 empty] | 0.0149 | 0.004102
[12 empty] | 0.018728 | 0.0041786
[12 empty] | 0.022836 | 0.0042133
[12 empty] | 0.026944 | 0.0042039
[12 empty] | 0.030772 | 0.004151
[12 empty] | 0.03406 | 0.0040582
[12 empty] | 0.036583 | 0.0039318
[12 empty] | 0.038169 | 0.0037804
[12 empty] | 0.038711 | 0.0036144
[12 empty] | 0.03817 | 0.003445
[12 empty] | 0.035737 | 0.0035986
[12 empty] | 0.035402 | 0.0034896
[12 empty] | 0.034422 | 0.0033857
[12 empty] | 0.032861 | 0.0032938
[12 empty] | 0.030827 | 0.0032202
[12 empty] | 0.028458 | 0.0031701
[12 empty] | 0.025916 | 0.0031467
[12 empty] | 0.023374 | 0.0031517
[12 empty] | 0.021005 | 0.0031847
[12 empty] | 0.01897 | 0.0032435
[12 empty] | 0.017409 | 0.0033241
[12 empty] | 0.016428 | 0.0034209
[12 empty] | 0.016092 | 0.0035275
[12 empty] | 0.016427 | 0.0036364
[12 empty] | 0.017408 | 0.0037404
[12 empty] | 0.018968 | 0.0038323
[12 empty] | 0.021002 | 0.0039058
[12 empty] | 0.023371 | 0.003956
[12 empty] | 0.025913 | 0.0039794
[12 empty] | 0.028455 | 0.0039744
[12 empty] | 0.030824 | 0.0039414
[12 empty] | 0.032859 | 0.0038826
[12 empty] | 0.03442 | 0.003802
[12 empty] | 0.035402 | 0.0037051
[12 empty] | 0.035737 | 0.0035986
[12 empty] | 0.035402 | 0.0034896
[12 empty] | 0.027235 | 0.0031177
[12 empty] | 0.026932 | 0.0030262
[12 empty] | 0.026046 | 0.0029397
[12 empty] | 0.024636 | 0.0028641
[12 empty] | 0.022798 | 0.0028046
[12 empty] | 0.020658 | 0.0027653
[12 empty] | 0.018361 | 0.0027487
[12 empty] | 0.016064 | 0.0027561
[12 empty] | 0.013924 | 0.0027869
[12 empty] | 0.012086 | 0.0028391
[12 empty] | 0.010675 | 0.002909
[12 empty] | 0.0097884 | 0.002992
[12 empty] | 0.0094858 | 0.0030823
[12 empty] | 0.009788 | 0.0031738
[12 empty] | 0.010674 | 0.0032603
[12 empty] | 0.012085 | 0.0033358
[12 empty] | 0.013922 | 0.0033953
[12 empty] | 0.016063 | 0.0034347
[12 empty] | 0.01836 | 0.0034512
[12 empty] | 0.020656 | 0.0034439
[12 empty] | 0.022797 | 0.003413
[12 empty] | 0.024635 | 0.0033609
[12 empty] | 0.026045 | 0.0032909
[12 empty] | 0.026932 | 0.003208
[12 empty] | 0.027235 | 0.0031177
[12 empty] | 0.026932 | 0.0030262
[12 empty] | 0.051385 | 0.0033345
[12 empty] | 0.051042 | 0.0032248
[12 empty] | 0.050036 | 0.0031192
[12 empty] | 0.048434 | 0.0030249
[12 empty] | 0.046347 | 0.0029483
[12 empty] | 0.043916 | 0.0028947
[12 empty] | 0.041308 | 0.0028677
[12 empty] | 0.038699 | 0.0028691
[12 empty] | 0.036268 | 0.0028988
[12 empty] | 0.03418 | 0.0029549
[12 empty] | 0.032578 | 0.0030335
[12 empty] | 0.031571 | 0.0031292
[12 empty] | 0.031227 | 0.0032356
[12 empty] | 0.031569 | 0.0033453
[12 empty] | 0.032576 | 0.0034509
[12 empty] | 0.034177 | 0.0035452
[12 empty] | 0.036264 | 0.0036218
[12 empty] | 0.038695 | 0.0036754
[12 empty] | 0.041304 | 0.0037025
[12 empty] | 0.043912 | 0.0037011
[12 empty] | 0.046344 | 0.0036713
[12 empty] | 0.048431 | 0.0036152
[12 empty] | 0.050034 | 0.0035366
[12 empty] | 0.051041 | 0.0034409
[12 empty] | 0.051385 | 0.0033345
[12 empty] | 0.051042 | 0.0032248
[12 empty] | 0.074842 | 0.0031016
[12 empty] | 0.074241 | 0.0029251
[12 empty] | 0.072475 | 0.0027538
[12 empty] | 0.069666 | 0.0025993
[12 empty] | 0.066005 | 0.0024721
[12 empty] | 0.061741 | 0.0023809
[12 empty] | 0.057165 | 0.0023319
[12 empty] | 0.052589 | 0.0023285
[12 empty] | 0.048324 | 0.0023708
[12 empty] | 0.044662 | 0.0024561
[12 empty] | 0.041851 | 0.0025784
[12 empty] | 0.040084 | 0.0027295
[12 empty] | 0.03948 | 0.0028991
[12 empty] | 0.040082 | 0.0030756
[12 empty] | 0.041847 | 0.0032469
[12 empty] | 0.044656 | 0.0034014
[12 empty] | 0.048318 | 0.0035286
[12 empty] | 0.052582 | 0.0036198
[12 empty] | 0.057158 | 0.0036688
[12 empty] | 0.061734 | 0.0036722
[12 empty] | 0.065998 | 0.0036298
[12 empty] | 0.069661 | 0.0035446
[12 empty] | 0.072472 | 0.0034222
[12 empty] | 0.074239 | 0.0032711
[12 empty] | 0.074842 | 0.0031016
[12 empty] | 0.074241 | 0.0029251
[12 empty] | 0.091399 | 0.0022423
[12 empty] | 0.090908 | 0.0021116
[12 empty] | 0.089467 | 0.0019846
[12 empty] | 0.087174 | 0.0018702
[12 empty] | 0.084185 | 0.0017761
[12 empty] | 0.080704 | 0.0017086
[12 empty] | 0.076969 | 0.0016725
[12 empty] | 0.073233 | 0.0016701
[12 empty] | 0.069752 | 0.0017016
[12 empty] | 0.066763 | 0.0017649
[12 empty] | 0.064468 | 0.0018557
[12 empty] | 0.063026 | 0.0019677
[12 empty] | 0.062533 | 0.0020934
[12 empty] | 0.063025 | 0.0022241
[12 empty] | 0.064466 | 0.0023511
[12 empty] | 0.066759 | 0.0024655
[12 empty] | 0.069748 | 0.0025596
[12 empty] | 0.073228 | 0.0026271
[12 empty] | 0.076964 | 0.0026632
[12 empty] | 0.080699 | 0.0026656
[12 empty] | 0.08418 | 0.0026341
[12 empty] | 0.08717 | 0.0025708
[12 empty] | 0.089464 | 0.00248
[12 empty] | 0.090907 | 0.002368
[12 empty] | 0.091399 | 0.0022423
[12 empty] | 0.090908 | 0.0021116
[12 empty] | 0.12643 | 0.0029154
[12 empty] | 0.12592 | 0.0027731
[12 empty] | 0.12441 | 0.0026316
[12 empty] | 0.12202 | 0.0025006
[12 empty] | 0.11889 | 0.0023889
[12 empty] | 0.11526 | 0.0023042
[12 empty] | 0.11135 | 0.0022523
[12 empty] | 0.10745 | 0.0022367
[12 empty] | 0.10381 | 0.0022585
[12 empty] | 0.10069 | 0.0023162
[12 empty] | 0.098292 | 0.0024058
[12 empty] | 0.096784 | 0.0025213
[12 empty] | 0.096269 | 0.0026547
[12 empty] | 0.096782 | 0.002797
[12 empty] | 0.098288 | 0.0029385
[12 empty] | 0.10068 | 0.0030696
[12 empty] | 0.10381 | 0.0031812
[12 empty] | 0.10744 | 0.0032659
[12 empty] | 0.11135 | 0.0033178
[12 empty] | 0.11525 | 0.0033334
[12 empty] | 0.11889 | 0.0033116
[12 empty] | 0.12201 | 0.0032539
[12 empty] | 0.12441 | 0.0031643
[12 empty] | 0.12592 | 0.0030489
[12 empty] | 0.12643 | 0.0029154
[12 empty] | 0.12592 | 0.0027731
[12 empty] | 0.16217 | 0.0024328
[12 empty] | 0.162 | 0.0023829
[12 empty] | 0.16152 | 0.002334
[12 empty] | 0.16076 | 0.0022895
[12 empty] | 0.15976 | 0.0022523
[12 empty] | 0.1586 | 0.0022251
[12 empty] | 0.15735 | 0.0022096
[12 empty] | 0.15611 | 0.0022069
[12 empty] | 0.15494 | 0.0022173
[12 empty] | 0.15395 | 0.00224
[12 empty] | 0.15318 | 0.0022734
[12 empty] | 0.1527 | 0.0023153
[12 empty] | 0.15253 | 0.0023628
[12 empty] | 0.1527 | 0.0024127
[12 empty] | 0.15318 | 0.0024616
[12 empty] | 0.15394 | 0.0025061
[12 empty] | 0.15494 | 0.0025433
[12 empty] | 0.1561 | 0.0025705
[12 empty] | 0.15735 | 0.002586
[12 empty] | 0.1586 | 0.0025886
[12 empty] | 0.15976 | 0.0025783
[12 empty] | 0.16076 | 0.0025556
[12 empty] | 0.16152 | 0.0025222
[12 empty] | 0.162 | 0.0024803
[12 empty] | 0.16217 | 0.0024328
[12 empty] | 0.162 | 0.0023829
[12 empty] | 0.25716 | 0.0017884
[12 empty] | 0.25698 | 0.0017371
[12 empty] | 0.25646 | 0.0016876
[12 empty] | 0.25562 | 0.0016433
[12 empty] | 0.25453 | 0.0016072
[12 empty] | 0.25326 | 0.0015818
[12 empty] | 0.2519 | 0.0015688
[12 empty] | 0.25054 | 0.001569
[12 empty] | 0.24927 | 0.0015826
[12 empty] | 0.24818 | 0.0016085
[12 empty] | 0.24734 | 0.0016449
[12 empty] | 0.24682 | 0.0016895
[12 empty] | 0.24664 | 0.0017391
[12 empty] | 0.24682 | 0.0017904
[12 empty] | 0.24734 | 0.0018399
[12 empty] | 0.24818 | 0.0018842
[12 empty] | 0.24927 | 0.0019203
[12 empty] | 0.25054 | 0.0019457
[12 empty] | 0.2519 | 0.0019587
[12 empty] | 0.25326 | 0.0019584
[12 empty] | 0.25453 | 0.0019449
[12 empty] | 0.25562 | 0.001919
[12 empty] | 0.25646 | 0.0018825
[12 empty] | 0.25698 | 0.001838
[12 empty] | 0.25716 | 0.0017884
[12 empty] | 0.25698 | 0.0017371
[12 empty] | 0.25599 | 0.0017465
[12 empty] | 0.2559 | 0.0017091
[12 empty] | 0.25564 | 0.0016734
[12 empty] | 0.25523 | 0.0016419
[12 empty] | 0.2547 | 0.0016167
[12 empty] | 0.25408 | 0.0015996
[12 empty] | 0.25341 | 0.0015916
[12 empty] | 0.25275 | 0.0015933
[12 empty] | 0.25213 | 0.0016047
[12 empty] | 0.25159 | 0.0016249
[12 empty] | 0.25118 | 0.0016525
[12 empty] | 0.25093 | 0.0016858
[12 empty] | 0.25084 | 0.0017223
[12 empty] | 0.25093 | 0.0017597
[12 empty] | 0.25118 | 0.0017954
[12 empty] | 0.25159 | 0.0018269
[12 empty] | 0.25213 | 0.0018521
[12 empty] | 0.25275 | 0.0018693
[12 empty] | 0.25341 | 0.0018772
[12 empty] | 0.25408 | 0.0018755
[12 empty] | 0.2547 | 0.0018641
[12 empty] | 0.25523 | 0.0018439
[12 empty] | 0.25564 | 0.0018163
[12 empty] | 0.2559 | 0.001783
[12 empty] | 0.25599 | 0.0017465
[12 empty] | 0.2559 | 0.0017091
[12 empty] | 0.24692 | 0.0015165
[12 empty] | 0.24685 | 0.0014826
[12 empty] | 0.24663 | 0.0014504
[12 empty] | 0.24629 | 0.0014221
[12 empty] | 0.24584 | 0.0013996
[12 empty] | 0.24531 | 0.0013845
[12 empty] | 0.24475 | 0.0013778
[12 empty] | 0.24418 | 0.0013799
[12 empty] | 0.24366 | 0.0013908
[12 empty] | 0.24321 | 0.0014096
[12 empty] | 0.24286 | 0.0014351
[12 empty] | 0.24264 | 0.0014655
[12 empty] | 0.24257 | 0.0014988
[12 empty] | 0.24264 | 0.0015328
[12 empty] | 0.24286 | 0.001565
[12 empty] | 0.24321 | 0.0015933
[12 empty] | 0.24366 | 0.0016157
[12 empty] | 0.24418 | 0.0016309
[12 empty] | 0.24475 | 0.0016376
[12 empty] | 0.24531 | 0.0016354
[12 empty] | 0.24583 | 0.0016246
[12 empty] | 0.24629 | 0.0016058
[12 empty] | 0.24663 | 0.0015803
[12 empty] | 0.24685 | 0.0015498
[12 empty] | 0.24692 | 0.0015165
[12 empty] | 0.24685 | 0.0014826
[12 empty] | 0.2818 | 0.0010744
[12 empty] | 0.28172 | 0.0010473
[12 empty] | 0.28151 | 0.0010217
[12 empty] | 0.28117 | 0.00099936
[12 empty] | 0.28073 | 0.00098172
[12 empty] | 0.28022 | 0.00097001
[12 empty] | 0.27966 | 0.00096503
[12 empty] | 0.27911 | 0.00096711
[12 empty] | 0.2786 | 0.00097613
[12 empty] | 0.27815 | 0.00099145
[12 empty] | 0.27782 | 0.001012
[12 empty] | 0.2776 | 0.0010365
[12 empty] | 0.27753 | 0.0010632
[12 empty] | 0.2776 | 0.0010902
[12 empty] | 0.27782 | 0.0011158
[12 empty] | 0.27815 | 0.0011382
[12 empty] | 0.2786 | 0.0011558
[12 empty] | 0.27911 | 0.0011675
[12 empty] | 0.27966 | 0.0011725
[12 empty] | 0.28022 | 0.0011704
[12 empty] | 0.28073 | 0.0011614
[12 empty] | 0.28117 | 0.0011461
[12 empty] | 0.28151 | 0.0011255
[12 empty] | 0.28172 | 0.001101
[12 empty] | 0.2818 | 0.0010744
[12 empty] | 0.28172 | 0.0010473
[12 empty] | 0.24835 | 0.0013594
[12 empty] | 0.24827 | 0.0013275
[12 empty] | 0.24803 | 0.0012973
[12 empty] | 0.24764 | 0.0012706
[12 empty] | 0.24714 | 0.0012494
[12 empty] | 0.24655 | 0.0012351
[12 empty] | 0.24592 | 0.0012287
[12 empty] | 0.24529 | 0.0012305
[12 empty] | 0.2447 | 0.0012406
[12 empty] | 0.2442 | 0.0012581
[12 empty] | 0.24381 | 0.0012819
[12 empty] | 0.24357 | 0.0013104
[12 empty] | 0.24349 | 0.0013417
[12 empty] | 0.24357 | 0.0013735
[12 empty] | 0.24381 | 0.0014038
[12 empty] | 0.2442 | 0.0014304
[12 empty] | 0.2447 | 0.0014516
[12 empty] | 0.24529 | 0.0014659
[12 empty] | 0.24592 | 0.0014724
[12 empty] | 0.24655 | 0.0014705
[12 empty] | 0.24714 | 0.0014605
[12 empty] | 0.24764 | 0.001443
[12 empty] | 0.24803 | 0.0014191
[12 empty] | 0.24827 | 0.0013906
[12 empty] | 0.24835 | 0.0013594
[12 empty] | 0.24827 | 0.0013275
[12 empty] | 0.20383 | 0.0013696
[12 empty] | 0.20376 | 0.0013422
[12 empty] | 0.20354 | 0.0013161
[12 empty] | 0.20321 | 0.0012931
[12 empty] | 0.20277 | 0.0012747
[12 empty] | 0.20226 | 0.0012622
[12 empty] | 0.20171 | 0.0012564
[12 empty] | 0.20116 | 0.0012578
[12 empty] | 0.20065 | 0.0012662
[12 empty] | 0.20022 | 0.001281
[12 empty] | 0.19988 | 0.0013013
[12 empty] | 0.19967 | 0.0013257
[12 empty] | 0.1996 | 0.0013524
[12 empty] | 0.19967 | 0.0013798
[12 empty] | 0.19988 | 0.0014059
[12 empty] | 0.20022 | 0.0014289
[12 empty] | 0.20065 | 0.0014473
[12 empty] | 0.20116 | 0.0014598
[12 empty] | 0.20171 | 0.0014656
[12 empty] | 0.20226 | 0.0014643
[12 empty] | 0.20277 | 0.0014559
[12 empty] | 0.20321 | 0.001441
[12 empty] | 0.20354 | 0.0014207
[12 empty] | 0.20376 | 0.0013964
[12 empty] | 0.20383 | 0.0013696
[12 empty] | 0.20376 | 0.0013422
[12 empty] | 0.16701 | 0.0020886
[12 empty] | 0.16692 | 0.002058
[12 empty] | 0.16663 | 0.0020283
[12 empty] | 0.16619 | 0.0020015
[12 empty] | 0.1656 | 0.0019794
[12 empty] | 0.16492 | 0.0019635
[12 empty] | 0.16419 | 0.0019548
[12 empty] | 0.16346 | 0.0019541
[12 empty] | 0.16278 | 0.0019613
[12 empty] | 0.1622 | 0.001976
[12 empty] | 0.16175 | 0.0019971
[12 empty] | 0.16147 | 0.0020232
[12 empty] | 0.16137 | 0.0020525
[12 empty] | 0.16146 | 0.002083
[12 empty] | 0.16175 | 0.0021128
[12 empty] | 0.16219 | 0.0021396
[12 empty] | 0.16278 | 0.0021617
[12 empty] | 0.16346 | 0.0021776
[12 empty] | 0.16419 | 0.0021862
[12 empty] | 0.16492 | 0.002187
[12 empty] | 0.1656 | 0.0021798
[12 empty] | 0.16618 | 0.0021651
[12 empty] | 0.16663 | 0.002144
[12 empty] | 0.16691 | 0.0021179
[12 empty] | 0.16701 | 0.0020886
[12 empty] | 0.16692 | 0.002058
[12 empty] | 0.059529 | 0.0029293
[12 empty] | 0.059485 | 0.0029112
[12 empty] | 0.059355 | 0.0028938
[12 empty] | 0.059147 | 0.0028783
[12 empty] | 0.058876 | 0.0028659
[12 empty] | 0.058561 | 0.0028573
[12 empty] | 0.058223 | 0.0028531
[12 empty] | 0.057884 | 0.0028537
[12 empty] | 0.057569 | 0.002859
[12 empty] | 0.057298 | 0.0028685
[12 empty] | 0.05709 | 0.0028818
[12 empty] | 0.05696 | 0.0028978
[12 empty] | 0.056915 | 0.0029155
[12 empty] | 0.056959 | 0.0029337
[12 empty] | 0.05709 | 0.0029511
[12 empty] | 0.057298 | 0.0029666
[12 empty] | 0.057568 | 0.002979
[12 empty] | 0.057884 | 0.0029876
[12 empty] | 0.058222 | 0.0029917
[12 empty] | 0.05856 | 0.0029912
[12 empty] | 0.058876 | 0.0029859
[12 empty] | 0.059146 | 0.0029763
[12 empty] | 0.059354 | 0.0029631
[12 empty] | 0.059485 | 0.002947
[12 empty] | 0.059529 | 0.0029293
[12 empty] | 0.059485 | 0.0029112
[12 empty] | 0.21715 | 0.0017077
[12 empty] | 0.21697 | 0.0016637
[12 empty] | 0.21645 | 0.001621
[12 empty] | 0.21561 | 0.0015824
[12 empty] | 0.21452 | 0.0015505
[12 empty] | 0.21325 | 0.0015276
[12 empty] | 0.21189 | 0.0015152
[12 empty] | 0.21052 | 0.0015141
[12 empty] | 0.20925 | 0.0015245
[12 empty] | 0.20816 | 0.0015455
[12 empty] | 0.20732 | 0.0015759
[12 empty] | 0.2068 | 0.0016134
[12 empty] | 0.20662 | 0.0016556
[12 empty] | 0.2068 | 0.0016996
[12 empty] | 0.20732 | 0.0017423
[12 empty] | 0.20816 | 0.0017809
[12 empty] | 0.20925 | 0.0018128
[12 empty] | 0.21052 | 0.0018357
[12 empty] | 0.21188 | 0.0018481
[12 empty] | 0.21325 | 0.0018492
[12 empty] | 0.21452 | 0.0018388
[12 empty] | 0.21561 | 0.0018178
[12 empty] | 0.21645 | 0.0017874
[12 empty] | 0.21697 | 0.0017499
[12 empty] | 0.21715 | 0.0017077
[12 empty] | 0.21697 | 0.0016637
[12 empty] | 0.16134 | 0.0022526
[12 empty] | 0.16112 | 0.0021891
[12 empty] | 0.16048 | 0.002127
[12 empty] | 0.15946 | 0.0020706
[12 empty] | 0.15813 | 0.0020236
[12 empty] | 0.15659 | 0.0019893
[12 empty] | 0.15493 | 0.00197
[12 empty] | 0.15327 | 0.001967
[12 empty] | 0.15173 | 0.0019806
[12 empty] | 0.1504 | 0.0020098
[12 empty] | 0.14938 | 0.0020526
[12 empty] | 0.14874 | 0.0021061
[12 empty] | 0.14852 | 0.0021666
[12 empty] | 0.14874 | 0.0022301
[12 empty] | 0.14938 | 0.0022922
[12 empty] | 0.1504 | 0.0023487
[12 empty] | 0.15173 | 0.0023957
[12 empty] | 0.15327 | 0.00243
[12 empty] | 0.15493 | 0.0024493
[12 empty] | 0.15659 | 0.0024522
[12 empty] | 0.15813 | 0.0024387
[12 empty] | 0.15946 | 0.0024095
[12 empty] | 0.16048 | 0.0023667
[12 empty] | 0.16112 | 0.0023132
[12 empty] | 0.16134 | 0.0022526
[12 empty] | 0.16112 | 0.0021891
[12 empty] | 0.15149 | 0.0022841
[12 empty] | 0.15128 | 0.0022291
[12 empty] | 0.15067 | 0.0021749
[12 empty] | 0.1497 | 0.0021254
[12 empty] | 0.14844 | 0.0020837
[12 empty] | 0.14697 | 0.0020529
[12 empty] | 0.14539 | 0.002035
[12 empty] | 0.14381 | 0.0020312
[12 empty] | 0.14233 | 0.0020418
[12 empty] | 0.14107 | 0.002066
[12 empty] | 0.1401 | 0.0021023
[12 empty] | 0.13949 | 0.002148
[12 empty] | 0.13928 | 0.0022002
[12 empty] | 0.13949 | 0.0022553
[12 empty] | 0.1401 | 0.0023094
[12 empty] | 0.14107 | 0.002359
[12 empty] | 0.14233 | 0.0024006
[12 empty] | 0.1438 | 0.0024314
[12 empty] | 0.14538 | 0.0024494
[12 empty] | 0.14696 | 0.0024532
[12 empty] | 0.14844 | 0.0024426
[12 empty] | 0.1497 | 0.0024183
[12 empty] | 0.15067 | 0.0023821
[12 empty] | 0.15128 | 0.0023363
[12 empty] | 0.15149 | 0.0022841
[12 empty] | 0.15128 | 0.0022291
[12 empty] | 0.13855 | 0.0021677
[12 empty] | 0.13834 | 0.0021103
[12 empty] | 0.13773 | 0.0020543
[12 empty] | 0.13676 | 0.0020037
[12 empty] | 0.13548 | 0.0019617
[12 empty] | 0.13401 | 0.0019314
[12 empty] | 0.13242 | 0.0019147
[12 empty] | 0.13083 | 0.0019128
[12 empty] | 0.12935 | 0.0019258
[12 empty] | 0.12808 | 0.0019529
[12 empty] | 0.1271 | 0.0019921
[12 empty] | 0.12649 | 0.0020409
[12 empty] | 0.12628 | 0.0020958
[12 empty] | 0.12649 | 0.0021532
[12 empty] | 0.1271 | 0.0022092
[12 empty] | 0.12808 | 0.0022598
[12 empty] | 0.12935 | 0.0023018
[12 empty] | 0.13083 | 0.0023321
[12 empty] | 0.13241 | 0.0023488
[12 empty] | 0.134 | 0.0023507
[12 empty] | 0.13548 | 0.0023377
[12 empty] | 0.13675 | 0.0023107
[12 empty] | 0.13773 | 0.0022714
[12 empty] | 0.13834 | 0.0022227
[12 empty] | 0.13855 | 0.0021677
[12 empty] | 0.13834 | 0.0021103

## Age Summary
Relative Abundances |  |  | 36Ar [fA] | %1s | 37Ar [fA] | %1s | 38Ar [fA] | %1s | 39Ar [fA] | %1s | 40Ar [fA] | %1s | 40(r)/39(k) | ± 2s | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  | (%) | (%)
21G21722 | 0.6 |  | 0.0085296 | 3.9625 | 2.8283 | 2.6592 | 0.023875 | 36.3786 | 0.031277 | 28.2145 | 2.2493 | 2.4085 | -2.3076 | 7.91 | -6.6968 | 22.9969 | -3.0223 | 0.11327 | 0.0044789 | 0.0026939
21G21723 | 0.7 |  | 0.0046548 | 6.554 | 2.5178 | 2.9429 | 0.0072553 | 125.3036 | 0.027068 | 32.3497 | 1.1144 | 4.8801 | -2.8238 | 8.5735 | -8.1979 | 24.9463 | -6.4488 | 0.097857 | 0.0043466 | 0.0030019
21G21725 | 0.8 |  | 0.0080047 | 3.8941 | 6.452 | 1.2262 | 0.032084 | 26.08 | 0.049647 | 17.1384 | 1.7558 | 3.0723 | -2.4612 | 4.8261 | -7.1431 | 14.0343 | -6.3779 | 0.17495 | 0.0030325 | 0.0011366
21G21726 | 1 |  | 0.0078586 | 4.1165 | 5.2208 | 1.4965 | 0.0097598 | 93.204 | 0.041534 | 22.0839 | 2.0795 | 2.6242 | 4.0561 | 6.1393 | 11.7117 | 17.6702 | 7.447 | 0.1468 | 0.0031446 | 0.0015139
21G21728 | 1.2 |  | 0.0087599 | 3.787 | 10.5642 | 0.76065 | 0.030553 | 28.768 | 0.080974 | 10.8277 | 1.7961 | 3.0285 | 0.46509 | 3.054 | 1.3467 | 8.84 | 1.921 | 0.28524 | 0.0030196 | 0.00071525
21G21729 | 1.4 |  | 0.0054789 | 5.8404 | 8.4408 | 0.98885 | 0.02315 | 36.3277 | 0.066276 | 13.4041 | 1.0646 | 5.104 | 1.8233 | 3.6583 | 5.2739 | 10.5666 | 10.4219 | 0.23398 | 0.0031001 | 0.00090724
21G21731 | 1.6 |  | 0.0069268 | 4.5538 | 14.8186 | 0.5985 | 0.010618 | 83.9917 | 0.1132 | 7.762 | 1.3472 | 4.0098 | 4.5834 | 2.2384 | 13.2287 | 6.4372 | 35.275 | 0.39865 | 0.0030086 | 0.00051125
21G21732 | 2 |  | 0.010231 | 3.3388 | 23.7589 | 0.44483 | 0.013741 | 62.666 | 0.16751 | 4.9795 | 1.3674 | 3.9784 | 1.5132 | 1.5323 | 4.3779 | 4.4279 | 16.848 | 0.58538 | 0.0027554 | 0.00030297
21G21734 | 2.8 |  | 0.049577 | 0.9223 | 137.6813 | 0.30988 | 0.04617 | 19.5998 | 0.89961 | 0.99474 | 5.1556 | 1.056 | 1.8056 | 0.37734 | 5.2229 | 1.0899 | 28.4092 | 3.1189 | 0.0025334 | 5.8308e-05
21G21735 | 4 |  | 0.086284 | 0.646 | 277.8049 | 0.30605 | 0.040108 | 22.6866 | 1.7772 | 0.53298 | 6.3475 | 0.85301 | 1.8794 | 0.24105 | 5.436 | 0.69617 | 47.3347 | 6.1469 | 0.0024745 | 3.3435e-05
21G21737 | 5.5 |  | 0.17469 | 0.43797 | 562.5026 | 0.30483 | 0.066198 | 13.4961 | 3.6707 | 0.23991 | 13.061 | 0.41962 | 1.9027 | 0.17164 | 5.5033 | 0.4957 | 48.2101 | 12.7242 | 0.0025298 | 2.1162e-05
21G21738 | 7 | 4 | 0.18408 | 0.43798 | 596.4491 | 0.30508 | 0.063726 | 13.2683 | 4.0934 | 0.2187 | 15.1618 | 0.3601 | 2.2467 | 0.16145 | 6.4964 | 0.46601 | 54.9789 | 14.2657 | 0.0026748 | 2.1486e-05
21G21740 | 9 | 4 | 0.1717 | 0.41901 | 566.8169 | 0.30491 | 0.087971 | 10.2237 | 5.2011 | 0.18736 | 17.2986 | 0.3155 | 2.4348 | 0.11345 | 7.0392 | 0.32737 | 68.0796 | 18.5979 | 0.0036694 | 2.735e-05
21G21741 | 11 | 4 | 0.1493 | 0.45998 | 484.5848 | 0.30506 | 0.057258 | 14.7575 | 3.6463 | 0.25015 | 13.5632 | 0.40206 | 2.4268 | 0.152 | 7.0161 | 0.43861 | 59.6698 | 12.8228 | 0.0029593 | 2.4834e-05
21G21743 | 14 |  | 0.1174 | 0.5146 | 367.1025 | 0.30565 | 0.042719 | 20.2395 | 2.9292 | 0.29529 | 13.354 | 0.40586 | 2.9431 | 0.16087 | 8.5054 | 0.46383 | 59.3582 | 10.3557 | 0.0031548 | 2.8481e-05
21G21744 | 17 | 4 | 0.070788 | 0.67587 | 193.2082 | 0.30797 | 0.026324 | 33.4932 | 1.5962 | 0.55146 | 8.9665 | 0.61128 | 2.3255 | 0.22274 | 6.7238 | 0.64283 | 38.1783 | 5.66 | 0.0032762 | 4.4397e-05
21G21746 | 20 | 4 | 0.075962 | 0.63148 | 120.1818 | 0.31163 | 0.017901 | 46.8481 | 0.94339 | 0.97188 | 14.8776 | 0.36375 | 2.1895 | 0.36663 | 6.3314 | 1.0584 | 12.7475 | 3.3304 | 0.0030991 | 6.8604e-05
21G21747 | 24 | 4 | 0.049096 | 0.88683 | 147.1801 | 0.30972 | 0.015274 | 60.5234 | 1.2681 | 0.70388 | 5.5391 | 0.98041 | 2.35 | 0.25314 | 6.7945 | 0.73055 | 49.7862 | 4.5121 | 0.0034285 | 5.6568e-05
21G21749 | 28 | 4 | 0.029571 | 1.5067 | 77.9867 | 0.32141 | 0.0054582 | 162.8202 | 0.6455 | 1.3863 | 3.8433 | 1.4169 | 2.1964 | 0.49345 | 6.3514 | 1.4244 | 34.0262 | 2.2893 | 0.0032828 | 0.00010105
21G21750 | 32 | 4 | 0.028537 | 1.3472 | 73.4202 | 0.32196 | 0.011511 | 76.5239 | 0.61075 | 1.4412 | 3.8768 | 1.4005 | 2.2738 | 0.46267 | 6.5746 | 1.3354 | 33.0544 | 2.1669 | 0.0033007 | 0.00010541
21G21752 | 36 | 4 | 0.026172 | 1.5479 | 66.2624 | 0.32577 | -0.0079161 | 109.065 | 0.55574 | 1.7052 | 3.8757 | 1.3964 | 2.7454 | 0.53196 | 7.9355 | 1.5342 | 36.3512 | 1.9731 | 0.0033301 | 0.00012501
|  | S | 1.2736 | 0.17742 | 3745.7829 | 0.1017 | 0.62374 | 6.4533 | 28.4147 | 0.14436 | 137.6949 | 0.18093
Information on Analysis and Constants Used in Calculations | [8 empty] | Results |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  |  | (%,n)
Project = O-CONNOR (20-06) |  |  |  | Age Equations = Min et al. (2000) |  |  |  |  | Age Plateau |  |  |  | 2.3717 | 0.068247 | 6.8573 | 0.19768 | 1.0007 | 65.6181 | 0.0032245 | 0.00019015
Sample = SO80 69DS-1 |  |  |  | Negative Intensities = Allowed | [9 empty] | 2.878% |  | 2.883% | 43.29% | 9
Material = Plagioclase |  |  |  | Collector Calibrations = 36Ar |  |  |  |  | Full External Error | [6 empty] | 0.40731 | 2 | 2σ Confidence Limit
Location = Crough Smt, 5th VER |  |  |  | Decay 40K = 5.463 ± 0.107 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.19695 | 1.0004 | Error Magnification
Region = Easter Chain (Pacific) |  |  |  | Decay 39Ar = 2.940 ± 0.016 E-07 1/h
Analyst = Daniel Heaton |  |  |  | Decay 37Ar = 8.230 ± 0.012 E-04 1/h |  |  |  |  | Total Fusion Age |  |  |  | 2.2965 | 0.062025 | 6.6402 | 0.17977 |  | 21 | 0.0029856 | 1.1346e-05
Irradiation = 21-OSU-04 (4B24-21) |  |  |  | Decay 36Cl = 2.257 ± 0.015 E-06 1/a | [9 empty] | 2.701% |  | 2.707%
Position = X: 0 ¦ Y: 0 ¦ Z/H: 44.94172 mm |  |  |  | Decay 40K(EC,β⁺) = 0.580 ± 0.014 E-10 1/a |  |  |  |  | Full External Error | [6 empty] | 0.38891
FCT-NM Age = 28.201 ± 0.023 Ma |  |  |  | Decay 40K(β⁻) = 4.884 ± 0.099 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.17902
FCT-NM Reference = Kuiper et al (2008) |  |  |  | Atmospheric 40/36(a) = 298.56 ± 0.31
FCT-NM 40Ar/39Ar Ratio = 9.81100 ± 0.01217 |  |  |  | Atmospheric 38/36(a) = 0.1885 ± 0.0003 |  |  |  |  | Normal Isochron |  | 294.2509 | 7.8079 | 2.3961 | 0.092608 | 6.9277 | 0.26779 | 0.96656 | 65.6181
FCT-NM J-value = 0.00158246 ± 0.00000196 |  |  |  | Production 39/37(ca) = 0.0006425 ± 0.0000059 | [7 empty] | 2.653% |  | 3.865% |  | 3.865% | 45.37% | 9
Air Shot 40Ar/36Ar = 303.9460 ± 0.3222 |  |  |  | Production 38/37(ca) = 0.0001800 ± 0.0000173 |  |  |  |  | Full External Error | [6 empty] | 0.4485 | 2.069 | 2σ Confidence Limit
Air Shot MDF = 0.99556421 ± 0.00036514 (LIN) |  |  |  | Production 36/37(ca) = 0.0002703 ± 0.0000005 |  |  |  |  | Analytical Error | [6 empty] | 0.26724 | 1 | Error Magnification
Experiment Type = Incremental Heating |  |  |  | Production 40/39(k) = 0.000607 ± 0.000059 | [11 empty] | 24 |  | Number of Iterations
Extraction Method = Bulk Laser Heating |  |  |  | Production 38/39(k) = 0.012077 ± 0.000011 | [11 empty] | 1.9994e-05 |  | Convergence
Heating = 32 sec |  |  |  | Production 36/38(cl) = 262.80 ± 1.71
Isolation = 2.00 min |  |  |  | Scaling Ratio K/Ca = 0.430 |  |  |  |  | Inverse Isochron |  | 294.1488 | 7.774 | 2.4073 | 0.091165 | 6.9599 | 0.26364 | 0.97105 | 65.6181
Instrument = ARGUS-VI-G |  |  |  | Abundance Ratio 40K/K = 1.1700 ± 0.0100 E-04 | [7 empty] | 2.643% |  | 3.787% |  | 3.788% | 45.03% | 9
Preferred Age = Plateau Age |  |  |  | Atomic Weight K = 39.0983 ± 0.0001 g |  |  |  |  | Full External Error | [6 empty] | 0.44738 | 2.069 | 2σ Confidence Limit
Age Classification = Unknown | [8 empty] | Analytical Error | [6 empty] | 0.26307 | 1 | Error Magnification
IGSN = 8.902 | [15 empty] | 3 |  | Number of Iterations
Rock Class = Undefined | [15 empty] | 1.7879e-05 |  | Convergence
Lithology = Undefined | [15 empty] | 53.31% |  | Spreading Factor
Lat-Lon = Undefined - Undefined

## Incremental Heating Table
Incremental Heating |  |  | 36Ar(a) [fA] | 37Ar(ca) [fA] | 38Ar(cl) [fA] | 39Ar(k) [fA] | 40Ar(r) [fA] | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  | (%) | (%)
21G21722 | 0.6 |  | 0.0077616 | 2.8283 | 0.021547 | 0.02946 | -0.067982 | -6.6968 | 22.9969 | -3.0223 | 0.11327 | 0.0044789 | 0.0026939
21G21723 | 0.7 |  | 0.0039733 | 2.5178 | 0.0057457 | 0.025451 | -0.071867 | -8.1979 | 24.9463 | -6.4488 | 0.097857 | 0.0043466 | 0.0030019
21G21725 | 0.8 |  | 0.006256 | 6.452 | 0.029194 | 0.045501 | -0.11199 | -7.1431 | 14.0343 | -6.3779 | 0.17495 | 0.0030325 | 0.0011366
21G21726 | 1 |  | 0.0064463 | 5.2208 | 0.0071438 | 0.038179 | 0.15486 | 11.7117 | 17.6702 | 7.447 | 0.1468 | 0.0031446 | 0.0015139
21G21728 | 1.2 |  | 0.0059001 | 10.5642 | 0.026643 | 0.074186 | 0.034503 | 1.3467 | 8.84 | 1.921 | 0.28524 | 0.0030196 | 0.00071525
21G21729 | 1.4 |  | 0.0031941 | 8.4408 | 0.020294 | 0.060853 | 0.11095 | 5.2739 | 10.5666 | 10.4219 | 0.23398 | 0.0031001 | 0.00090724
21G21731 | 1.6 |  | 0.0029203 | 14.8186 | 0.0061481 | 0.10368 | 0.47522 | 13.2287 | 6.4372 | 35.275 | 0.39865 | 0.0030086 | 0.00051125
21G21732 | 2 |  | 0.0038079 | 23.7589 | 0.0069079 | 0.15225 | 0.23037 | 4.3779 | 4.4279 | 16.848 | 0.58538 | 0.0027554 | 0.00030297
21G21734 | 2.8 |  | 0.012361 | 137.6813 | 0.0092614 | 0.81115 | 1.4647 | 5.2229 | 1.0899 | 28.4092 | 3.1189 | 0.0025334 | 5.8308e-05
21G21735 | 4 |  | 0.011194 | 277.8049 | 0 | 1.5987 | 3.0046 | 5.436 | 0.69617 | 47.3347 | 6.1469 | 0.0024745 | 3.3435e-05
21G21737 | 5.5 |  | 0.02265 | 562.5026 | 0 | 3.3093 | 6.2967 | 5.5033 | 0.4957 | 48.2101 | 12.7242 | 0.0025298 | 2.1162e-05
21G21738 | 7 | 4 | 0.022856 | 596.4491 | 0 | 3.7102 | 8.3358 | 6.4964 | 0.46601 | 54.9789 | 14.2657 | 0.0026748 | 2.1486e-05
21G21740 | 9 | 4 | 0.018485 | 566.8169 | 0 | 4.837 | 11.7768 | 7.0392 | 0.32737 | 68.0796 | 18.5979 | 0.0036694 | 2.735e-05
21G21741 | 11 | 4 | 0.018315 | 484.5848 | 0 | 3.335 | 8.0931 | 7.0161 | 0.43861 | 59.6698 | 12.8228 | 0.0029593 | 2.4834e-05
21G21743 | 14 |  | 0.018173 | 367.1025 | 0 | 2.6933 | 7.9267 | 8.5054 | 0.46383 | 59.3582 | 10.3557 | 0.0031548 | 2.8481e-05
21G21744 | 17 | 4 | 0.018564 | 193.2082 | 0 | 1.4721 | 3.4232 | 6.7238 | 0.64283 | 38.1783 | 5.66 | 0.0032762 | 4.4397e-05
21G21746 | 20 | 4 | 0.043477 | 120.1818 | 0 | 0.86618 | 1.8965 | 6.3314 | 1.0584 | 12.7475 | 3.3304 | 0.0030991 | 6.8604e-05
21G21747 | 24 | 4 | 0.0093137 | 147.1801 | 0 | 1.1735 | 2.7577 | 6.7945 | 0.73055 | 49.7862 | 4.5121 | 0.0034285 | 5.6568e-05
21G21749 | 28 | 4 | 0.0084916 | 77.9867 | 0 | 0.59539 | 1.3077 | 6.3514 | 1.4244 | 34.0262 | 2.2893 | 0.0032828 | 0.00010105
21G21750 | 32 | 4 | 0.0086917 | 73.4202 | 0 | 0.56357 | 1.2814 | 6.5746 | 1.3354 | 33.0544 | 2.1669 | 0.0033007 | 0.00010541
21G21752 | 36 | 4 | 0.0082614 | 66.2624 | 0 | 0.51316 | 1.4089 | 7.9355 | 1.5342 | 36.3512 | 1.9731 | 0.0033301 | 0.00012501
|  | S | 0.26109 | 3745.7829 | 0.13288 | 26.0081 | 59.728
Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  |  | (%,n)
Project = O-CONNOR (20-06) |  |  |  | Age Plateau |  | 2.3717 | 0.068247 | 6.8573 | 0.19768 | 1.0007 | 65.6181 | 0.0032245 | 0.00019015
Sample = SO80 69DS-1 | [6 empty] | 2.878% |  | 2.883% | 43.29% | 9
Material = Plagioclase |  |  |  | Full External Error |  |  |  |  | 0.40731 | 2 | 2σ Confidence Limit
Location = Crough Smt, 5th VER |  |  |  | Analytical Error |  |  |  |  | 0.19695 | 1.0004 | Error Magnification
Region = Easter Chain (Pacific)
Analyst = Daniel Heaton |  |  |  | Total Fusion Age |  | 2.2965 | 0.062025 | 6.6402 | 0.17977 |  | 21 | 0.0029856 | 1.1346e-05
Irradiation = 21-OSU-04 (4B24-21) | [6 empty] | 2.701% |  | 2.707%
J = 0.00158246 ± 0.00000196 |  |  |  | Full External Error |  |  |  |  | 0.38891
FCT-NM = 28.201 ± 0.023 Ma |  |  |  | Analytical Error |  |  |  |  | 0.17902

## Normal Isochron Table
Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i.
21G21722 | 0.6 |  | 3.7956 | 2.2979 | 289.8012 | 28.883 |  |  | 0.12616
21G21723 | 0.7 |  | 6.4054 | 4.5166 | 280.4727 | 51.1127 |  |  | 0.18431
21G21725 | 0.8 |  | 7.2732 | 2.8156 | 280.6595 | 32.9153 |  |  | 0.21979
21G21726 | 1 |  | 5.9227 | 2.9075 | 322.5829 | 36.599 |  |  | 0.18166
21G21728 | 1.2 |  | 12.5738 | 3.2927 | 304.4079 | 38.9498 |  |  | 0.37911
21G21729 | 1.4 |  | 19.0517 | 6.7521 | 333.297 | 75.101 |  |  | 0.50529
21G21731 | 1.6 |  | 35.5035 | 9.7677 | 461.2866 | 106.5862 |  |  | 0.73869
21G21732 | 2 |  | 39.9812 | 8.4301 | 359.0582 | 70.7078 |  |  | 0.78146
21G21734 | 2.8 |  | 65.6236 | 5.2573 | 417.0528 | 33.2935 |  |  | 0.92671
21G21735 | 4 |  | 142.8215 | 15.8202 | 566.9786 | 63.1764 |  |  | 0.98235
21G21737 | 5.5 |  | 146.1094 | 12.0423 | 576.5658 | 47.6519 |  |  | 0.99242
21G21738 | 7 | 4 | 162.3342 | 13.9948 | 663.2757 | 57.2753 |  |  | 0.99468
21G21740 | 9 | 4 | 261.6714 | 25.4053 | 935.6662 | 90.9459 |  |  | 0.99692
21G21741 | 11 | 4 | 182.0918 | 16.4414 | 740.4521 | 66.9857 |  |  | 0.99401
21G21743 | 14 |  | 148.2065 | 11.4068 | 734.7439 | 56.6536 |  |  | 0.99073
21G21744 | 17 | 4 | 79.2983 | 4.4819 | 482.9669 | 27.3131 |  |  | 0.95382
21G21746 | 20 | 4 | 19.9225 | 0.61928 | 342.181 | 8.155 |  |  | 0.69525
21G21747 | 24 | 4 | 125.9981 | 12.5281 | 594.653 | 59.576 |  |  | 0.96899
21G21749 | 28 | 4 | 70.1156 | 7.7586 | 452.5649 | 49.8673 |  |  | 0.92991
21G21750 | 32 | 4 | 64.8405 | 6.1788 | 445.9937 | 42.0442 |  |  | 0.90192
21G21752 | 36 | 4 | 62.1158 | 6.5853 | 469.0954 | 48.4165 |  |  | 0.90226
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Normal Isochron |  |  | 294.2509 | 7.8079 | 2.3961 | 0.092608 | 6.9277 | 0.26779 | 0.96656
|  |  |  | 2.653% |  | 3.865% |  | 3.865% | 45.37%
Full External Error | [7 empty] | 0.4485
Analytical Error | [7 empty] | 0.26724
Statistics |  |  | 2σ Confidence Limit | 2.069 |  | Convergence | 1.9994e-05
|  |  | Error Magnification | 1 |  | Number of Iterations | 24
|  |  | Number of Data Points | 9 |  | Calculated Line | Weighted York-2

## Inverse Isochron Table
Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i.
21G21722 | 0.6 |  | 0.013097 | 0.0078719 | 0.0034506 | 0.00034391 |  |  | 0.038737
21G21723 | 0.7 |  | 0.022838 | 0.015873 | 0.0035654 | 0.00064975 |  |  | 0.075214
21G21725 | 0.8 |  | 0.025915 | 0.0098221 | 0.003563 | 0.00041787 |  |  | 0.084941
21G21726 | 1 |  | 0.01836 | 0.0088744 | 0.0031 | 0.00035171 |  |  | 0.050232
21G21728 | 1.2 |  | 0.041306 | 0.010079 | 0.0032851 | 0.00042033 |  |  | 0.11751
21G21729 | 1.4 |  | 0.057161 | 0.017681 | 0.0030003 | 0.00067606 |  |  | 0.14952
21G21731 | 1.6 |  | 0.076966 | 0.014433 | 0.0021678 | 0.00050091 |  |  | 0.14844
21G21732 | 2 |  | 0.11135 | 0.015081 | 0.0027851 | 0.00054845 |  |  | 0.23741
21G21734 | 2.8 |  | 0.15735 | 0.0048178 | 0.0023978 | 0.00019142 |  |  | 0.18253
21G21735 | 4 |  | 0.2519 | 0.0052613 | 0.0017637 | 0.00019653 |  |  | 0.1251
21G21737 | 5.5 |  | 0.25341 | 0.0025751 | 0.0017344 | 0.00014334 |  |  | 0.08389
21G21738 | 7 | 4 | 0.24475 | 0.0021778 | 0.0015077 | 0.00013019 |  |  | 0.067523
21G21740 | 9 | 4 | 0.27966 | 0.0021335 | 0.0010688 | 0.00010388 |  |  | 0.053717
21G21741 | 11 | 4 | 0.24592 | 0.002433 | 0.0013505 | 0.00012218 |  |  | 0.072269
21G21743 | 14 |  | 0.20171 | 0.002116 | 0.001361 | 0.00010494 |  |  | 0.081481
21G21744 | 17 | 4 | 0.16419 | 0.002821 | 0.0020705 | 0.00011709 |  |  | 0.15386
21G21746 | 20 | 4 | 0.058222 | 0.0013072 | 0.0029224 | 6.9648e-05 |  |  | 0.098913
21G21747 | 24 | 4 | 0.21189 | 0.0052692 | 0.0016817 | 0.00016848 |  |  | 0.15436
21G21749 | 28 | 4 | 0.15493 | 0.0064056 | 0.0022096 | 0.00024347 |  |  | 0.1763
21G21750 | 32 | 4 | 0.14538 | 0.0061046 | 0.0022422 | 0.00021137 |  |  | 0.19825
21G21752 | 36 | 4 | 0.13242 | 0.0061354 | 0.0021318 | 0.00022002 |  |  | 0.16313
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Inverse Isochron |  |  | 294.1488 | 7.774 | 2.4073 | 0.091165 | 6.9599 | 0.26364 | 0.97105
|  |  |  | 2.643% |  | 3.787% |  | 3.788% | 45.03%
Full External Error | [7 empty] | 0.44738
Analytical Error | [7 empty] | 0.26307
Statistics |  |  | 2σ Confidence Limit | 2.069 |  | Convergence | 1.7879e-05
|  |  | Error Magnification | 1 |  | Number of Iterations | 3
|  |  | Number of Data Points | 9 |  | Calculated Line | Weighted York-2
|  |  | Spreading Factor | 53.31%

## Degassing Patterns
Degassing Patterns |  |  | 36Ar(a) [fA] | %1s | 36Ar(c) [fA] | %1s | 36Ar(ca) [fA] | %1s | 36Ar(cl) [fA] | %1s | 37Ar(ca) [fA] | %1s | 38Ar(a) [fA] | %1s | 38Ar(c) [fA] | %1s | 38Ar(k) [fA] | %1s | 38Ar(ca) [fA] | %1s | 38Ar(cl) [fA] | %1s | 39Ar(k) [fA] | %1s | 39Ar(ca) [fA] | %1s | 40Ar(r) [fA] | %1s | 40Ar(a) [fA] | %1s | 40Ar(c) [fA] | %1s | 40Ar(k) [fA] | %1s
21G21722 | 0.6 |  | 0.0077616 | 4.3625 | 0 | 0 | 0.00076448 | 2.6647 | 3.4978e-06 | 40.3261 | 2.8283 | 2.6592 | 0.0014631 | 4.3654 | 0 | 0 | 0.00035578 | 29.9555 | 0.00050909 | 9.9904 | 0.021547 | 40.3365 | 0.02946 | 29.9554 | 0.0018172 | 2.8139 | -0.067982 | 168.749 | 2.3173 | 4.3638 | 0 | 0 | 1.7882e-05 | 31.4714
21G21723 | 0.7 |  | 0.0039733 | 7.6948 | 0 | 0 | 0.00068056 | 2.9478 | 9.3278e-07 | 158.2474 | 2.5178 | 2.9429 | 0.00074897 | 7.6965 | 0 | 0 | 0.00030737 | 34.4066 | 0.00045321 | 10.0696 | 0.0057457 | 158.2501 | 0.025451 | 34.4065 | 0.0016177 | 3.0833 | -0.071867 | 147.8598 | 1.1863 | 7.6955 | 0 | 0 | 1.5449e-05 | 35.7341
21G21725 | 0.8 |  | 0.006256 | 4.9946 | 0 | 0 | 0.001744 | 1.238 | 4.74e-06 | 28.684 | 6.452 | 1.2262 | 0.0011793 | 4.9971 | 0 | 0 | 0.00054952 | 18.7005 | 0.0011614 | 9.7078 | 0.029194 | 28.6987 | 0.045501 | 18.7003 | 0.0041454 | 1.533 | -0.11199 | 96.2451 | 1.8678 | 4.9957 | 0 | 0 | 2.7619e-05 | 21.0434
21G21726 | 1 |  | 0.0064463 | 5.0293 | 0 | 0 | 0.0014112 | 1.5062 | 1.16e-06 | 127.36 | 5.2208 | 1.4965 | 0.0012151 | 5.0318 | 0 | 0 | 0.00046109 | 24.0248 | 0.00093974 | 9.7456 | 0.0071438 | 127.3634 | 0.038179 | 24.0246 | 0.0033543 | 1.7567 | 0.15486 | 71.7657 | 1.9246 | 5.0304 | 0 | 0 | 2.3175e-05 | 25.8903
21G21728 | 1.2 |  | 0.0059001 | 5.6354 | 0 | 0 | 0.0028555 | 0.77942 | 4.3268e-06 | 33.0146 | 10.5642 | 0.76065 | 0.0011122 | 5.6376 | 0 | 0 | 0.00089595 | 11.8192 | 0.0019016 | 9.66 | 0.026643 | 33.0274 | 0.074186 | 11.8188 | 0.0067875 | 1.1937 | 0.034503 | 328.114 | 1.7615 | 5.6363 | 0 | 0 | 4.5031e-05 | 15.258
21G21729 | 1.4 |  | 0.0031941 | 10.0438 | 0 | 0 | 0.0022815 | 1.0034 | 3.2958e-06 | 41.4638 | 8.4408 | 0.98885 | 0.00060209 | 10.0451 | 0 | 0 | 0.00073492 | 14.5995 | 0.0015193 | 9.6806 | 0.020294 | 41.474 | 0.060853 | 14.5992 | 0.0054232 | 1.3506 | 0.11095 | 99.254 | 0.95363 | 10.0444 | 0 | 0 | 3.6938e-05 | 17.5003
21G21731 | 1.6 |  | 0.0029203 | 10.8349 | 0 | 0 | 0.0040055 | 0.62218 | 9.9861e-07 | 145.1399 | 14.8186 | 0.5985 | 0.00055048 | 10.8361 | 0 | 0 | 0.0012522 | 8.4758 | 0.0026673 | 9.6486 | 0.0061481 | 145.1428 | 0.10368 | 8.4753 | 0.0095209 | 1.0975 | 0.47522 | 22.9004 | 0.8719 | 10.8354 | 0 | 0 | 6.2935e-05 | 12.8434
21G21732 | 2 |  | 0.0038079 | 9.0067 | 0 | 0 | 0.006422 | 0.47621 | 1.1221e-06 | 124.8156 | 23.7589 | 0.44483 | 0.0007178 | 9.0081 | 0 | 0 | 0.0018387 | 5.4804 | 0.0042766 | 9.6403 | 0.0069079 | 124.8189 | 0.15225 | 5.4797 | 0.015265 | 1.0219 | 0.23037 | 50.3337 | 1.1369 | 9.0073 | 0 | 0 | 9.2413e-05 | 11.0973
21G21734 | 2.8 |  | 0.012361 | 3.8493 | 0 | 0 | 0.037215 | 0.35345 | 1.5046e-06 | 101.0781 | 137.6813 | 0.30988 | 0.00233 | 3.8526 | 0 | 0 | 0.0097963 | 1.1119 | 0.024783 | 9.635 | 0.0092614 | 101.0823 | 0.81115 | 1.1083 | 0.08846 | 0.97079 | 1.4647 | 10.39 | 3.6904 | 3.8507 | 0 | 0 | 0.00049237 | 9.7134
21G21735 | 4 |  | 0.011194 | 5.5056 | 0 | 0 | 0.075091 | 0.3501 | 0 | 0 | 277.8049 | 0.30605 | 0.00211 | 5.5079 | 0 | 0 | 0.019307 | 0.60898 | 0.050005 | 9.6349 | 0 | 0 | 1.5987 | 0.60229 | 0.17849 | 0.96957 | 3.0046 | 6.3846 | 3.342 | 5.5066 | 0 | 0 | 0.0009704 | 9.6688
21G21737 | 5.5 |  | 0.02265 | 4.111 | 0 | 0 | 0.15204 | 0.34903 | 0 | 0 | 562.5026 | 0.30483 | 0.0042695 | 4.1141 | 0 | 0 | 0.039967 | 0.3002 | 0.10125 | 9.6348 | 0 | 0 | 3.3093 | 0.28639 | 0.36141 | 0.96919 | 6.2967 | 4.5013 | 6.7623 | 4.1123 | 0 | 0 | 0.0020088 | 9.6542
21G21738 | 7 | 4 | 0.022856 | 4.3026 | 0 | 0 | 0.16122 | 0.34925 | 0 | 0 | 596.4491 | 0.30508 | 0.0043083 | 4.3055 | 0 | 0 | 0.044808 | 0.2763 | 0.10736 | 9.6348 | 0 | 0 | 3.7102 | 0.26123 | 0.38322 | 0.96926 | 8.3358 | 3.5835 | 6.8237 | 4.3038 | 0 | 0 | 0.0022521 | 9.6535
21G21740 | 9 | 4 | 0.018485 | 4.8497 | 0 | 0 | 0.15321 | 0.3491 | 0 | 0 | 566.8169 | 0.30491 | 0.0034844 | 4.8523 | 0 | 0 | 0.058416 | 0.23241 | 0.10203 | 9.6348 | 0 | 0 | 4.837 | 0.21427 | 0.36418 | 0.96921 | 11.7768 | 2.3199 | 5.5188 | 4.8508 | 0 | 0 | 0.002936 | 9.6524
21G21741 | 11 | 4 | 0.018315 | 4.5054 | 0 | 0 | 0.13098 | 0.34923 | 0 | 0 | 484.5848 | 0.30506 | 0.0034523 | 4.5082 | 0 | 0 | 0.040276 | 0.30181 | 0.087225 | 9.6348 | 0 | 0 | 3.335 | 0.28808 | 0.31135 | 0.96926 | 8.0931 | 3.1185 | 5.468 | 4.5066 | 0 | 0 | 0.0020243 | 9.6543
21G21743 | 14 |  | 0.018173 | 3.8339 | 0 | 0 | 0.099228 | 0.34974 | 0 | 0 | 367.1025 | 0.30565 | 0.0034256 | 3.8372 | 0 | 0 | 0.032527 | 0.34415 | 0.066078 | 9.6348 | 0 | 0 | 2.6933 | 0.33218 | 0.23586 | 0.96944 | 7.9267 | 2.7128 | 5.4257 | 3.8353 | 0 | 0 | 0.0016349 | 9.6557
21G21744 | 17 | 4 | 0.018564 | 2.7608 | 0 | 0 | 0.052224 | 0.35178 | 0 | 0 | 193.2082 | 0.30797 | 0.0034992 | 2.7653 | 0 | 0 | 0.017778 | 0.61021 | 0.034777 | 9.6349 | 0 | 0 | 1.4721 | 0.60353 | 0.12414 | 0.97018 | 3.4232 | 4.7508 | 5.5423 | 2.7627 | 0 | 0 | 0.00089354 | 9.6689
21G21746 | 20 | 4 | 0.043477 | 1.1347 | 0 | 0 | 0.032485 | 0.35499 | 0 | 0 | 120.1818 | 0.31163 | 0.0081954 | 1.1458 | 0 | 0 | 0.010461 | 1.0659 | 0.021633 | 9.635 | 0 | 0 | 0.86618 | 1.0621 | 0.077217 | 0.97135 | 1.8965 | 8.3048 | 12.9805 | 1.1395 | 0 | 0 | 0.00052577 | 9.7083
21G21747 | 24 | 4 | 0.0093137 | 4.9124 | 0 | 0 | 0.039783 | 0.3533 | 0 | 0 | 147.1801 | 0.30972 | 0.0017556 | 4.915 | 0 | 0 | 0.014172 | 0.76989 | 0.026492 | 9.635 | 0 | 0 | 1.1735 | 0.76462 | 0.094563 | 0.97073 | 2.7577 | 5.3315 | 2.7807 | 4.9135 | 0 | 0 | 0.00071232 | 9.6802
21G21749 | 28 | 4 | 0.0084916 | 5.3241 | 0 | 0 | 0.02108 | 0.3636 | 0 | 0 | 77.9867 | 0.32141 | 0.0016007 | 5.3264 | 0 | 0 | 0.0071905 | 1.5079 | 0.014038 | 9.6354 | 0 | 0 | 0.59539 | 1.5052 | 0.050106 | 0.97453 | 1.3077 | 11.1316 | 2.5352 | 5.3251 | 0 | 0 | 0.0003614 | 9.7667
21G21750 | 32 | 4 | 0.0086917 | 4.5006 | 0 | 0 | 0.019845 | 0.36408 | 0 | 0 | 73.4202 | 0.32196 | 0.0016384 | 4.5034 | 0 | 0 | 0.0068063 | 1.5665 | 0.013216 | 9.6354 | 0 | 0 | 0.56357 | 1.564 | 0.047172 | 0.97471 | 1.2814 | 10.0529 | 2.595 | 4.5018 | 0 | 0 | 0.00034209 | 9.7759
21G21752 | 36 | 4 | 0.0082614 | 4.9681 | 0 | 0 | 0.017911 | 0.36746 | 0 | 0 | 66.2624 | 0.32577 | 0.0015573 | 4.9706 | 0 | 0 | 0.0061975 | 1.8507 | 0.011927 | 9.6355 | 0 | 0 | 0.51316 | 1.8485 | 0.042574 | 0.97597 | 1.4089 | 9.51 | 2.4665 | 4.9692 | 0 | 0 | 0.00031149 | 9.8254
|  | S | 0.26109 | 0.976 | 0 | 0 | 1.0125 | 0.11633 | 2.1578e-05 | 19.9234 | 3745.7829 | 0.1017 | 0.049216 | 0.97696 | 0 | 0 | 0.3141 | 0.16329 | 0.67424 | 3.2018 | 0.13288 | 19.9255 | 26.0081 | 0.16052 | 2.4067 | 0.3222 | 59.728 | 1.3408 | 77.9512 | 0.97641 | 0 | 0 | 0.015787 | 3.2169
|  | S | [6 empty] | 1.2736 | 0.22042 | 3745.7829 | 0.1017 | [8 empty] | 1.1704 | 2.9195 |  |  | 28.4147 | 0.14943 | [6 empty] | 137.6949 | 0.80238

## Additional Parameters
Additional Parameters |  |  | 40Ar/39Ar | 1s | 37Ar/39Ar | 1s | 36Ar/39Ar | 1s | Time (days) | 37Ar (decay) | 39Ar (decay) | 40Ar (moles)
21G21722 | 0.6 |  | 71.9171 | 20.3649 | 90.4271 | 25.6266 | 0.27271 | 0.0777 | 99.9611 | 7.2203 | 1.0007 | 9.6047e-14
21G21723 | 0.7 |  | 41.1707 | 13.4693 | 93.0167 | 30.2149 | 0.17197 | 0.05676 | 99.9674 | 7.2212 | 1.0007 | 4.7586e-14
21G21725 | 0.8 |  | 35.3668 | 6.1579 | 129.9592 | 22.3298 | 0.16123 | 0.028337 | 99.9799 | 7.223 | 1.0007 | 7.4974e-14
21G21726 | 1 |  | 50.0674 | 11.1346 | 125.6996 | 27.8231 | 0.18921 | 0.042505 | 99.9861 | 7.2239 | 1.0007 | 8.8794e-14
21G21728 | 1.2 |  | 22.1809 | 2.4939 | 130.4643 | 14.1611 | 0.10818 | 0.012409 | 99.9993 | 7.2258 | 1.0007 | 7.6692e-14
21G21729 | 1.4 |  | 16.0634 | 2.304 | 127.3572 | 17.1175 | 0.082668 | 0.012087 | 100.0056 | 7.2267 | 1.0007 | 4.5459e-14
21G21731 | 1.6 |  | 11.9005 | 1.0397 | 130.9024 | 10.1908 | 0.061189 | 0.0055065 | 100.0181 | 7.2284 | 1.0007 | 5.7524e-14
21G21732 | 2 |  | 8.1628 | 0.52026 | 141.8347 | 7.0907 | 0.061077 | 0.0036617 | 100.025 | 7.2294 | 1.0007 | 5.8387e-14
21G21734 | 2.8 |  | 5.7309 | 0.08314 | 153.0449 | 1.5946 | 0.05511 | 0.00074757 | 100.0375 | 7.2312 | 1.0007 | 2.2014e-13
21G21735 | 4 |  | 3.5717 | 0.035925 | 156.3178 | 0.96073 | 0.048551 | 0.00040661 | 100.0438 | 7.2321 | 1.0007 | 2.7104e-13
21G21737 | 5.5 |  | 3.5582 | 0.017199 | 153.2396 | 0.59444 | 0.047591 | 0.00023766 | 100.0563 | 7.2339 | 1.0007 | 5.5771e-13
21G21738 | 7 | 4 | 3.7039 | 0.015605 | 145.7082 | 0.54694 | 0.044968 | 0.00022014 | 100.0625 | 7.2348 | 1.0007 | 6.4741e-13
21G21740 | 9 | 4 | 3.3259 | 0.012204 | 108.9793 | 0.39001 | 0.033011 | 0.00015152 | 100.0757 | 7.2367 | 1.0007 | 7.3865e-13
21G21741 | 11 | 4 | 3.7197 | 0.017614 | 132.8976 | 0.52429 | 0.040945 | 0.00021439 | 100.0819 | 7.2376 | 1.0007 | 5.7915e-13
21G21743 | 14 |  | 4.5589 | 0.022882 | 125.3256 | 0.53262 | 0.04008 | 0.00023779 | 100.0944 | 7.2394 | 1.0007 | 5.7022e-13
21G21744 | 17 | 4 | 5.6174 | 0.046246 | 121.0431 | 0.76454 | 0.044348 | 0.00038685 | 100.1007 | 7.2403 | 1.0007 | 3.8287e-13
21G21746 | 20 | 4 | 15.7703 | 0.16365 | 127.3932 | 1.3002 | 0.08052 | 0.00093325 | 100.1132 | 7.242 | 1.0007 | 6.3527e-13
21G21747 | 24 | 4 | 4.3682 | 0.05272 | 116.0665 | 0.89256 | 0.038718 | 0.00043837 | 100.1201 | 7.243 | 1.0007 | 2.3652e-13
21G21749 | 28 | 4 | 5.9541 | 0.11803 | 120.8165 | 1.7193 | 0.045812 | 0.00093796 | 100.1326 | 7.2448 | 1.0007 | 1.6411e-13
21G21750 | 32 | 4 | 6.3476 | 0.12756 | 120.2141 | 1.7752 | 0.046725 | 0.0009218 | 100.1389 | 7.2457 | 1.0007 | 1.6554e-13
21G21752 | 36 | 4 | 6.974 | 0.15371 | 119.2337 | 2.07 | 0.047095 | 0.0010846 | 100.1514 | 7.2475 | 1.0007 | 1.6549e-13

## Procedure Blanks
Procedure Blanks |  | 36Ar ± 1σ (SE) [fA] |  | 37Ar ± 1σ (SE) [fA] |  | 38Ar ± 1σ (SE) [fA] |  | 39Ar ± 1σ (SE) [fA] |  | 40Ar ± 1σ (SE) [fA]
21G21722 | 0.6 | 0.0079873 | 0.00021865 | -0.013165 | 0.0081206 | -0.0077528 | 0.0060805 | 0.022276 | 0.0061631 | 2.0604 | 0.05207
21G21723 | 0.7 | 0.0079634 | 0.00021865 | -0.01214 | 0.0081206 | -0.0096257 | 0.0060805 | 0.021439 | 0.0061631 | 2.0278 | 0.05207
21G21725 | 0.8 | 0.0079599 | 0.00021865 | -0.0097106 | 0.0081206 | -0.012023 | 0.0060805 | 0.021612 | 0.0061631 | 1.9842 | 0.05207
21G21726 | 1 | 0.0079744 | 0.00021865 | -0.0083457 | 0.0081206 | -0.012654 | 0.0060805 | 0.022388 | 0.0061631 | 1.9712 | 0.05207
21G21728 | 1.2 | 0.0080264 | 0.00021865 | -0.0052415 | 0.0081206 | -0.013011 | 0.0060805 | 0.024961 | 0.0061631 | 1.9582 | 0.05207
21G21729 | 1.4 | 0.0080567 | 0.00021865 | -0.003705 | 0.0081206 | -0.012808 | 0.0060805 | 0.026432 | 0.0061631 | 1.9571 | 0.05207
21G21731 | 1.6 | 0.0081192 | 0.00021865 | -0.00059612 | 0.0081206 | -0.011873 | 0.0060805 | 0.029473 | 0.0061631 | 1.9614 | 0.05207
21G21732 | 2 | 0.0081521 | 0.00021865 | 0.0011108 | 0.0081206 | -0.011122 | 0.0060805 | 0.031072 | 0.0061631 | 1.9661 | 0.05207
21G21734 | 2.8 | 0.0082037 | 0.00021865 | 0.0040581 | 0.0081206 | -0.0094917 | 0.0060805 | 0.033533 | 0.0061631 | 1.9762 | 0.05207
21G21735 | 4 | 0.0082249 | 0.00021865 | 0.0054383 | 0.0081206 | -0.0085831 | 0.0060805 | 0.03449 | 0.0061631 | 1.9812 | 0.05207
21G21737 | 5.5 | 0.008258 | 0.00021865 | 0.007934 | 0.0081206 | -0.0066527 | 0.0060805 | 0.03575 | 0.0061631 | 1.9897 | 0.05207
21G21738 | 7 | 0.0082709 | 0.00021865 | 0.0090197 | 0.0081206 | -0.0056494 | 0.0060805 | 0.036038 | 0.0061631 | 1.9928 | 0.05207
21G21740 | 9 | 0.0082944 | 0.00021865 | 0.010876 | 0.0081206 | -0.0034691 | 0.0060805 | 0.035927 | 0.0061631 | 1.9964 | 0.05207
21G21741 | 11 | 0.0083065 | 0.00021865 | 0.011519 | 0.0081206 | -0.0024032 | 0.0060805 | 0.035575 | 0.0061631 | 1.9968 | 0.05207
21G21743 | 14 | 0.0083413 | 0.00021865 | 0.012284 | 0.0081206 | -0.00017051 | 0.0060805 | 0.034461 | 0.0061631 | 1.9953 | 0.05207
21G21744 | 17 | 0.0083682 | 0.00021865 | 0.01238 | 0.0081206 | 0.0010217 | 0.0060805 | 0.033791 | 0.0061631 | 1.9939 | 0.05207
21G21746 | 20 | 0.0084534 | 0.00021865 | 0.011939 | 0.0081206 | 0.0036487 | 0.0060805 | 0.032524 | 0.0061631 | 1.9914 | 0.05207
21G21747 | 24 | 0.008526 | 0.00021865 | 0.011302 | 0.0081206 | 0.0053038 | 0.0060805 | 0.032036 | 0.0061631 | 1.9911 | 0.05207
21G21749 | 28 | 0.0087196 | 0.00021865 | 0.009392 | 0.0081206 | 0.0087896 | 0.0060805 | 0.032004 | 0.0061631 | 1.9951 | 0.05207
21G21750 | 32 | 0.0088547 | 0.00021865 | 0.008048 | 0.0081206 | 0.010848 | 0.0060805 | 0.032603 | 0.0061631 | 2.0006 | 0.05207
21G21752 | 36 | 0.0092222 | 0.00021865 | 0.0045335 | 0.0081206 | 0.015796 | 0.0060805 | 0.035601 | 0.0061631 | 2.022 | 0.05207

## Intercept Values
Intercept Values |  | 36Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 37Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 38Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 39Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 40Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n)
21G21722 | 0.6 | 0.016285 | 0.00024527 | 0.86947 | EXP | 150 of 150 | 0.37334 | 0.0061901 | 0.18535 | EXP | 149 of 150 | 0.015911 | 0.0060936 | 0.017268 | EXP | 150 of 150 | 0.053392 | 0.0062524 | 0.14986 | EXP | 150 of 150 | 4.3097 | 0.014958 | 0.99685 | EXP | 149 of 150
21G21723 | 0.7 | 0.012492 | 0.00020059 | 0.88299 | EXP | 150 of 150 | 0.3319 | 0.0059558 | 0.28632 | EXP | 149 of 150 | -0.0024348 | 0.0066496 | 0.0022981 | EXP | 149 of 150 | 0.048369 | 0.006157 | 0.16463 | EXP | 150 of 150 | 3.1422 | 0.015698 | 0.99502 | EXP | 150 of 150
21G21725 | 0.8 | 0.015747 | 0.00020982 | 0.91646 | EXP | 150 of 150 | 0.87168 | 0.0066107 | 0.61601 | EXP | 150 of 150 | 0.019776 | 0.0056396 | 0.0057989 | EXP | 149 of 150 | 0.071004 | 0.0058027 | 0.2645 | EXP | 150 of 150 | 3.74 | 0.014096 | 0.99771 | EXP | 149 of 150
21G21726 | 1 | 0.01562 | 0.00022609 | 0.85043 | EXP | 150 of 150 | 0.70476 | 0.0065768 | 0.51269 | EXP | 149 of 150 | -0.0029808 | 0.0066567 | 0.0052197 | EXP | 150 of 150 | 0.063708 | 0.0067294 | 0.11731 | EXP | 150 of 150 | 4.0507 | 0.016328 | 0.99458 | EXP | 150 of 150
21G21728 | 1.2 | 0.016549 | 0.00023705 | 0.85768 | EXP | 150 of 150 | 1.4373 | 0.0059382 | 0.86542 | EXP | 149 of 150 | 0.017271 | 0.0062384 | 0.032654 | EXP | 150 of 150 | 0.10552 | 0.0061724 | 0.10747 | EXP | 150 of 150 | 3.7542 | 0.01573 | 0.99599 | EXP | 150 of 150
21G21729 | 1.4 | 0.013387 | 0.00022145 | 0.84232 | EXP | 150 of 150 | 1.1488 | 0.0071886 | 0.70494 | EXP | 150 of 150 | 0.010137 | 0.0057012 | 0.015142 | EXP | 150 of 150 | 0.092368 | 0.0063348 | 0.053125 | EXP | 150 of 150 | 3.0217 | 0.015535 | 0.99402 | EXP | 149 of 150
21G21731 | 1.6 | 0.014858 | 0.00021509 | 0.85857 | EXP | 150 of 150 | 2.0222 | 0.0065465 | 0.89638 | EXP | 150 of 150 | -0.0013487 | 0.0064155 | 0.0041442 | EXP | 149 of 150 | 0.1421 | 0.0061993 | 0.011726 | EXP | 150 of 150 | 3.3086 | 0.014377 | 0.99534 | EXP | 150 of 150
21G21732 | 2 | 0.018106 | 0.00024983 | 0.76048 | EXP | 150 of 150 | 3.2439 | 0.0067129 | 0.95629 | EXP | 149 of 150 | 0.002497 | 0.0059888 | 2.1553e-05 | EXP | 150 of 150 | 0.19772 | 0.0055565 | 0.011661 | EXP | 148 of 150 | 3.3335 | 0.015745 | 0.99457 | EXP | 150 of 150
21G21734 | 2.8 | 0.056436 | 0.00038072 | 0.35533 | EXP | 150 of 150 | 18.7909 | 0.0080326 | 0.99808 | EXP | 150 of 150 | 0.036269 | 0.0065932 | 0.011033 | EXP | 150 of 150 | 0.92853 | 0.0064165 | 0.42398 | EXP | 150 of 150 | 7.1317 | 0.015897 | 0.99556 | EXP | 150 of 150
21G21735 | 4 | 0.092168 | 0.00048032 | 0.10668 | EXP | 149 of 150 | 37.9077 | 0.011195 | 0.9991 | EXP | 150 of 150 | 0.031169 | 0.0066603 | 3.1097e-06 | EXP | 150 of 150 | 1.8026 | 0.007099 | 0.78301 | EXP | 150 of 150 | 8.3287 | 0.014845 | 0.9936 | EXP | 150 of 150
21G21737 | 5.5 | 0.17821 | 0.00066524 | 0.65865 | EXP | 150 of 150 | 76.7339 | 0.016338 | 0.99953 | EXP | 150 of 150 | 0.058958 | 0.006437 | 0.0019807 | EXP | 150 of 150 | 3.6877 | 0.0060819 | 0.96484 | EXP | 150 of 150 | 15.0507 | 0.017102 | 0.98475 | EXP | 150 of 150
21G21738 | 7 | 0.18735 | 0.00070474 | 0.73679 | EXP | 150 of 150 | 81.3553 | 0.020009 | 0.99938 | EXP | 149 of 150 | 0.057511 | 0.0057667 | 0.00057212 | EXP | 150 of 150 | 4.1085 | 0.0062542 | 0.97212 | EXP | 145 of 150 | 17.1546 | 0.016417 | 0.97348 | EXP | 150 of 150
21G21740 | 9 | 0.17533 | 0.00061687 | 0.72337 | EXP | 150 of 150 | 77.2956 | 0.016736 | 0.99952 | EXP | 149 of 150 | 0.083721 | 0.006518 | 0.062392 | EXP | 149 of 150 | 5.2104 | 0.00724 | 0.97663 | EXP | 150 of 150 | 19.295 | 0.016351 | 0.9453 | EXP | 150 of 150
21G21741 | 11 | 0.15355 | 0.00059333 | 0.59044 | EXP | 150 of 150 | 66.0758 | 0.014951 | 0.99948 | EXP | 150 of 150 | 0.054347 | 0.0057589 | 0.0035039 | EXP | 150 of 150 | 3.6632 | 0.0065265 | 0.96278 | EXP | 147 of 150 | 15.5599 | 0.0162 | 0.9731 | EXP | 150 of 150
21G21743 | 14 | 0.12256 | 0.00051853 | 0.46711 | EXP | 150 of 150 | 50.0477 | 0.013587 | 0.99924 | EXP | 150 of 150 | 0.042169 | 0.0060383 | 0.01975 | EXP | 150 of 150 | 2.9486 | 0.0059099 | 0.94845 | EXP | 150 of 150 | 15.3493 | 0.015041 | 0.97234 | EXP | 148 of 150
21G21744 | 17 | 0.077235 | 0.00039797 | 0.016963 | EXP | 147 of 150 | 26.3431 | 0.010087 | 0.99853 | EXP | 149 of 150 | 0.027112 | 0.0062759 | 6.4373e-06 | EXP | 150 of 150 | 1.6218 | 0.006194 | 0.819 | EXP | 150 of 150 | 10.9604 | 0.017112 | 0.98 | EXP | 150 of 150
21G21746 | 20 | 0.082354 | 0.0003974 | 0.29777 | EXP | 146 of 150 | 16.3864 | 0.0076928 | 0.99779 | EXP | 148 of 150 | 0.021391 | 0.0056671 | 0.0051416 | EXP | 150 of 150 | 0.97108 | 0.0067158 | 0.4687 | EXP | 150 of 150 | 16.869 | 0.01474 | 0.94572 | EXP | 145 of 150
21G21747 | 24 | 0.05629 | 0.00035579 | 0.026093 | EXP | 150 of 150 | 20.0615 | 0.0085606 | 0.99821 | EXP | 149 of 150 | 0.020442 | 0.0068537 | 0.00038805 | EXP | 150 of 150 | 1.2936 | 0.0063762 | 0.71972 | EXP | 147 of 150 | 7.5302 | 0.015422 | 0.98939 | EXP | 150 of 150
21G21749 | 28 | 0.037489 | 0.00037183 | 0.21222 | EXP | 150 of 150 | 10.6308 | 0.0074956 | 0.99473 | EXP | 150 of 150 | 0.014199 | 0.0063727 | 0.0013719 | EXP | 150 of 150 | 0.67419 | 0.00642 | 0.2277 | EXP | 150 of 150 | 5.8385 | 0.015944 | 0.9898 | EXP | 150 of 150
21G21750 | 32 | 0.036617 | 0.00030064 | 0.35231 | EXP | 150 of 150 | 10.0063 | 0.0067592 | 0.99531 | EXP | 150 of 150 | 0.022256 | 0.0062644 | 0.0010773 | EXP | 150 of 150 | 0.64021 | 0.0062169 | 0.24179 | EXP | 150 of 150 | 5.8774 | 0.015385 | 0.99036 | EXP | 150 of 150
21G21752 | 36 | 0.034684 | 0.00032573 | 0.31783 | EXP | 150 of 150 | 9.0258 | 0.0066983 | 0.9945 | EXP | 150 of 150 | 0.0079504 | 0.0060209 | 0.015978 | EXP | 148 of 150 | 0.58848 | 0.0071316 | 0.17381 | EXP | 150 of 150 | 5.8977 | 0.014755 | 0.99041 | EXP | 150 of 150

## Project Info
Project Info |  | Analyst | Irradiation | X-pos | Y-pos | Z/H-pos | Project | Experiment | Nmb
21G21722 | 0.6 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21723 | 0.7 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21725 | 0.8 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21726 | 1 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21728 | 1.2 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21729 | 1.4 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21731 | 1.6 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21732 | 2 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21734 | 2.8 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21735 | 4 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21737 | 5.5 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21738 | 7 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21740 | 9 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21741 | 11 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21743 | 14 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21744 | 17 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21746 | 20 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21747 | 24 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21749 | 28 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21750 | 32 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1
21G21752 | 36 | Daniel Heaton | 21-OSU-04 | 0 | 0 | 44.9417 | Easter\O-Connor (20-06) | 21G21719 | 1

## Sample Parameters
Sample Parameters |  | Sample | Material | Location | Standard Name | Standard | %1s | Standard Reference | Standard 40Ar/39Ar | %1s | J | %1s | Air 40Ar/36Ar | %1s | MDF (lin) | %1s | Volume Ratio | Sensitivity | Day | Month | Year | Hour | Min | Resist
[6 empty] | (in Ma) | [11 empty] | (mol/volt)
21G21722 | 0.6 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 14 | 35 | 1
21G21723 | 0.7 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 14 | 44 | 1
21G21725 | 0.8 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 15 | 2 | 1
21G21726 | 1 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 15 | 11 | 1
21G21728 | 1.2 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 15 | 30 | 1
21G21729 | 1.4 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 15 | 39 | 1
21G21731 | 1.6 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 15 | 57 | 1
21G21732 | 2 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 16 | 7 | 1
21G21734 | 2.8 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 16 | 25 | 1
21G21735 | 4 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 16 | 34 | 1
21G21737 | 5.5 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 16 | 52 | 1
21G21738 | 7 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 17 | 1 | 1
21G21740 | 9 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 17 | 20 | 1
21G21741 | 11 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 17 | 29 | 1
21G21743 | 14 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 17 | 47 | 1
21G21744 | 17 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 17 | 56 | 1
21G21746 | 20 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 18 | 14 | 1
21G21747 | 24 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 18 | 24 | 1
21G21749 | 28 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 18 | 42 | 1
21G21750 | 32 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 18 | 51 | 1
21G21752 | 36 | SO80 69DS-1 | Plagioclase | Crough Smt, 5th VER | FCT-NM (4B24-21) | 28.201 | 0.082 | Kuiper et al (2008) | 9.811 | 0.124 | 0.0015825 | 0.124 | 303.946 | 0.106 | 0.99556 | 0.036677 | 1 | 4.27e-14 | 24 | SEP | 2021 | 19 | 9 | 1

## Irradiation Constants
Irradiation Constants |  | 40/36(a) | %1s | 40/36(c) | %1s | 38/36(a) | %1s | 38/36(c) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s
21G21722 | 0.6 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21723 | 0.7 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21725 | 0.8 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21726 | 1 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21728 | 1.2 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21729 | 1.4 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21731 | 1.6 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21732 | 2 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21734 | 2.8 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21735 | 4 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21737 | 5.5 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21738 | 7 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21740 | 9 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21741 | 11 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21743 | 14 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21744 | 17 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21746 | 20 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21747 | 24 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21749 | 28 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21750 | 32 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
21G21752 | 36 | 298.56 | 0.104 | 0.018 | 35 | 0.1885 | 0.159 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0

## Age Plateau
21G21719.AGE >>> SO80 69DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
6.86 ± 0.20
TOTAL FUSION
6.64 ± 0.18
NORMAL ISOCHRON
6.93 ± 0.27
INVERSE ISOCHRON
6.96 ± 0.26
MSWD (PROBABILITY)
1.00 (43%)
ASSUMED TRAPPED 40AR/36AR RATIO
Standard 40/36 = 298.56 ± 0.104 %SD
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B24-21)
J = 0.00158246 ± 0.00000196

## K-Ca Plateau
21G21719.AGE >>> SO80 69DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
6.86 ± 0.20
TOTAL FUSION
6.64 ± 0.18
NORMAL ISOCHRON
6.93 ± 0.27
INVERSE ISOCHRON
6.96 ± 0.26
ASSUMED TRAPPED 40AR/36AR RATIO
Standard 40/36 = 298.56 ± 0.104 %SD
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B24-21)
J = 0.00158246 ± 0.00000196

## Normal Isochron
21G21719.AGE >>> SO80 69DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
6.86 ± 0.20
TOTAL FUSION
6.64 ± 0.18
NORMAL ISOCHRON
6.93 ± 0.27
INVERSE ISOCHRON
6.96 ± 0.26
MSWD (PROBABILITY)
0.97 (45%)
CALCULATED 40AR/36AR INTERCEPT
294.3 ± 7.8
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B24-21)
J = 0.00158246 ± 0.00000196

## Inverse Isochron
21G21719.AGE >>> SO80 69DS-1 >>> EASTER | O-CONNOR (20-06) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
6.86 ± 0.20
TOTAL FUSION
6.64 ± 0.18
NORMAL ISOCHRON
6.93 ± 0.27
INVERSE ISOCHRON
6.96 ± 0.26
MSWD (PROBABILITY)
0.97 (45%)
SPREADING FACTOR
53.3%
CALCULATED 40AR/36AR INTERCEPT
294.1 ± 7.8
Sample Info
Plagioclase
Crough Smt, 5th VER
Daniel Heaton
IRR = 21-OSU-04 (4B24-21)
J = 0.00158246 ± 0.00000196